## Masdar_Institute_roof
| Operator Federico | Federico |  |  | Operator Federico | Federico | [6 empty] | Sampled vol.(m³) |  |  |  |  | sampled surface | IC sample (mg) |  |  |  |  | from IC | SO4- | from IC | NO3- | from IC | Fl- | from IC | Cl- | from IC | from IC | Br- | NO2- | from IC | PO4- | from IC | Na+ | from IC | NH4+ | from IC | K+ | from IC | Ca+ |  |  | TOC blank | IC blank | TC blank |  |  |  | TOC filter | IC filter | TC filter | TOC filter | IC filter | TC filter | TOC blank | TC blank | IC blank | TOC filter | TC filter | IC filter | TOC filter | TC filter | IC filter
Filter No. | Blank 1st w. (mg) | Blank 2nd w. (mg) | Blank 3nd w. (mg) | Average blank | Loaded 1st w (mg) | Loaded 2nd w (mg) | Loaded 3rd w (mg) | Average Loaded (mg) | TSP MASS (ug) | Start | Stop | sampling_time (min.) | Standard | Mass conc. (ug/m3) | Amb. T. | Amb. P. | Qn | (cm2) | blank + dust | dilution (ml) | dilution TOC (ml) | IC conc (mg/L) | conc TOC (mg/L) | SO4- (mg/L) | in the sample (ug/m3) | NO3- (mg/L) | in the sample (ug/m3) | Fl- (mg/L) | in the sample (ug/m3) | Cl- (mg/L) | in the sample (ug/m3) | NO2- (mg/L) | Br- (mg/L) | in the sample (ug/m3) | in the sample (ug/m3) | PO4- (mg/L) | in the sample (ug/m3) | Na+ (mg/L) | in the sample (ug/m3) | NH4+ (mg/L) | in the sample (ug/m3) | K+ (mg/L) | in the sample (ug/m3) | Ca+ (mg/L) | in the sample (ug/m3) | solution (ml) | calibration slope | (mg/L) | (mg/L) | (mg/L) |  |  |  | (mg/L) | (mg/L) | (mg/L) | (ug/m3) | (ug/m3) | (ug/m3) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (ug/m3) | (ug/m3) | (ug/m3)
A1 | 123.6 | 123.1 |  | 123.35 | 124.2 | 123.9 |  | 124.05 | 700 | 2017-08-30 09:00 | 2017-09-06 17:00 | 10560 | 10.56 | 66.2879 |  |  |  | 50.24 | 4.9383 | 30 | 50 | 164.6099 | 98.7659 | 0.43604 | 31.1175 | -0.0016338 | -0.11645 | 0.0013189 | 0.094007 | 0.0043751 | 0.31184 | -0.013271 |  |  | -0.94593 | 0.007113 | 0.507 |  |  | 0.14195 | 10.1175 | 0.0053082 | 0.37836 | -0.031987 | -2.28 | 40 | 621 | 0 | 0.64 | 0.43 |  |  |  | 0.03 | 0.73 | 0.73 | 1.0705 | 3.2114 | 10.7045 | 1.588 | 1.997 | 0.4083 | 1.335 | 1.908 | 0.5721 | -30.0917 | -10.5856 | 19.4823
A2 | 124.7 | 124.6 |  | 124.65 | 125 | 125.2 |  | 125.1 | 450 | 2017-09-06 17:00 | 2017-09-13 17:00 | 10080 | 10.08 | 44.6429 |  |  |  | 50.24 | 4.9801 | 30 | 50 | 166.0032 | 99.6019 | 0.2386 | 17.8381 | -0.0047358 | -0.35434 | -0.010242 | -0.76634 | -0.063458 | -4.748 | -0.023604 |  |  | -1.7661 | na | na |  |  | 0.083652 | 6.259 | 0.004179 | 0.31268 | -0.020174 | -1.5094 | [8 empty] | 0.39 | 0.75 | 0.8 | 14.5786 | 4.1119 | 13.831 |  |  |  | 1.464 | 2.203 | 0.739 | -15.4508 | 25.6683 | 41.2063
A3 | 123.4 | 125.2 |  | 124.3 | 125.6 | 125.6 |  | 125.6 | 1300 | 2017-09-13 17:00 | 2017-09-20 17:00 | 10080 | 10.08 | 128.9683 |  |  |  | 50.24 | 5 | 30 | 50 | 166.6667 | 100 | 0.24763 | 18.5131 | 0.022117 | 1.6535 | -0.0055249 | -0.41305 | -0.068484 | -5.12 | 0.025212 |  |  | 1.8849 | na | na |  |  | 0.07582 | 5.6685 | 0.0022455 | 0.16788 | -0.026867 | -2.0086 | [8 empty] | 0.04 | 0.84 | 1.05 | 1.4952 | 7.4762 | 23.1762 |  |  |  | 1.742 | 2.317 | 0.575 | 19.1889 | 39.873 | 20.7713
A4 | 124.5 | 124.4 |  | 124.45 | 125 | 125.1 |  | 125.05 | 600 | 2017-09-20 17:00 | 2017-09-27 17:00 | 10080 | 10.08 | 59.5238 |  |  |  | 50.24 | 4.9781 | 30 | 50 | 165.9368 | 99.5621 | 0.11173 | 8.3535 | -0.010707 | -0.80078 | 5.8851e-05 | 0.0044016 | -0.02508 | -1.8758 | -0.0012946 |  |  | -0.096825 | na | na |  |  | 0.041073 | 3.0719 | 0.0023671 | 0.17704 | -0.0041158 | -0.30783 | [8 empty] | 0 | 0.71 | 0.84 | 0 | 2.6167 | 15.3262 |  |  |  | 1.756 | 2.458 | 0.7012 | 20.9333 | 57.4421 | 36.4963
A5 | 125.3 | 125 |  | 125.15 | 125.3 | 125.6 |  | 125.45 | 300 | 2017-09-27 17:00 | 2017-10-04 17:00 | 10080 | 10.08 | 29.7619 |  |  |  | 50.24 | 4.994 | 30 | 50 | 166.4676 | 99.8806 | 0.19626 | 14.6726 | 0.070313 | 5.263 | -0.00027124 | -0.020302 | -0.0054678 | -0.40927 | -0.011617 |  |  | -0.86952 | na | na |  |  | -0.011524 | -0.86262 | -0.0038467 | -0.28793 | 0.01409 | 1.0546 | [8 empty] | 0.13 | 0.71 | 0.67 | 4.8595 | 2.6167 | 8.9714 |  |  |  | 1.792 | 2.303 | 0.5112 | 25.419 | 38.1286 | 12.8217
A6 | 123.8 | 123.7 |  | 123.75 | 125.1 | 124.7 |  | 124.9 | 1150 | 2017-10-04 17:00 | 2017-10-11 17:00 | 10080 | 10.08 | 114.0873 |  |  |  | 50.24 | 4.9721 | 30 | 50 | 165.7378 | 99.4427 | 0.15805 | 11.8162 | 0.11321 | 8.4505 | -0.0012302 | -0.091824 | 0.011595 | 0.86548 | 0.022782 |  |  | 1.7005 | na | na |  |  | -0.022182 | -1.6557 | -0.0047235 | -0.35257 | 0.012736 | 0.95065 | [8 empty] | 0.25 | 0.73 | 0.97 | 9.3452 | 3.3643 | 20.1857 |  |  |  | 1.393 | 1.867 | 0.4738 | -24.2976 | -16.1984 | 8.1615
A7 | 123.3 | 123.2 |  | 123.25 | 123.6 | 124.2 |  | 123.9 | 650 | 2017-10-11 17:00 | 2017-10-18 17:00 | 10080 | 10.08 | 64.4841 |  |  |  | 50.24 | 4.9323 | 30 | 50 | 164.4108 | 98.6465 | 0.099731 | 7.4561 | 0.049139 | 3.6826 | -0.0074066 | -0.55507 | -0.077815 | -5.8317 | -0.014666 |  |  | -1.0991 | na | na |  |  | -0.033914 | -2.5416 | -0.014703 | -1.1019 | -0.036052 | -2.7018 | [8 empty] | 0 | 0.43 | 0 | 0 | -7.85 | -16.0738 |  |  |  | 1.446 | 1.925 | 0.4789 | -17.6937 | -8.9714 | 8.797
A8 | 125 | 125.1 |  | 125.05 | 125.7 | 125.8 |  | 125.75 | 700 | 2017-10-18 17:00 | 2017-10-26 08:00 | 10080 | 10.08 | 69.4444 |  |  |  | 51.24 | 4.9083 | 31 | 50 | 158.3314 | 98.1655 | 0.11211 | 8.8333 | 0.083373 | 6.5717 | 0.0010237 | 0.080693 | -0.043116 | -3.3985 | -0.011824 |  |  | -0.93198 | na | na |  |  | -0.015502 | -1.2219 | -0.011021 | -0.86871 | -0.01704 | -1.3432 | [8 empty] | 0 | 0.33 | 0 | 0 | -12.2127 | -16.9402 |  |  |  | 1.362 | 1.875 | 0.5123 | -28.7208 | -15.5042 | 13.2167
[17 empty] | NEW METHODOLOGY |  | mass on 3 punches of filter (4.65%) | [31 empty] | TOC filter | IC filter | TC filter | TOC filter (no blank) | IC filter (no blank) | TC filter (no blank) | TOC filter | IC filter | TC filter
[48 empty] | 0.7 | 0.96 | 0.25 | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (ug/m3) | (ug/m3) | (ug/m3)
A9 | 123.8 | 123.7 |  | 123.75 | 124.4 | 124.3 |  | 124.35 | 600 | 2017-10-26 08:00 | 2017-11-01 17:00 | 10080 | 10.08 | 59.5238 |  |  |  |  | 0.0279 | 30 | 10 | 0.93 | 2.79 | 0.11843 | 7.5801 | 0.054232 | 3.4711 |  |  | 0.23233 | 14.8701 | -0.053844 |  |  | -3.4462 | -0.0051728 | -0.33108 |  |  | 0.017334 | 1.1095 | 0.014733 | 0.94299 | 0.058886 | 3.7689 | [5 empty] | 1.058 | 0.2089 | 1.267 | 0.358 | -0.7511 | 1.017 | 3.8189 | -8.0122 | 10.8487
A10 | 124.7 | 124.8 |  | 124.75 | 125.6 | 125.4 |  | 125.5 | 750 | 2017-11-01 17:00 | 2017-11-08 17:00 | 10080 | 10.08 | 74.4048 |  |  |  |  | 0.034875 | 30 | 10 | 1.1625 | 3.4875 | 0.085692 | 5.4846 | 0.038271 | 2.4495 | 0.023343 | 1.494 | 0.318 | 20.3535 | 0.027645 | 0.0016909 | 0.10822 | 1.7694 | 0.011491 | 0.73545 |  |  | 0.013461 | 0.86153 |  |  | 0.086729 | 5.551 | [5 empty] | 0.9876 | 0.2413 | 1.199 | 0.2876 | -0.7187 | 0.949 | 3.0679 | -7.6666 | 10.1233
A11 | 126.1 | 126 |  | 126.05 | 126.2 | 126.6 | 126.4 | 126.4 | 350 | 2017-11-08 17:00 | 2017-11-15 17:00 | 10080 | 10.08 | 34.7222 |  |  |  |  | 0.016275 | 30 | 10 | 0.5425 | 1.6275 | 0.13659 | 8.7424 | 0.061365 | 3.9276 |  |  | 0.17659 | 11.3024 | -0.027742 | 0.006745 | 0.43171 | -1.7756 | -0.0054924 | -0.35154 |  |  | 0.026004 | 1.6644 |  |  | 0.064084 | 4.1017 | [5 empty] | 0.9042 | 0.229 | 1.133 | 0.2042 | -0.731 | 0.883 | 2.1783 | -7.7978 | 9.4193
A12 | 124.6 | 124.7 |  | 124.65 | 125 | 125 |  | 125 | 350 | 2017-11-15 17:00 | 2017-11-22 17:00 | 10080 | 10.08 | 34.7222 |  |  |  |  | 0.016275 | 30 | 10 | 0.5425 | 1.6275 | 0.025172 | 1.6111 | 0.017173 | 1.0992 |  |  | 0.1715 | 10.9765 | -0.037293 |  |  | -2.3869 | -0.0029346 | -0.18783 |  |  | 0.011486 | 0.73517 | 0.0059612 | 0.38154 | 0.025731 | 1.6469 | [5 empty] | 1.01 | 0.248 | 1.258 | 0.31 | -0.712 | 1.008 | 3.3069 | -7.5952 | 10.7527
A13 | 124.7 | 124 | 124 | 124.2333 | 125 | 124.9 | 124.9 | 124.9333 | 700 | 2017-11-22 17:00 | 2017-11-29 17:00 | 10080 | 10.08 | 69.4444 |  |  |  |  | 0.03255 | 30 | 10 | 1.085 | 3.255 | -0.015163 | -0.97049 | 0.024191 | 1.5483 |  |  | 0.17838 | 11.4172 | -0.051433 |  |  | -3.2919 | 0.0179 | 1.1457 |  |  | 0.011685 | 0.7479 | 0.011212 | 0.71764 | 0.03535 | 2.2626 | [5 empty] | 0.703 | 0.2615 | 0.9629 | 0.003 | -0.6985 | 0.7129 | 0.032002 | -7.4511 | 7.6048
A14 | 124 | 124 |  | 124 | 126.4 | 126.6 | 126.5 | 124.9333 | 800 | 2017-11-29 17:00 | 2017-12-06 17:00 | 10080 | 10.08 | 79.3651 |  |  |  |  | 0.0372 | 30 | 10 | 1.24 | 3.72 | 0.012345 | 0.79011 | -0.0058891 | -0.37692 |  |  | 0.13993 | 8.9563 | -0.060099 |  |  | -3.8466 | 0.0092266 | 0.59054 |  |  | 0.002968 | 0.18996 |  |  | 0.12564 | 8.0417 | [5 empty] | 0.9349 | 0.2172 | 1.152 | 0.2349 | -0.7428 | 0.902 | 2.5058 | -7.9237 | 9.6219
A15 | 124.8 | 124.3 |  | 124.55 | 124.9 | 124.9 |  | 124.9 | 350 | 2017-12-06 17:00 | 2017-12-13 17:00 | 10080 | 10.08 | 34.7222 |  |  |  |  | 0.016275 | 30 | 10 | 0.5425 | 1.6275 | 0.0091583 | 0.58617 | 0.04099 | 2.6235 |  |  | 0.19781 | 12.6608 | -0.049773 |  |  | -3.1857 | 0.0015273 | 0.097755 |  |  | 0.024794 | 1.5869 |  |  | 0.063142 | 4.0414 | [5 empty] | 0.8413 | 1.094 | 1.094 | 0.1413 | 0.134 | 0.844 | 1.5073 | 1.4294 | 9.0032
A16 | 124.7 | 124.6 |  | 124.65 | 125.1 | 125.1 |  | 125.1 | 450 | 2017-12-13 17:00 | 2017-12-20 17:00 | 10080 | 10.08 | 44.6429 |  |  |  |  | 0.020925 | 30 | 10 | 0.6975 | 2.0925 | 0.015651 | 1.0017 | 0.056458 | 3.6135 |  |  | 0.17037 | 10.9044 | -0.050058 |  |  | -3.2039 | -1.1887e-05 | -0.00076082 |  |  | 0.033097 | 2.1183 |  |  | 0.059539 | 3.8107 | [5 empty] | 1.008 | 0.2231 | 1.231 | 0.308 | -0.7369 | 0.981 | 3.2855 | -7.8608 | 10.4647
A17 | 124.1 | 124.3 | 124.2 | 124.2 | 124.7 | 124.6 |  | 124.65 | 450 | 2017-12-20 17:00 | 2017-12-27 17:00 | 10080 | 10.08 | 44.6429 |  |  |  |  | 0.020925 | 30 | 10 | 0.6975 | 2.0925 | 0.14971 | 9.5824 | 0.088854 | 5.687 |  |  | 0.15397 | 9.855 | -0.022994 |  |  | -1.4717 | -0.0083105 | -0.5319 |  |  | 0.042337 | 2.7097 |  |  | 0.029232 | 1.871 | [5 empty] | 0.8198 | 0.22 | 1.041 | 0.1198 | -0.74 | 0.791 | 1.2779 | -7.8938 | 8.4379
A18 | 126.4 | 126.3 | 126.5 | 126.4 | 126.9 | 126.8 |  | 126.85 | 450 | 2017-12-27 17:00 | 2018-01-03 17:00 | 10080 | 10.08 | 44.6429 |  |  |  |  | 0.020925 | 30 | 10 | 0.6975 | 2.0925 | 0.0228 | 1.4593 | 0.09065 | 5.802 | 0.020819 | 1.3325 | 0.17559 | 11.2384 | 0.01988 |  |  | 1.2724 | -0.0057353 | -0.36708 |  |  | 0.013397 | 0.85748 |  |  | 0.033452 | 2.141 | [5 empty] | 0.7244 | 0.1465 | 0.8708 | 0.0244 | -0.8135 | 0.6208 | 0.26028 | -8.6779 | 6.6223
A19 | 125.4 | 125.4 | 125.5 | 125.4333 | 125.6 | 125.9 |  | 125.75 | 316.6667 | 2018-01-03 17:00 | 2018-01-10 17:00 | 10080 | 10.08 | 31.4153 |  |  |  |  | 0.014725 | 30 | 10 | 0.49083 | 1.4725 | 0.02221 | 1.4215 | 0.04844 | 3.1004 |  |  | 0.1437 | 9.1977 | -0.053498 |  |  | -3.4241 | -0.0017636 | -0.11288 |  |  | 0.011896 | 0.76141 | 0.011067 | 0.70834 | 0.051917 | 3.3229 | [5 empty] | 0.8346 | 0.2474 | 1.082 | 0.1346 | -0.7126 | 0.832 | 1.4358 | -7.6016 | 8.8752
A20 | 123.7 | 124.1 |  | 123.9 | 124.6 | 124.6 |  | 124.6 | 700 | 2018-01-10 17:00 | 2018-01-17 17:00 | 10080 | 10.08 | 69.4444 |  |  |  |  | 0.03255 | 30 | 10 | 1.085 | 3.255 | 0.07242 | 4.6352 | 0.063648 | 4.0737 | 0.019772 | 1.2655 | 0.15203 | 9.7304 | 0.0044892 |  |  | 0.28733 | 0.0011085 | 0.070951 |  |  | 0.037869 | 2.4238 |  |  | 0.02775 | 1.7761 | [5 empty] | 0.9852 | 0.2303 | 1.215 | 0.2852 | -0.7297 | 0.965 | 3.0423 | -7.784 | 10.294
A21 | 126.4 | 126.3 |  | 126.35 | 126.8 | 126.7 |  | 126.75 | 400 | 2018-01-17 17:00 | 2018-01-24 17:00 | 10080 | 10.08 | 39.6825 |  |  |  |  | 0.0186 | 30 | 10 | 0.62 | 1.86 | -0.0084931 | -0.5436 | 0.016042 | 1.0267 |  |  | 0.16633 | 10.6461 | -0.012953 |  |  | -0.82903 | -0.0055307 | -0.35399 |  |  | 0.012673 | 0.81113 | 0.006934 | 0.4438 | 0.028361 | 1.8152 | [5 empty] | 1 | 0.2626 | 1.263 | 0.3 | -0.6974 | 1.013 | 3.2002 | -7.4394 | 10.806
A22 | 125.8 | 125.9 |  | 125.85 | 127.3 | 127.1 |  | 127.2 | 1350 | 2018-01-24 17:00 | 2018-01-31 17:00 | 10080 | 10.08 | 133.9286 |  |  |  |  | 0.062775 | 30 | 10 | 2.0925 | 6.2775 | 0.084494 | 5.408 | 0.079349 | 5.0787 |  |  | 0.19459 | 12.4547 | 0.046091 |  |  | 2.95 | 0.0053726 | 0.34387 |  |  | 0.028619 | 1.8317 | 0.018126 | 1.1601 | 0.07897 | 5.0544 | [5 empty] | 1.147 | 0.275 | 1.422 | 0.447 | -0.685 | 1.172 | 4.7683 | -7.3071 | 12.5021
A23 | 124.3 | 124.2 |  | 124.25 | 124.6 | 124.8 |  | 124.7 | 450 | 2018-01-31 17:00 | 2018-02-07 17:00 | 10080 | 10.08 | 44.6429 |  |  |  |  | 0.020925 | 30 | 10 | 0.6975 | 2.0925 | 0.082074 | 5.2531 | 0.050913 | 3.2587 |  |  | 0.15063 | 9.6407 | 0.0054883 | 0.0046907 | 0.30022 | 0.35128 | -0.0051307 | -0.32839 |  |  | 0.038803 | 2.4836 | 0.00581 | 0.37186 | 0.039707 | 2.5414 | [5 empty] | 0.9544 | 0.2544 | 1.209 | 0.2544 | -0.7056 | 0.959 | 2.7138 | -7.5269 | 10.23
A24 | 123.6 | 123.9 |  | 123.75 | 124.7 | 124.8 |  | 124.75 | 1000 | 2018-02-07 17:00 | 2018-02-14 17:00 | 10080 | 10.08 | 99.2063 |  |  |  |  | 0.0465
A25 | 125.7 | 125.4 |  | 125.55 | 125.9 | 125.9 |  | 125.9 | 350 | 2018-02-14 17:00 | 2018-02-21 17:00 | 10080 | 10.08 | 34.7222 |  |  |  |  | 0.016275
A26 | 125.6 | 125.4 |  | 125.5 | 126 | 125.8 |  | 125.9 | 400 | 2018-02-21 17:00 | 2018-02-28 17:00 | 10080 | 10.08 | 39.6825 |  |  |  |  | 0.0186
A27 | 124.4 | 124.5 |  | 124.45 | 124.7 | 124.7 |  | 124.7 | 250 | 2018-02-28 17:00 | 2018-03-07 17:00 | 10080 | 10.08 | 24.8016 |  |  |  |  | 0.011625
A28 | 123.4 | 123.1 |  | 123.25 | 123.7 | 123.8 |  | 123.75 | 500 | 2018-03-07 17:00 | 2018-03-14 17:00 | 10080 | 10.08 | 49.6032 |  |  |  |  | 0.02325
A29 | 126.9 | 126.7 |  | 126.8 | 127.1 | 126.9 |  | 127 | 200 | 2018-03-14 17:00 | 2018-03-21 17:00 | 10080 | 10.08 | 19.8413 |  |  |  |  | 0.0093
A30 | 125.6 | 125.3 |  | 125.45 | [5 empty] | 2018-03-21 17:00 | 2018-03-28 17:00 | 10080 | 10.08
A31 | 124.3 | 124.2 |  | 124.25 | [5 empty] | 2018-03-28 17:00 | 2018-04-11 17:00 | 20160 | 10.08
A32 | 125.8 | 125.8 |  | 125.8
A33
A34

## Masdar_Field
| Operator Federico | Federico |  |  | Operator Federico | Federico | [6 empty] | Sampled vol.(m³) |  |  |  |  | sampled surface | IC sample (mg) | [5 empty] | from IC | SO4- | from IC | NO3- | from IC | Fl- | from IC | Cl- | from IC | Br- | from IC | NO2- | from IC | PO4- | from IC | Na+ | from IC | NH4+ | from IC | K+ | from IC | Ca+ |  |  | TOC blank | IC blank | TC blank |  |  |  | TOC filter | IC filter | TC filter | TOC filter | IC filter | TC filter | TOC blank | TC blank | IC blank | TOC filter | TC filter | IC filter | TOC filter | TC filter | IC filter
Filter No. | Blank 1st w. (mg) | Blank 2nd w. (mg) | Blank 3nd w. (mg) | Average blank | Loaded 1st w (mg) | Loaded 2nd w (mg) | Loaded 3rd w (mg) | Average Loaded (mg) | TSP MASS (ug) | Start | Stop | sampling_time (min.) | Standard | Mass conc. (ug/m3) | Amb. T. | Amb. P. | Qn | (cm2) | blank + dust | % of mass | dilution (ml) | dilution TOC (ml) | IC conc (mg/L) | IC conc TOC (mg/L) | SO4- (mg/L) | in the sample (ug/m3) | NO3- (mg/L) | in the sample (ug/m3) | Fl- (mg/L) | in the sample (ug/m3) | Cl- (mg/L) | in the sample (ug/m3) | Br- (mg/L) | in the sample (ug/m3) | NO2- (mg/L) | in the sample (ug/m3) | PO4- (mg/L) | in the sample (ug/m3) | Na+ (mg/L) | in the sample (ug/m3) | NH4+ (mg/L) | in the sample (ug/m3) | K+ (mg/L) | in the sample (ug/m3) | Ca+ (mg/L) | in the sample (ug/m3) | solution (ml) | calibration slope | (mg/L) | (mg/L) | (mg/L) |  |  |  | (mg/L) | (mg/L) | (mg/L) | (ug/m3) | (ug/m3) | (ug/m3) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (ug/m3) | (ug/m3) | (ug/m3)
B1 | 125.1 | 124.1 |  | 124.6 | 127.2 | 126.4 |  | 126.8 | 2200 | 2017-08-29 18:00 | 2017-09-06 17:00 | 11460 | 11.46 | 191.9721 |  |  |  | 50.24 | 5.0478 | 0.039809 | 30 | 50 | 168.259 | 100.9554 | 0.25294 | 16.5807 | -0.012692 | -0.83198 | -0.0031713 | -0.20789 | 0.0025112 | 0.16461 |  |  | -0.027643 | -1.812 | na | na |  |  | na | na | 0.0041777 | 0.27385 | 0.003951 | 0.259 | 40 | 621 | 0 | 0.64 | 0.43 |  |  |  | 0 | 0.65 | 0.59 | 0 | 0.3288 | 5.2607 | 1.588 | 1.997 | 0.4083 | 1.532 | 2.058 | 0.5255 | -6.1375 | 6.6855 | 12.845
B2 | 124.7 | 124.9 |  | 124.8 | 125.5 | 125.7 |  | 125.6 | 800 | 2017-09-06 17:00 | 2017-09-13 17:00 | 10080 | 10.08 | 79.3651 |  |  |  | 50.24 | 5 | 0.039809 | 30 | 50 | 166.6667 | 100 | 0.14206 | 10.629 | 0.024895 | 1.8627 | -0.00064822 | -0.048501 | 0.012839 | 0.96062 |  |  | -0.01278 | -0.95619 | na | na |  |  | na | na | 0.0088487 | 0.66207 | 0.00057484 | 0.04301 | [8 empty] | 0.28 | 0.72 | 0.67 | 10.4667 | 2.9905 | 8.9714 |  |  |  | 0.9941 | 1.485 | 0.4905 | -74.0018 | -63.7968 | 10.2424
B3 | 125.1 | 125.1 |  | 125.1 | 127.2 | 127.2 |  | 127.2 | 2100 | 2017-09-13 17:00 | 2017-09-20 17:00 | 10080 | 10.08 | 208.3333 |  |  |  | 50.24 | 5.0637 | 0.039809 | 30 | 50 | 168.7898 | 101.2739 | 0.24471 | 18.2953 | 0.030735 | 2.2978 | -0.0058222 | -0.43528 | -0.04784 | -3.5766 |  |  | -0.026627 | -1.9907 | na | na |  |  | na | na | 0.009727 | 0.72721 | 0.047608 | 3.5592 | [8 empty] | 0 | 0.75 | 1 | 0 | 4.1119 | 21.3071 |  |  |  | 1.366 | 1.968 | 0.6024 | -27.6619 | -3.6135 | 24.1855
B4 | 126.4 | 126.4 |  | 126.4 | 127 | 127.1 |  | 127.05 | 650 | 2017-09-20 17:00 | 2017-09-27 17:00 | 10080 | 10.08 | 64.4841 |  |  |  | 50.24 | 5.0577 | 0.039809 | 30 | 50 | 168.5908 | 101.1545 | 0.10843 | 8.11 | 0.06183 | 4.6243 | -0.0068849 | -0.51493 | 0.0071043 | 0.53134 |  |  | 0.010668 | 0.79784 | na | na |  |  | 0.0025657 | 0.19189 | 0.0059173 | 0.44256 | 0.024909 | 1.863 | [8 empty] | 0.36 | 0.74 | 0.79 | 13.4571 | 3.7381 | 13.4571 |  |  |  | 1.32 | 1.861 | 0.5407 | -33.3937 | -16.946 | 16.4975
B5 | 124.6 | 124.6 |  | 124.6 | 125.4 | 125.8 |  | 125.6 | 1000 | 2017-09-27 17:00 | 2017-10-04 17:00 | 10080 | 10.08 | 99.2063 |  |  |  | 50.24 | 5 | 0.039809 | 30 | 50 | 166.6667 | 100 | 0.15302 | 11.4585 | 0.053203 | 3.9839 | -0.00078786 | -0.058996 | -0.05649 | -4.23 |  |  | -0.011654 | -0.87266 | na | na |  |  | -0.021981 | -1.646 | -0.012257 | -0.91778 | 0.0067971 | 0.50898 | [8 empty] | 0.07 | 0.74 | 1.09 | 2.6167 | 3.7381 | 24.6714 |  |  |  | 1.553 | 2.219 | 0.6663 | -4.3611 | 27.6619 | 32.1476
B6 | 124.9 | 124.4 |  | 124.65 | 125.5 | 125.4 |  | 125.45 | 800 | 2017-10-04 17:00 | 2017-10-11 17:00 | 10080 | 10.08 | 79.3651 |  |  |  | 50.24 | 4.994 | 0.039809 | 30 | 50 | 166.4676 | 99.8806 | 0.10399 | 7.7717 | 0.058851 | 4.3981 | -0.0056252 | -0.42038 | -0.0098811 | -0.73844 |  |  | -0.01187 | -0.8871 | na | na |  |  | -0.030498 | -2.2792 | -0.013803 | -1.0315 | 0.011361 | 0.84904 | [8 empty] | 0.08 | 0.62 | 0.7 | 2.9905 | -0.74762 | 10.0929 |  |  |  | 1.507 | 2.02 | 0.5127 | -10.0929 | 2.8659 | 13.0086
B7 | 125.9 | 125.8 |  | 125.85 | 126.4 | 126.1 |  | 126.25 | 400 | 2017-10-11 17:00 | 2017-10-18 17:00 | 10080 | 10.08 | 39.6825 |  |  |  | 50.24 | 5.0259 | 0.039809 | 30 | 50 | 167.5292 | 100.5175 | 0.1093 | 8.1619 | 0.112 | 8.3636 | -0.006209 | -0.46364 | -0.066396 | -4.958 |  |  | -0.014113 | -1.0539 | na | na |  |  | -0.034937 | -2.6089 | -0.0083045 | -0.62012 | 0.021758 | 1.6248 | [8 empty] | 0 | 0.74 | 0.6 | 0 | 3.7381 | 6.3548 |  |  |  | 1.392 | 2.04 | 0.648 | -24.4222 | 5.3579 | 29.8674
B8 | 125.9 | 125.8 |  | 125.85 | 126.3 | 126.6 |  | 126.45 | 600 | 2017-10-18 17:00 | 2017-10-26 08:00 | 10080 | 10.08 | 59.5238 |  |  |  | 50.24 | 5.0338 | 0.039809 | 30 | 50 | 167.7946 | 100.6768 | 0.097706 | 7.3134 | 0.099027 | 7.4122 | -0.0092043 | -0.68895 | -0.077046 | -5.7669 |  |  | na | na | na | na |  |  | -0.031383 | -2.349 | -0.014006 | -1.0483 | 0.0011698 | 0.087557 | [8 empty] | 0.32 | 0.64 | 0.97 | 11.9619 | 0 | 20.1857 |  |  |  | 1.567 | 2.063 | 0.4953 | -2.6167 | 8.2238 | 10.8405
[18 empty] | NEW METHODOLOGY | mass on 3 punches of filter (4.65%) | [32 empty] | TOC filter | IC filter | TC filter | TOC filter (no blank) | IC filter (no blank) | TC filter (no blank) | TOC filter | IC filter | TC filter
[49 empty] | 0.7 | 0.96 | 0.25 | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (ug/m3) | (ug/m3) | (ug/m3)
B9 | 124 | 124 |  | 124 | 124.3 | 124.6 |  | 124.45 | 450 | 2017-10-26 08:00 | 2017-11-01 17:00 | 10080 | 10.08 | 44.6429 |  |  |  |  | 0.020925 |  | 30 | 10 | 0.6975 | 2.0925 | 0.080503 | 5.1525 | 0.051609 | 3.3032 | 0.024903 | 1.5939 |  |  |  |  | -0.049787 | -3.1866 | 0.0056095 | 0.35903 |  |  | 0.031859 | 2.0391 |  |  | 0.054639 | 3.4971 | [5 empty] | 0.8801 | 0.214 | 1.094 | 0.1801 | -0.746 | 0.844 | 1.9212 | -7.9578 | 9.0032
B10 | 123.1 | 123.2 |  | 123.15 | 123.4 | 123.4 |  | 123.4 | 250 | 2017-11-01 17:00 | 2017-11-08 17:00 | 10080 | 10.08 | 24.8016 |  |  |  |  | 0.011625 |  | 30 | 10 | 0.3875 | 1.1625 | 0.095436 | 6.1083 | 0.081444 | 5.2127 | 0.022853 | 1.4627 |  |  |  |  | -0.058088 | -3.7179 | -0.0085426 | -0.54676 |  |  | 0.018121 | 1.1598 |  |  | 0.051005 | 3.2645 | [5 empty] | 1.118 | 0.2218 | 1.339 | 0.418 | -0.7382 | 1.089 | 4.459 | -7.8746 | 11.6167
B11 | 125 | 124.8 |  | 124.9 | 125.4 | 125.6 | 125.7 | 125.5667 | 666.6667 | 2017-11-08 17:00 | 2017-11-15 17:00 | 10080 | 10.08 | 66.1376 |  |  |  |  | 0.031 |  | 30 | 10 | 1.0333 | 3.1 | 0.11413 | 7.3049 | 0.050226 | 3.2147 | [6 empty] | -0.057264 | -3.6651 | -0.0082798 | -0.52994 |  |  | 0.0072684 | 0.46521 | 0.0076299 | 0.48834 | 0.037642 | 2.4093 | [5 empty] | 1.012 | 0.2595 | 1.271 | 0.312 | -0.7005 | 1.021 | 3.3282 | -7.4725 | 10.8914
B12 | 125.1 | 125.3 |  | 125.2 | 125.5 | 125.6 |  | 125.55 | 350 | 2017-11-15 17:00 | 2017-11-22 17:00 | 10080 | 10.08 | 34.7222 |  |  |  |  | 0.016275 |  | 30 | 10 | 0.5425 | 1.6275 | 0.024287 | 1.5544 | 0.043788 | 2.8026 | [6 empty] | 0.10451 | 6.6892 | -0.0092778 | -0.59382 |  |  | 0.015894 | 1.0173 |  |  | 0.046172 | 2.9552 | [5 empty] | 0.9071 | 0.2433 | 1.15 | 0.2071 | -0.7167 | 0.9 | 2.2092 | -7.6453 | 9.6006
B13 | 123.7 | 123.5 |  | 123.6 | 125 | 124.8 |  | 124.9 | 1300 | 2017-11-22 17:00 | 2017-11-29 17:00 | 10080 | 10.08 | 128.9683 |  |  |  |  | 0.06045 |  | 30 | 10 | 2.015 | 6.045 | 0.004328 | 0.27701 | 0.10337 | 6.6159 | [6 empty] | -0.037143 | -2.3773 | 0.013037 | 0.83439 |  |  | 0.0075506 | 0.48327 |  |  | 0.065682 | 4.2039 | [5 empty] | 1.053 | 0.26669 | 1.32 | 0.353 | -0.69331 | 1.07 | 3.7656 | -7.3958 | 11.4141
B14 | 126.7 | 124 |  | 125.35 | 127.2 | 127.2 |  | 127.2 | 1850 | 2017-11-29 17:00 | 2017-12-06 17:00 | 10080 | 10.08 | 183.5317 |  |  |  |  | 0.086025 |  | 30 | 10 | 2.8675 | 8.6025 | 0.052524 | 3.3618 | 0.0075 | 0.48003 | [6 empty] | -0.048859 | -3.1272 | 0.025491 | 1.6315 |  |  | 0.0086012 | 0.55051 |  |  | 0.067811 | 4.3402 | [5 empty] | 0.9984 | 0.2792 | 1.278 | 0.2984 | -0.6808 | 1.028 | 3.1831 | -7.2623 | 10.966
B15 | 125.2 | 125 |  | 125.1 | 125.4 | 125.5 |  | 125.45 | 350 | 2017-12-06 17:00 | 2017-12-13 17:00 | 10080 | 10.08 | 34.7222 |  |  |  |  | 0.016275 |  | 30 | 10 | 0.5425 | 1.6275 | 0.016538 | 1.0585 | 0.032084 | 2.0535 | 0.029846 | 1.9103 |  |  |  |  | 0.02279 | 1.4587 | 0.023941 | 1.5323 |  |  | 0.018698 | 1.1968 | 0.017119 | 1.0957 | 0.033911 | 2.1705 | [5 empty] | 0.8724 | 0.2895 | 1.162 | 0.1724 | -0.6705 | 0.912 | 1.8391 | -7.1525 | 9.7286
B16 | 125.3 | 125.2 |  | 125.25 | 125.8 | 125.8 |  | 125.8 | 550 | 2017-12-13 17:00 | 2017-12-20 17:00 | 10080 | 10.08 | 54.5635 |  |  |  |  | 0.025575 |  | 30 | 10 | 0.8525 | 2.5575 | -0.0042611 | -0.27273 | 0.029495 | 1.8878 | 0.020369 | 1.3037 |  |  |  |  | -0.031425 | -2.0114 | 0.00038777 | 0.024819 |  |  | 0.013594 | 0.87005 | 0.0050122 | 0.3208 | 0.025401 | 1.6258 | [5 empty] | 0.6407 | 0.2479 | 0.8886 | -0.0593 | -0.7121 | 0.6386 | -0.63257 | -7.5962 | 6.8122
B17 | 124.4 | 124.2 | 124.2 | 124.2667 | 124.8 | 124.9 |  | 124.85 | 583.3333 | 2017-12-20 17:00 | 2017-12-27 17:00 | 10080 | 10.08 | 57.8704 |  |  |  |  | 0.027125 |  | 30 | 10 | 0.90417 | 2.7125 | 0.12734 | 8.1506 | 0.040926 | 2.6194 | [6 empty] | -0.037547 | -2.4032 | 0.015208 | 0.97335 |  |  | -0.0052811 | -0.33801 | 0.0089306 | 0.5716 | 0.035944 | 2.3006 | [5 empty] | 0.7303 | 0.2546 | 0.9848 | 0.0303 | -0.7054 | 0.7348 | 0.32322 | -7.5247 | 7.8384
B18 | 126.7 | 127 | 127 | 126.9 | 127.2 | 127.1 |  | 127.15 | 250 | 2017-12-27 17:00 | 2018-01-03 17:00 | 10080 | 10.08 | 24.8016 |  |  |  |  | 0.011625 |  | 30 | 10 | 0.3875 | 1.1625 | 0.046819 | 2.9966 | 0.03505 | 2.2433 |  |  |  |  | 0.0032412 | 0.20745 | -0.03307 | -2.1166 | 0.0088518 | 0.56655 | [6 empty] | 0.0398 | 2.5474 | [5 empty] | 0.5717 | 0.2507 | 0.8224 | -0.1283 | -0.7093 | 0.5724 | -1.3686 | -7.5664 | 6.106
B19 | 124.7 | 124.8 | 124.9 | 124.8 | 125.4 | 125.5 |  | 125.45 | 650 | 2018-01-03 17:00 | 2018-01-10 17:00 | 10080 | 10.08 | 64.4841 |  |  |  |  | 0.030225 |  | 30 | 10 | 1.0075 | 3.0225 | 0.0023625 | 0.15121 | 0.013573 | 0.8687 | [6 empty] | -0.026163 | -1.6745 | 0.0093101 | 0.59588 |  |  | -0.00076153 | -0.048741 |  |  | 0.021874 | 1.4 | [5 empty] | 0.5481 | 0.2157 | 0.7638 | -0.1519 | -0.7443 | 0.5138 | -1.6204 | -7.9397 | 5.4809
B20 | 124.5 | 124.2 |  | 124.35 | 124.6 | 124.6 |  | 124.6 | 250 | 2018-01-10 17:00 | 2018-01-17 17:00 | 10080 | 10.08 | 24.8016 |  |  |  |  | 0.011625 |  | 30 | 10 | 0.3875 | 1.1625 | 0.056491 | 3.6156 | 0.060913 | 3.8987 | [6 empty] | -0.029848 | -1.9104 | 0.031539 | 2.0186 |  |  | 0.015519 | 0.99331 | 0.014646 | 0.93739 | 0.040383 | 2.5847 | [5 empty] | 0.7492 | 0.3085 | 1.052 | 0.0492 | -0.6515 | 0.802 | 0.52483 | -6.9498 | 8.5552
B21 | 126.4 | 126.4 |  | 126.4 | 126.8 | 126.7 |  | 126.75 | 350 | 2018-01-17 17:00 | 2018-01-24 17:00 | 10080 | 10.08 | 34.7222 |  |  |  |  | 0.016275 |  | 30 | 10 | 0.5425 | 1.6275 | -0.0071741 | -0.45917 | 0.014656 | 0.93802 | [6 empty] | -0.037393 | -2.3933 | 0.022599 | 1.4464 |  |  | 0.0080913 | 0.51787 |  |  | 0.041607 | 2.663 | [5 empty] | 1.121 | 0.2784 | 1.399 | 0.421 | -0.6816 | 1.149 | 4.491 | -7.2709 | 12.2568
B22 | 124.5 | 124.6 |  | 124.55 | 125.3 | 125.2 |  | 125.25 | 700 | 2018-01-24 17:00 | 2018-01-31 17:00 | 10080 | 10.08 | 69.4444 |  |  |  |  | 0.03255 |  | 30 | 10 | 1.085 | 3.255 | 0.04006 | 2.564 | 0.030229 | 1.9348 | [6 empty] | -0.035287 | -2.2585 | -0.00088801 | -0.056836 | [6 empty] | 0.23999 | 15.3606 | [5 empty] | 1.096 | 0.2319 | 1.328 | 0.396 | -0.7281 | 1.078 | 4.2243 | -7.7669 | 11.4994
B23 | 122.4 | 122.2 |  | 122.3 | 122.8 | 123 |  | 122.9 | 600 | 2018-01-31 17:00 | 2018-02-07 17:00 | 10080 | 10.08 | 59.5238 |  |  |  |  | 0.0279 |  | 30 | 10 | 0.93 | 2.79 | 0.03821 | 2.4456 | 0.061922 | 3.9633 | [6 empty] | -0.046515 | -2.9772 | -0.0093768 | -0.60015 |  |  | 0.0021012 | 0.13449 |  |  | 0.028224 | 1.8064 | [5 empty] | 0.7312 | 0.2705 | 1.0002 | 0.0312 | -0.6895 | 0.7502 | 0.33282 | -7.3551 | 8.0026
B24 | 122.9 | 122.6 |  | 122.75 | 124.2 | 124.1 |  | 124.15 | 1400 | 2018-02-07 17:00 | 2018-02-14 17:00 | 10080 | 10.08 | 138.8889 |  |  |  |  | 0.0651
B25 | 125.7 | 125.4 |  | 125.55 | 0 | 0 |  | 0 |  | 2018-02-14 17:00 | 2018-02-21 17:00 | 10080 | 10.08 | [5 empty] | 0
B26 | 125.2 | 125.2 |  | 125.2 | 125.5 | 125.5 |  | 125.5 | 300 | 2018-02-21 17:00 | 2018-02-28 17:00 | 10080 | 10.08 | 29.7619
B27 | 123.8 | 123.7 |  | 123.75 | 124 | 124.1 |  | 124.05 | 300 | 2018-02-28 17:00 | 2018-03-07 17:00 | 10080 | 10.08 | 29.7619
B28 | 125 | 124.9 |  | 124.95 | 125.6 | 125.5 |  | 125.55 | 600 | 2018-03-07 17:00 | 2018-03-14 17:00 | 10080 | 10.08 | 59.5238
B29 | 124.9 | 124.7 |  | 124.8 | 125.4 | 125.6 |  | 125.5 | 700 | 2018-03-14 17:00 | 2018-03-21 17:00 | 10080 | 10.08 | 69.4444
B30 | 124.9 | 124.7 |  | 124.8 | [5 empty] | 2018-03-21 17:00 | 2018-04-11 17:00 | 30240 | 10.08 | -
B31 | 123.9 | 124 |  | 123.95 | [5 empty] | - | - | - | - | -
B32 | 124.1 | 124.2 |  | 124.15
B33
B34

## EXPO2020_Dubai
| Operator Federico | Federico |  | Operator Federico | Federico | [5 empty] | Sampled vol.(m³) |  |  |  |  | sampled surface | IC sample (mg) |  |  |  |  | from IC | SO4- | from IC | NO3- | from IC | Fl- | from IC | Cl- | from IC | from IC | Br- | NO2- | from IC | PO4- | from IC | Na+ | from IC | NH4+ | from IC | K+ | from IC | Ca+ |  |  | TOC blank | IC blank | TC blank |  |  |  | TOC filter | IC filter | TC filter | TOC filter | IC filter | TC filter
Filter No. | Blank 1st w. (mg) | Blank 2nd w. (mg) | Average blank | Loaded 1st w (mg) | Loaded 2nd w (mg) | Average Loaded (mg) | PM2.5 (ug) | Start | Stop Time | sampling_time (hours) | Standard | Mass conc. (ug/m3) | Amb. T. | Amb. P. | Qn | (cm2) | blank + dust | dilution (ml) | dilution TOC (ml) | IC conc (mg/L) | conc TOC (mg/L) | SO4- (mg/L) | in the sample (ug/m3) | NO3- (mg/L) | in the sample (ug/m3) | Fl- (mg/L) | in the sample (ug/m3) | Cl- (mg/L) | in the sample (ug/m3) | NO2- (mg/L) | Br- (mg/L) | in the sample (ug/m3) | in the sample (ug/m3) | PO4- (mg/L) | in the sample (ug/m3) | Na+ (mg/L) | in the sample (ug/m3) | NH4+ (mg/L) | in the sample (ug/m3) | K+ (mg/L) | in the sample (ug/m3) | Ca+ (mg/L) | in the sample (ug/m3) | solution (ml) | calibration slope | (mg/L) | (mg/L) | (mg/L) |  |  |  | (mg/L) | (mg/L) | (mg/L) | (ug/m3) | (ug/m3) | (ug/m3)
[15 empty] | NEW METHODOLOGY |  | mass on 3 punches of filter (4.65%) | [31 empty] | TOC filter | IC filter | TC filter | TOC filter (no blank) | IC filter (no blank) | TC filter (no blank) | TOC filter | IC filter | TC filter
[46 empty] | 0.7 | 0.96 | 0.25 | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (ug/m3) | (ug/m3) | (ug/m3)
1 | 126.3 | 126.2 | 126.25 | 124.4 | 124.3 | 124.35 | -1900 | NA | 2018-04-30 08:54 | 24h00min | 48.4 | -39.2562 |  |  |  |  | -0.08835 | 30 | 10 | -2.945 | -8.835 | 0.11843 | 1.5787 | 0.054232 | 0.72291 |  |  | 0.23233 | 3.0969 | -0.053844 |  |  | -0.71773 | -0.0051728 | -0.068952 |  |  | 0.017334 | 0.23106 | 0.014733 | 0.19639 | 0.058886 | 0.78493 | [5 empty] | 1.058 | 0.2089 | 1.267 | 0.358 | -0.7511 | 1.017 | 0.79534 | -1.6687 | 2.2594
2 | 127.6 | 128 | 127.8 | 125.6 | 125.4 | 125.5 | -2300 | NA | 2018-04-28 08:39 | 22h22min | 45.47 | -50.5828 |  |  |  |  | -0.10695 | 30 | 10 | -3.565 | -10.695 | 0.085692 | 1.2159 | 0.038271 | 0.54302 | 0.023343 | 0.33121 | 0.318 | 4.5121 | 0.027645 | 0.0016909 | 0.023992 | 0.39224 | 0.011491 | 0.16304 |  |  | 0.013461 | 0.19099 |  |  | 0.086729 | 1.2306 | [5 empty] | 0.9876 | 0.2413 | 1.199 | 0.2876 | -0.7187 | 0.949 | 0.68011 | -1.6996 | 2.2442
3 | 125.7 | 125.6 | 125.65 | 126.2 | 126.6 | 126.4 | 750 | NA | 2018-04-29 08:40 | 24h00min | 48.28 | 15.5344 |  |  |  |  | 0.034875 | 30 | 10 | 1.1625 | 3.4875 | 0.13659 | 1.8253 | 0.061365 | 0.82002 |  |  | 0.17659 | 2.3597 | -0.027742 | 0.006745 | 0.090133 | -0.37071 | -0.0054924 | -0.073395 |  |  | 0.026004 | 0.34749 |  |  | 0.064084 | 0.85635 | [5 empty] | 0.9042 | 0.229 | 1.133 | 0.2042 | -0.731 | 0.883 | 0.45478 | -1.628 | 1.9666
4 | 125.5 | 125.2 | 125.35 | 125 | 125 | 125 | -350 | NA | 2018-05-02 20:08 | 23h59min | 49 | -7.1429 |  |  |  |  | -0.016275 | 30 | 10 | -0.5425 | -1.6275 | 0.025172 | 0.33143 | 0.017173 | 0.22611 |  |  | 0.1715 | 2.258 | -0.037293 |  |  | -0.49102 | -0.0029346 | -0.038639 |  |  | 0.011486 | 0.15123 | 0.0059612 | 0.078489 | 0.025731 | 0.33879 | [5 empty] | 1.01 | 0.248 | 1.258 | 0.31 | -0.712 | 1.008 | 0.68027 | -1.5624 | 2.212
5 | 126.3 | 126.4 | 126.35 | 125 | 124.9 | 124.95 | -1400 | NA | 2018-05-14 00:20 | 10h42min | 21.54 | -64.9954 |  |  |  |  | -0.0651 | 30 | 10 | -2.17 | -6.51 | -0.015163 | -0.45416 | 0.024191 | 0.72455 |  |  | 0.17838 | 5.3429 | -0.051433 |  |  | -1.5405 | 0.0179 | 0.53613 |  |  | 0.011685 | 0.34999 | 0.011212 | 0.33583 | 0.03535 | 1.0588 | [5 empty] | 0.703 | 0.2615 | 0.9629 | 0.003 | -0.6985 | 0.7129 | 0.014976 | -3.4869 | 3.5588
6 | 127.5 | 127.7 | 127.6 | 126.4 | 126.6 | 126.5 | 800 | NA | 2018-04-25 12:01 | 23h57min | 48.89 | 16.3633 |  |  |  |  | 0.0372 | 30 | 10 | 1.24 | 3.72 | 0.012345 | 0.1629 | -0.0058891 | -0.077713 |  |  | 0.13993 | 1.8466 | -0.060099 |  |  | -0.79308 | 0.0092266 | 0.12176 |  |  | 0.002968 | 0.039166 |  |  | 0.12564 | 1.658 | [5 empty] | 0.9349 | 0.2172 | 1.152 | 0.2349 | -0.7428 | 0.902 | 0.51663 | -1.6337 | 1.9838
7 | 125 | 124.9 | 124.95 | 124.9 | 124.9 | 124.9 | -50 | NA | 2018-04-27 07:38 | 24h00min | 49.07 | -1.019 |  |  |  |  | -0.002325 | 30 | 10 | -0.0775 | -0.2325 | 0.0091583 | 0.12041 | 0.04099 | 0.53892 |  |  | 0.19781 | 2.6008 | -0.049773 |  |  | -0.65441 | 0.0015273 | 0.020081 |  |  | 0.024794 | 0.32599 |  |  | 0.063142 | 0.83018 | [5 empty] | 0.8413 | 1.094 | 1.094 | 0.1413 | 0.134 | 0.844 | 0.30963 | 0.29363 | 1.8495
8 | 125.4 | 125.5 | 125.45 | 125.1 | 125.1 | 125.1 | -350 | NA | 2018-05-03 20:34 | 24h00min | 48.9 | -7.1575 |  |  |  |  | -0.016275 | 30 | 10 | -0.5425 | -1.6275 | 0.015651 | 0.20649 | 0.056458 | 0.74488 |  |  | 0.17037 | 2.2478 | -0.050058 |  |  | -0.66044 | -1.1887e-05 | -0.00015683 |  |  | 0.033097 | 0.43666 |  |  | 0.059539 | 0.78552 | [5 empty] | 1.008 | 0.2231 | 1.231 | 0.308 | -0.7369 | 0.981 | 0.67727 | -1.6204 | 2.1571
9 | 125.9 | 125.9 | 125.9 | 124.7 | 124.6 | 124.65 | -1250 | NA | 2018-05-04 20:54 | 23h57min | 48.85 | -25.5885 |  |  |  |  | -0.058125 | 30 | 10 | -1.9375 | -5.8125 | 0.14971 | 1.9773 | 0.088854 | 1.1735 |  |  | 0.15397 | 2.0335 | -0.022994 |  |  | -0.30368 | -0.0083105 | -0.10976 |  |  | 0.042337 | 0.55914 |  |  | 0.029232 | 0.38607 | [5 empty] | 0.8198 | 0.22 | 1.041 | 0.1198 | -0.74 | 0.791 | 0.2637 | -1.6289 | 1.7411
10 | 127.5 | 127.8 | 127.65 | 126.9 | 126.8 | 126.85 | -800 | NA | 2018-05-05 20:56 | 24h00min | 49.11 | -16.29 |  |  |  |  | -0.0372 | 30 | 10 | -1.24 | -3.72 | 0.0228 | 0.29953 | 0.09065 | 1.1909 | 0.020819 | 0.27351 | 0.17559 | 2.3067 | 0.01988 |  |  | 0.26116 | -0.0057353 | -0.075345 |  |  | 0.013397 | 0.176 |  |  | 0.033452 | 0.43946 | [5 empty] | 0.7244 | 0.1465 | 0.8708 | 0.0244 | -0.8135 | 0.6208 | 0.053424 | -1.7812 | 1.3592
11 | 127.4 | 127.4 | 127.4 | 125.6 | 125.9 | 125.75 | -1650 | NA | 2018-05-17 19:05 | 24h00min | 48.65 | -33.9157 |  |  |  |  | -0.076725 | 30 | 10 | -2.5575 | -7.6725 | 0.02221 | 0.29454 | 0.04844 | 0.64238 |  |  | 0.1437 | 1.9057 | -0.053498 |  |  | -0.70945 | -0.0017636 | -0.023388 |  |  | 0.011896 | 0.15776 | 0.011067 | 0.14676 | 0.051917 | 0.68848 | [5 empty] | 0.8346 | 0.2474 | 1.082 | 0.1346 | -0.7126 | 0.832 | 0.29749 | -1.575 | 1.8389
12 | 127.2 | 127.5 | 127.35 | 124.6 | 124.6 | 124.6 | -2750 | NA | 2018-05-13 00:17 | 24h00min | 48.32 | -56.9123 |  |  |  |  | -0.12787 | 30 | 10 | -4.2625 | -12.7875 | 0.07242 | 0.96694 | 0.063648 | 0.84982 | 0.019772 | 0.264 | 0.15203 | 2.0298 | 0.0044892 |  |  | 0.059939 | 0.0011085 | 0.014801 |  |  | 0.037869 | 0.50562 |  |  | 0.02775 | 0.37051 | [5 empty] | 0.9852 | 0.2303 | 1.215 | 0.2852 | -0.7297 | 0.965 | 0.63466 | -1.6238 | 2.1474
13 | 126.6 | 126.8 | 126.7 | 126.8 | 126.7 | 126.75 | 50 | NA | 2018-05-06 21:05 | 24h00min | 49.04 | 1.0196 |  |  |  |  | 0.002325 | 30 | 10 | 0.0775 | 0.2325 | -0.0084931 | -0.11173 | 0.016042 | 0.21104 |  |  | 0.16633 | 2.1883 | -0.012953 |  |  | -0.1704 | -0.0055307 | -0.072761 |  |  | 0.012673 | 0.16672 | 0.006934 | 0.091222 | 0.028361 | 0.37311 | [5 empty] | 1 | 0.2626 | 1.263 | 0.3 | -0.6974 | 1.013 | 0.65779 | -1.5291 | 2.2211
14 | 126 | 126.1 | 126.05 | 127.3 | 127.1 | 127.2 | 1150 | NA | 2018-05-10 23:50 | 24h00min | 48.27 | 23.8243 |  |  |  |  | 0.053475 | 30 | 10 | 1.7825 | 5.3475 | 0.084494 | 1.1293 | 0.079349 | 1.0606 |  |  | 0.19459 | 2.6009 | 0.046091 |  |  | 0.61604 | 0.0053726 | 0.071809 |  |  | 0.028619 | 0.38251 | 0.018126 | 0.24226 | 0.07897 | 1.0555 | [5 empty] | 1.147 | 0.275 | 1.422 | 0.447 | -0.685 | 1.172 | 0.99574 | -1.5259 | 2.6108
15 | 127.6 | 127.5 | 127.55 | 124.6 | 124.8 | 124.7 | -2850 | NA | 2018-05-08 23:16 | 24h00min | 48.7 | -58.5216 |  |  |  |  | -0.13253 | 30 | 10 | -4.4175 | -13.2525 | 0.082074 | 1.0873 | 0.050913 | 0.67448 |  |  | 0.15063 | 1.9954 | 0.0054883 | 0.0046907 | 0.062141 | 0.072708 | -0.0051307 | -0.06797 |  |  | 0.038803 | 0.51405 | 0.00581 | 0.076968 | 0.039707 | 0.52602 | [5 empty] | 0.9544 | 0.2544 | 1.209 | 0.2544 | -0.7056 | 0.959 | 0.5617 | -1.5579 | 2.1174
16 | 127.2 | 127.1 | 127.15 | 124.7 | 124.8 | 124.75 | -2400 | NA | 2018-05-07 22:50 | 24h00min | 48.89 | -49.0898 |  |  |  |  | -0.1116
17 | 125.5 | 125.4 | 125.45 | 125.9 | 125.9 | 125.9 | 450 | NA | 2018-05-09 23:34 | 24h00min | 48.16 | 9.3439 |  |  |  |  | 0.020925
18 | 126.8 | 126.6 | 126.7 | 126 | 125.8 | 125.9 | -800 | NA | 2018-05-23 21:29 | 24h00min | 48.45 | -16.5119 |  |  |  |  | -0.0372
19 | 125.4 | 125.7 | 125.55 | 124.7 | 124.7 | 124.7 | -850 | NA | 2018-05-25 21:54 | 24h00min | 48.38 | -17.5692 |  |  |  |  | -0.039525
20 | 126.4 | 126.1 | 126.25 | 123.7 | 123.8 | 123.75 | -2500 | NA | 2018-05-16 19:02 | 23h58min | 48.6 | -51.4403 |  |  |  |  | -0.11625
21 | 124.8 | 125.1 | 124.95 | 127.1 | 126.9 | 127 | 2050 | NA | 2018-05-18 19:26 | 23h59min | 49 | 41.8367 |  |  |  |  | 0.095325
22 | 124.4 | 124.9 | 124.65 |  |  |  |  | NA | 2018-05-20 20:10 | 23h57min | 48.91
23 | 125.1 | 125.9 | 125.5 |  |  |  |  | NA | 2018-05-12 00:06 | 24h00min | 48.7
24 | 125.9 | 125.9 | 125.9 |  |  |  |  | NA | 2018-05-27 23:47 | 24h00min | 48.32
25 | 126.1 | 126.2 | 126.15 |  |  |  |  | NA | 2018-05-21 20:21 | 16h26min | 33.83
26 | 125.4 | 125.5 | 125.45 |  |  |  |  | NA | 2018-05-22 20:25 | 24h00min | 48.54
27 | 125.1 | 124.9 | 125 |  |  |  |  | NA | 2018-05-19 19:59 | 24h00min | 49.21
28 | 125.9 | 126 | 125.95 |  |  |  |  | NA | 2018-05-24 21:40 | 23h58min | 48.37
29 | 125.8 | 125.9 | 125.85 |  |  |  |  | NA | 2018-05-15 18:40 | 24h00min | 48.54
30 | 124.8 | 124.6 | 124.7 |  |  |  |  | NA | 2018-05-26 23:12 | 24h00min | 48.35

## summary_MI_roof
Date | ION | conc | TSP
2017-09-06 17:00 | SO4- | 31.0799 | 66.29
2017-09-13 17:00 | SO4- | 17.8524 | 44.64
2017-09-20 17:00 | SO4- | 18.5131 | 128.97
2017-09-27 17:00 | SO4- | 8.3569 | 59.52
2017-10-04 17:00 | SO4- | 14.6902 | 29.76
2017-10-11 17:00 | SO4- | 11.7973 | 114.09
2017-10-18 17:00 | SO4- | 7.4742 | 64.48
2017-10-26 08:00 | SO4- | 8.1102 | 69.44
2017-11-01 17:00 | SO4- | 7.5801 | 59.52
2017-11-08 17:00 | SO4- | 5.4846 | 74.4
2017-11-15 17:00 | SO4- | 8.7424 | 34.72
2017-11-22 17:00 | SO4- | 1.6111 | 34.72
2017-11-29 17:00 | SO4- | -0.97049 | 69.4444
2017-12-06 17:00 | SO4- | 7.8662 | 79.3651
2017-12-13 17:00 | SO4- | 0.58617 | 34.72
2017-12-20 17:00 | SO4- | 1.0017 | 44.64
2017-12-27 17:00 | SO4- | 9.5824 | 44.64
2018-01-03 17:00 | SO4- | 1.4593 | 44.64
2018-01-10 17:00 | SO4- | 1.4215 | 31.42
2018-01-17 17:00 | SO4- | 4.6352 | 69.44
2018-01-24 17:00 | SO4- | -0.5436 | 39.68
2018-01-31 17:00 | SO4- | 5.408 | 133.93
2018-02-07 17:00 | SO4- | 5.2531 | 44.64
2017-09-06 17:00 | NO3- | -0.11645 | 66.29
2017-09-13 17:00 | NO3- | -0.35434 | 44.64
2017-09-20 17:00 | NO3- | 1.6535 | 128.97
2017-09-27 17:00 | NO3- | -0.80078 | 59.52
2017-10-04 17:00 | NO3- | 5.263 | 29.76
2017-10-11 17:00 | NO3- | 8.4505 | 114.09
2017-10-18 17:00 | NO3- | 3.6826 | 64.48
2017-10-26 08:00 | NO3- | 6.0314 | 69.44
2017-11-01 17:00 | NO3- | 3.4711 | 59.52
2017-11-08 17:00 | NO3- | 2.4495 | 74.4
2017-11-15 17:00 | NO3- | 3.9276 | 34.72
2017-11-22 17:00 | NO3- | 1.0992 | 34.72
2017-11-29 17:00 | NO3- | 1.5483 | 69.4444
2017-12-06 17:00 | NO3- | 0 | 79.3651
2017-12-13 17:00 | NO3- | 2.6235 | 34.72
2017-12-20 17:00 | NO3- | 3.6135 | 44.64
2017-12-27 17:00 | NO3- | 5.687 | 44.64
2018-01-03 17:00 | NO3- | 5.802 | 44.64
2018-01-10 17:00 | NO3- | 3.1004 | 31.42
2018-01-17 17:00 | NO3- | 4.0737 | 69.44
2018-01-24 17:00 | NO3- | 1.0267 | 39.68
2018-01-31 17:00 | NO3- | 5.0787 | 133.93
2018-02-07 17:00 | NO3- | 3.2587 | 44.64
2017-09-06 17:00 | Fl- | 0.094007 | 66.29
2017-09-13 17:00 | Fl- | -0.76634 | 44.64
2017-09-20 17:00 | Fl- | -0.41305 | 128.97
2017-09-27 17:00 | Fl- | 0.0044016 | 59.52
2017-10-04 17:00 | Fl- | -0.020302 | 29.76
2017-10-11 17:00 | Fl- | -0.091824 | 114.09
2017-10-18 17:00 | Fl- | -0.55507 | 64.48
2017-10-26 08:00 | Fl- | 0.074058 | 69.44
2017-11-01 17:00 | Fl- |  | 59.52
2017-11-08 17:00 | Fl- | 1.494 | 74.4
2017-11-15 17:00 | Fl- |  | 34.72
2017-11-22 17:00 | Fl- |  | 34.72
2017-11-29 17:00 | Fl- |  | 69.4444
2017-12-06 17:00 | Fl- |  | 79.3651
2017-12-13 17:00 | Fl- |  | 34.72
2017-12-20 17:00 | Fl- |  | 44.64
2017-12-27 17:00 | Fl- |  | 44.64
2018-01-03 17:00 | Fl- | 1.3325 | 44.64
2018-01-10 17:00 | Fl- |  | 31.42
2018-01-17 17:00 | Fl- | 1.2655 | 69.44
2018-01-24 17:00 | Fl- |  | 39.68
2018-01-31 17:00 | Fl- |  | 133.93
2018-02-07 17:00 | Fl- |  | 44.64
2017-09-06 17:00 | Cl- | 0.31184 | 66.29
2017-09-13 17:00 | Cl- | -4.748 | 44.64
2017-09-20 17:00 | Cl- | -5.12 | 128.97
2017-09-27 17:00 | Cl- | -1.8758 | 59.52
2017-10-04 17:00 | Cl- | -0.40927 | 29.76
2017-10-11 17:00 | Cl- | 0.86548 | 114.09
2017-10-18 17:00 | Cl- | -5.8317 | 64.48
2017-10-26 08:00 | Cl- | -3.1191 | 69.44
2017-11-01 17:00 | Cl- |  | 59.52
2017-11-08 17:00 | Cl- |  | 74.4
2017-11-15 17:00 | Cl- |  | 34.72
2017-11-22 17:00 | Cl- |  | 34.72
2017-11-29 17:00 | Cl- |  | 69.4444
2017-12-06 17:00 | Cl- |  | 79.3651
2017-12-13 17:00 | Cl- |  | 34.72
2017-12-20 17:00 | Cl- |  | 44.64
2017-12-27 17:00 | Cl- |  | 44.64
2018-01-03 17:00 | Cl- |  | 44.64
2018-01-10 17:00 | Cl- |  | 31.42
2018-01-17 17:00 | Cl- |  | 69.44
2018-01-24 17:00 | Cl- |  | 39.68
2018-01-31 17:00 | Cl- |  | 133.93
2018-02-07 17:00 | Cl- |  | 44.64
2017-09-06 17:00 | NO2- | -0.94593 | 66.29
2017-09-13 17:00 | NO2- | -1.7661 | 44.64
2017-09-20 17:00 | NO2- | 1.8849 | 128.97
2017-09-27 17:00 | NO2- | -0.096825 | 59.52
2017-10-04 17:00 | NO2- | -0.86952 | 29.76
2017-10-11 17:00 | NO2- | 1.7005 | 114.09
2017-10-18 17:00 | NO2- | -1.0991 | 64.48
2017-10-26 08:00 | NO2- | -0.85536 | 69.44
2017-11-01 17:00 | NO2- | -3.4462 | 59.52
2017-11-08 17:00 | NO2- | 1.7694 | 74.4
2017-11-15 17:00 | NO2- | -1.7756 | 34.72
2017-11-22 17:00 | NO2- | -2.3869 | 34.72
2017-11-29 17:00 | NO2- | -3.2919 | 69.4444
2017-12-06 17:00 | NO2- | -3.4462 | 79.3651
2017-12-13 17:00 | NO2- | -3.1857 | 34.72
2017-12-20 17:00 | NO2- | -3.2039 | 44.64
2017-12-27 17:00 | NO2- | -1.4717 | 44.64
2018-01-03 17:00 | NO2- | 1.2724 | 44.64
2018-01-10 17:00 | NO2- | -3.4241 | 31.42
2018-01-17 17:00 | NO2- | 0.28733 | 69.44
2018-01-24 17:00 | NO2- | -0.82903 | 39.68
2018-01-31 17:00 | NO2- | 2.95 | 133.93
2018-02-07 17:00 | NO2- | 0.35128 | 44.64
2017-09-06 17:00 | PO4- | 0.507 | 66.29
2017-09-13 17:00 | PO4- |  | 44.64
2017-09-20 17:00 | PO4- |  | 128.97
2017-09-27 17:00 | PO4- |  | 59.52
2017-10-04 17:00 | PO4- |  | 29.76
2017-10-11 17:00 | PO4- |  | 114.09
2017-10-18 17:00 | PO4- |  | 64.48
2017-10-26 08:00 | PO4- |  | 69.44
2017-11-01 17:00 | PO4- | -0.33108 | 59.52
2017-11-08 17:00 | PO4- | 0.73545 | 74.4
2017-11-15 17:00 | PO4- | -0.35154 | 34.72
2017-11-22 17:00 | PO4- | -0.18783 | 34.72
2017-11-29 17:00 | PO4- | 1.1457 | 69.4444
2017-12-06 17:00 | PO4- | -0.33108 | 79.3651
2017-12-13 17:00 | PO4- | 0.097755 | 34.72
2017-12-20 17:00 | PO4- | -0.00076082 | 44.64
2017-12-27 17:00 | PO4- | -0.5319 | 44.64
2018-01-03 17:00 | PO4- | -0.36708 | 44.64
2018-01-10 17:00 | PO4- | -0.11288 | 31.42
2018-01-17 17:00 | PO4- | 0.070951 | 69.44
2018-01-24 17:00 | PO4- | -0.35399 | 39.68
2018-01-31 17:00 | PO4- | 0.34387 | 133.93
2018-02-07 17:00 | PO4- | -0.32839 | 44.64
2017-09-06 17:00 | Na+ |  | 66.29
2017-09-13 17:00 | Na+ |  | 44.64
2017-09-20 17:00 | Na+ |  | 128.97
2017-09-27 17:00 | Na+ |  | 59.52
2017-10-04 17:00 | Na+ |  | 29.76
2017-10-11 17:00 | Na+ |  | 114.09
2017-10-18 17:00 | Na+ |  | 64.48
2017-10-26 08:00 | Na+ |  | 69.44
2017-11-01 17:00 | Na+ |  | 59.52
2017-11-08 17:00 | Na+ |  | 74.4
2017-11-15 17:00 | Na+ |  | 34.72
2017-11-22 17:00 | Na+ |  | 34.72
2017-11-29 17:00 | Na+ |  | 69.4444
2017-12-06 17:00 | Na+ |  | 79.3651
2017-12-13 17:00 | Na+ |  | 34.72
2017-12-20 17:00 | Na+ |  | 44.64
2017-12-27 17:00 | Na+ |  | 44.64
2018-01-03 17:00 | Na+ |  | 44.64
2018-01-10 17:00 | Na+ |  | 31.42
2018-01-17 17:00 | Na+ |  | 69.44
2018-01-24 17:00 | Na+ |  | 39.68
2018-01-31 17:00 | Na+ |  | 133.93
2018-02-07 17:00 | Na+ |  | 44.64
2017-09-06 17:00 | NH4+ | 10.1175 | 66.29
2017-09-13 17:00 | NH4+ | 6.259 | 44.64
2017-09-20 17:00 | NH4+ | 5.6685 | 128.97
2017-09-27 17:00 | NH4+ | 3.0719 | 59.52
2017-10-04 17:00 | NH4+ | -0.86262 | 29.76
2017-10-11 17:00 | NH4+ | -1.6557 | 114.09
2017-10-18 17:00 | NH4+ | -2.5416 | 64.48
2017-10-26 08:00 | NH4+ | -1.1214 | 69.44
2017-11-01 17:00 | NH4+ | 1.1095 | 59.52
2017-11-08 17:00 | NH4+ | 0.86153 | 74.4
2017-11-15 17:00 | NH4+ | 1.6644 | 34.72
2017-11-22 17:00 | NH4+ | 0.73517 | 34.72
2017-11-29 17:00 | NH4+ | 0.7479 | 69.4444
2017-12-06 17:00 | NH4+ | 1.1095 | 79.3651
2017-12-13 17:00 | NH4+ | 1.5869 | 34.72
2017-12-20 17:00 | NH4+ | 2.1183 | 44.64
2017-12-27 17:00 | NH4+ | 2.7097 | 44.64
2018-01-03 17:00 | NH4+ | 0.85748 | 44.64
2018-01-10 17:00 | NH4+ | 0.76141 | 31.42
2018-01-17 17:00 | NH4+ | 2.4238 | 69.44
2018-01-24 17:00 | NH4+ | 0.81113 | 39.68
2018-01-31 17:00 | NH4+ | 1.8317 | 133.93
2018-02-07 17:00 | NH4+ | 2.4836 | 44.64
2017-09-06 17:00 | K+ | 0.37836 | 66.29
2017-09-13 17:00 | K+ | 0.31268 | 44.64
2017-09-20 17:00 | K+ | 0.16788 | 128.97
2017-09-27 17:00 | K+ | 0.17704 | 59.52
2017-10-04 17:00 | K+ | -0.28793 | 29.76
2017-10-11 17:00 | K+ | -0.35257 | 114.09
2017-10-18 17:00 | K+ | -1.1019 | 64.48
2017-10-26 08:00 | K+ | -0.79728 | 69.44
2017-11-01 17:00 | K+ | 0.94299 | 59.52
2017-11-08 17:00 | K+ |  | 74.4
2017-11-15 17:00 | K+ |  | 34.72
2017-11-22 17:00 | K+ | 0.38154 | 34.72
2017-11-29 17:00 | K+ | 0.71764 | 69.4444
2017-12-06 17:00 | K+ |  | 79.3651
2017-12-13 17:00 | K+ |  | 34.72
2017-12-20 17:00 | K+ |  | 44.64
2017-12-27 17:00 | K+ |  | 44.64
2018-01-03 17:00 | K+ |  | 44.64
2018-01-10 17:00 | K+ | 0.70834 | 31.42
2018-01-17 17:00 | K+ |  | 69.44
2018-01-24 17:00 | K+ | 0.4438 | 39.68
2018-01-31 17:00 | K+ | 1.1601 | 133.93
2018-02-07 17:00 | K+ | 0.37186 | 44.64
2017-09-06 17:00 | Ca+ | -2.28 | 66.29
2017-09-13 17:00 | Ca+ | -1.5094 | 44.64
2017-09-20 17:00 | Ca+ | -2.0086 | 128.97
2017-09-27 17:00 | Ca+ | -0.30783 | 59.52
2017-10-04 17:00 | Ca+ | 1.0546 | 29.76
2017-10-11 17:00 | Ca+ | 0.95065 | 114.09
2017-10-18 17:00 | Ca+ | -2.7018 | 64.48
2017-10-26 08:00 | Ca+ | -1.2327 | 69.44
2017-11-01 17:00 | Ca+ | 3.7689 | 59.52
2017-11-08 17:00 | Ca+ | 5.551 | 74.4
2017-11-15 17:00 | Ca+ | 4.1017 | 34.72
2017-11-22 17:00 | Ca+ | 1.6469 | 34.72
2017-11-29 17:00 | Ca+ | 2.2626 | 69.4444
2017-12-06 17:00 | Ca+ | 3.7689 | 79.3651
2017-12-13 17:00 | Ca+ | 4.0414 | 34.72
2017-12-20 17:00 | Ca+ | 3.8107 | 44.64
2017-12-27 17:00 | Ca+ | 1.871 | 44.64
2018-01-03 17:00 | Ca+ | 2.141 | 44.64
2018-01-10 17:00 | Ca+ | 3.3229 | 31.42
2018-01-17 17:00 | Ca+ | 1.7761 | 69.44
2018-01-24 17:00 | Ca+ | 1.8152 | 39.68
2018-01-31 17:00 | Ca+ | 5.0544 | 133.93
2018-02-07 17:00 | Ca+ | 2.5414 | 44.64
2017-09-06 17:00 | TC | 10.7045 | 66.29
2017-09-13 17:00 | TC | 13.831 | 44.64
2017-09-20 17:00 | TC | 23.1762 | 128.97
2017-09-27 17:00 | TC | 15.3262 | 59.52
2017-10-04 17:00 | TC | 8.9714 | 29.76
2017-10-11 17:00 | TC | 20.1857 | 114.09
2017-10-18 17:00 | TC | -16.0738 | 64.48
2017-10-26 08:00 | TC | -16.9402 | 69.44
2017-11-01 17:00 | TC | 10.8487 | 59.52
2017-11-08 17:00 | TC | 10.1233 | 74.4
2017-11-15 17:00 | TC | 9.4193 | 34.72
2017-11-22 17:00 | TC | 10.7527 | 34.72
2017-11-29 17:00 | TC | 7.6048 | 69.4444
2017-12-06 17:00 | TC | 9.6219 | 79.3651
2017-12-13 17:00 | TC | 9.0032 | 34.72
2017-12-20 17:00 | TC | 10.4647 | 44.64
2017-12-27 17:00 | TC | 8.4379 | 44.64
2018-01-03 17:00 | TC | 6.6223 | 44.64
2018-01-10 17:00 | TC | 8.8752 | 31.42
2018-01-17 17:00 | TC | 10.294 | 69.44
2018-01-24 17:00 | TC | 10.806 | 39.68
2018-01-31 17:00 | TC | 12.5021 | 133.93
2018-02-07 17:00 | TC | 10.23 | 44.64
2017-09-06 17:00 | Si |  | 66.29
2017-09-13 17:00 | Si |  | 44.64
2017-09-20 17:00 | Si |  | 128.97
2017-09-27 17:00 | Si |  | 59.52
2017-10-04 17:00 | Si |  | 29.76
2017-10-11 17:00 | Si |  | 114.09
2017-10-18 17:00 | Si |  | 64.48
2017-10-26 08:00 | Si |  | 69.44
2017-11-01 17:00 | Si | 7.1429 | 59.52
2017-11-08 17:00 | Si | 13.3929 | 74.4
2017-11-15 17:00 | Si | 5.5556 | 34.72
2017-11-22 17:00 | Si | 5.5556 | 34.72
2017-11-29 17:00 | Si | 5.5556 | 69.4444
2017-12-06 17:00 | Si | 14.2857 | 79.3651
2017-12-13 17:00 | Si | 6.9444 | 34.72
2017-12-20 17:00 | Si | 6.25 | 44.64
2017-12-27 17:00 | Si | 3.5714 | 44.64
2018-01-03 17:00 | Si | 4.4643 | 44.64
2018-01-10 17:00 | Si | 4.3981 | 31.42
2018-01-17 17:00 | Si | 12.5 | 69.44
2018-01-24 17:00 | Si | 3.9683 | 39.68
2018-01-31 17:00 | Si | 13.3929 | 133.93
2018-02-07 17:00 | Si | 8.0357 | 44.64
2017-09-06 17:00 | Sb |  | 66.29
2017-09-13 17:00 | Sb |  | 44.64
2017-09-20 17:00 | Sb |  | 128.97
2017-09-27 17:00 | Sb |  | 59.52
2017-10-04 17:00 | Sb |  | 29.76
2017-10-11 17:00 | Sb |  | 114.09
2017-10-18 17:00 | Sb |  | 64.48
2017-10-26 08:00 | Sb |  | 69.44
2017-11-01 17:00 | Sb | 0 | 59.52
2017-11-08 17:00 | Sb | 1.4881 | 74.4
2017-11-15 17:00 | Sb | 0 | 34.72
2017-11-22 17:00 | Sb | 0.69444 | 34.72
2017-11-29 17:00 | Sb | 0 | 69.4444
2017-12-06 17:00 | Sb | 0.79365 | 79.3651
2017-12-13 17:00 | Sb | 0.34722 | 34.72
2017-12-20 17:00 | Sb | 0.44643 | 44.64
2017-12-27 17:00 | Sb | 0.89286 | 44.64
2018-01-03 17:00 | Sb | 0.89286 | 44.64
2018-01-10 17:00 | Sb | 0.62831 | 31.42
2018-01-17 17:00 | Sb | 0 | 69.44
2018-01-24 17:00 | Sb | 0.79365 | 39.68
2018-01-31 17:00 | Sb | 2.6786 | 133.93
2018-02-07 17:00 | Sb |  | 44.64
2017-09-06 17:00 | Ca+ |  | 66.29
2017-09-13 17:00 | Ca+ |  | 44.64
2017-09-20 17:00 | Ca+ |  | 128.97
2017-09-27 17:00 | Ca+ |  | 59.52
2017-10-04 17:00 | Ca+ |  | 29.76
2017-10-11 17:00 | Ca+ |  | 114.09
2017-10-18 17:00 | Ca+ |  | 64.48
2017-10-26 08:00 | Ca+ |  | 69.44
2017-11-01 17:00 | Ca+ | 0 | 59.52
2017-11-08 17:00 | Ca+ | 4.4643 | 74.4
2017-11-15 17:00 | Ca+ | 0.69444 | 34.72
2017-11-22 17:00 | Ca+ | 2.0833 | 34.72
2017-11-29 17:00 | Ca+ | 0.69444 | 69.4444
2017-12-06 17:00 | Ca+ | 2.381 | 79.3651
2017-12-13 17:00 | Ca+ | 1.3889 | 34.72
2017-12-20 17:00 | Ca+ | 0.44643 | 44.64
2017-12-27 17:00 | Ca+ | 0.44643 | 44.64
2018-01-03 17:00 | Ca+ | 0.89286 | 44.64
2018-01-10 17:00 | Ca+ | 1.2566 | 31.42
2018-01-17 17:00 | Ca+ | 2.0833 | 69.44
2018-01-24 17:00 | Ca+ | 0.39683 | 39.68
2018-01-31 17:00 | Ca+ | 1.3393 | 133.93
2018-02-07 17:00 | Ca+ | 1.7857 | 44.64

## Masdar_Roof_PMF
Date | SO4 | NO3 | Fl | Cl | NO2 | PO4 | Na | NH4 | K | Ca | TC | Si | Sb | Fe | Ba | Zn | Mg | Al | V | Ni | TSP | sum
2017-09-06 17:00 | 31.0799 | -0.11645 | 0.094007 | 0.31184 | -0.94593 | 0.507 |  | 10.1175 | K: 0.37836; Ca: -2.28; TC: 10.7045; TSP: 66.29; sum: 49.8508
2017-09-13 17:00 | 17.8524 | -0.35434 | -0.76634 | -4.748 | -1.7661 |  |  | 6.259 | K: 0.31268; Ca: -1.5094; TC: 13.831; TSP: 44.64; sum: 29.1108
2017-09-20 17:00 | 18.5131 | 1.6535 | -0.41305 | -5.12 | 1.8849 |  |  | 5.6685 | K: 0.16788; Ca: -2.0086; TC: 23.1762; TSP: 128.97; sum: 43.5224
2017-09-27 17:00 | 8.3569 | -0.80078 | 0.0044016 | -1.8758 | -0.096825 |  |  | 3.0719 | K: 0.17704; Ca: -0.30783; TC: 15.3262; TSP: 59.52; sum: 23.8552
2017-10-04 17:00 | 14.6902 | 5.263 | -0.020302 | -0.40927 | -0.86952 |  |  | -0.86262 | K: -0.28793; Ca: 1.0546; TC: 8.9714; TSP: 29.76; sum: 27.5296
2017-10-11 17:00 | 11.7973 | 8.4505 | -0.091824 | 0.86548 | 1.7005 |  |  | -1.6557 | K: -0.35257; Ca: 0.95065; TC: 20.1857; TSP: 114.09; sum: 41.85
2017-10-18 17:00 | 7.4742 | 3.6826 | -0.55507 | -5.8317 | -1.0991 |  |  | -2.5416 | K: -1.1019; Ca: -2.7018; TC: -16.0738; TSP: 64.48
2017-10-26 08:00 | 8.1102 | 6.0314 | 0.074058 | -3.1191 | -0.85536 |  |  | -1.1214 | K: -0.79728; Ca: -1.2327; TC: -16.9402; TSP: 69.44
2017-11-01 17:00 | 7.5801 | 3.4711 |  | 0.59524 | -3.4462 | -0.33108 | 0.59524 | 1.1095 | 0.94299 | 0.59524 | 10.8487 | 8.3333 | 0 | 0 | 0 | 0 | 0.59524 | 0 | 0 | 0 | 59.52 | 30.8893
2017-11-08 17:00 | 5.4846 | 2.4495 | 1.494 | 0.74405 | 1.7694 | 0.73545 | 0.74405 | 0.86153 | 0.74405 | 9.6726 | 10.1233 | 14.1369 | 1.4881 | 0 | 0.74405 | 0.74405 | 0.74405 | 0 | 0.74405 | 0 | 74.4 | 52.6798
2017-11-15 17:00 | 8.7424 | 3.9276 |  | 0.34722 | -1.7756 | -0.35154 | 0.69444 | 1.6644 |  | 1.7361 | 9.4193 | 7.2917 | 0 | 0 | 0.34722 | 0.34722 | 0.34722 | 0.34722 | 0 | 0 | 34.72 | 32.7377
2017-11-22 17:00 | 1.6111 | 1.0992 |  | 0.34722 | -2.3869 | -0.18783 | 0.69444 | 0.73517 | 0.38154 | 4.5139 | 10.7527 | 6.5972 | 0.69444 | 0 | 0.34722 | 0 | 0.34722 | 0 | 0 | 0 | 34.72 | 25.5466
2017-11-29 17:00 | -0.97049 | 1.5483 |  | 0 | -3.2919 | 1.1457 | 1.3889 | 0.7479 | 0.71764 | 2.0833 | 7.6048 | 7.6389 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 69.4444 | 18.6129
2017-12-06 17:00 | 7.8662 | 0 |  | 0.79365 | -3.4462 | -0.33108 | 2.381 | 1.1095 | 0.79365 | 5.5556 | 9.6219 | 19.0476 | 0.79365 | 0.79365 | 0.79365 | 0.79365 | 0.79365 | 0 | 0 | 0 | 79.3651 | 47.3599
2017-12-13 17:00 | 0.58617 | 2.6235 |  | 0.34722 | -3.1857 | 0.097755 | 0.69444 | 1.5869 | 0.34722 | 3.125 | 9.0032 | 7.9861 | 0.34722 | 0.34722 | 0 |  | 0.34722 | 0 | 0 | 0 | 34.72 | 24.2536
2017-12-20 17:00 | 1.0017 | 3.6135 |  | 0.44643 | -3.2039 | -0.00076082 | 0.89286 | 2.1183 |  | 1.3393 | 10.4647 | 7.5893 | 0.44643 | 0 | 0 |  | 0 | 0 | 0 | 0 | 44.64 | 24.7079
2017-12-27 17:00 | 9.5824 | 5.687 |  | 0 | -1.4717 | -0.5319 | 0.89286 | 2.7097 |  | 1.3393 | 8.4379 | 5.3571 | 0.89286 | 0 | 0 | 0.44643 | 0.44643 | 0 | 0 | 0 | 44.64 | 33.7883
2018-01-03 17:00 | 1.4593 | 5.802 | 1.3325 | 0 | 1.2724 | -0.36708 | 0.44643 | 0.85748 |  | 2.2321 | 6.6223 | 5.3571 | 0.89286 | 0 | 0 |  | 0.44643 | 0 | 0 | 0 | 44.64 | 26.3539
2018-01-10 17:00 | 1.4215 | 3.1004 |  | 0 | -3.4241 | -0.11288 | 0.31415 | 0.76141 | 0.70834 | 2.8274 | 8.8752 | 4.7123 | 0.62831 | 0 | 0 |  | 0.31415 | 0 | 0 | 0 | 31.42 | 20.1262
2018-01-17 17:00 | 4.6352 | 4.0737 | 1.2655 | 0 | 0.28733 | 0.070951 | 1.3889 | 2.4238 |  | 4.8611 | 10.294 | 15.2778 | 0 | 0.69444 | 0 |  | 0.69444 | 0 | 0 | 0 | 69.44 | 45.9671
2018-01-24 17:00 | -0.5436 | 1.0267 |  | 0 | -0.82903 | -0.35399 | 0.39683 | 0.81113 | 0.4438 | 0.39683 | 10.806 | 5.5556 | 0.79365 | 0 | 0 |  | 0.39683 | 0 | 0.39683 | 0 | 39.68 | 18.9008
2018-01-31 17:00 | 5.408 | 5.0787 |  | 0 | 2.95 | 0.34387 | 1.3393 | 1.8317 | 1.1601 | 4.0179 | 12.5021 | 30.8036 | 2.6786 | 0 | 0 |  | 1.3393 | 0 | 0 | 0 | 133.93 | 69.4531
2018-02-07 17:00 | 5.2531 | 3.2587 |  | 0.44643 | 0.35128 | -0.32839 | 0.89286 | 2.4836 | 0.37186 | 4.0179 | 10.23 | 9.375 |  | 0 | 0.44643 |  | 0.44643 | 0 | 0 | 0 | 44.64 | 37.2451
mass | 7.6953 | 3.0682 | 0.21981 | -0.68952 | -0.95123 | 0.00025993 | 0.91711 | 1.7716 | 0.28375 | 1.7512 | 8.9038 | 10.3373 | 0.68972 | 0.12235 | 0.19133 | 0.33305 | 0.48391 | 0.023148 | 0.076058 | 0 | 35.2272
% | 21.8447 | 8.7098 | 0.62399 | -1.9574 | -2.7003 | 0.00073787 | 2.6034 | 5.0292 | 0.80549 | 4.9713 | 25.2753 | 29.3446 | 1.9579 | 0.34733 | 0.54312 | 0.94543 | 1.3737 | 0.065711 | 0.21591 | 0 | 100

## summary_MI_field_station
Date | ION | conc | TSP
2017-09-06 17:00 | SO4- | 16.5807 | 191.9721
2017-09-13 17:00 | SO4- | 10.629 | 79.3651
2017-09-20 17:00 | SO4- | 18.2953 | 208.3333
2017-09-27 17:00 | SO4- | 8.1092 | 64.4777
2017-10-04 17:00 | SO4- | 11.4574 | 99.1965
2017-10-11 17:00 | SO4- | 7.7702 | 79.3493
2017-10-18 17:00 | SO4- | 8.1595 | 39.6707
2017-10-26 08:00 | SO4- | 6.7121 | 54.6299
2017-11-01 17:00 | SO4- | 5.1525 | 44.6429
2017-11-08 17:00 | SO4- | 6.1083 | 24.8016
2017-11-15 17:00 | SO4- | 7.3049 | 66.1376
2017-11-22 17:00 | SO4- | 1.5544 | 34.7222
2017-11-29 17:00 | SO4- | 0.27701 | 128.9683
2017-12-06 17:00 | SO4- | 3.3618 | 183.5317
2017-12-13 17:00 | SO4- | 1.0585 | 34.7222
2017-12-20 17:00 | SO4- | -0.27273 | 54.5635
2017-12-27 17:00 | SO4- | 8.1506 | 57.8704
2018-01-03 17:00 | SO4- | 2.9966 | 24.8016
2018-01-10 17:00 | SO4- | 0.15121 | 64.4841
2018-01-17 17:00 | SO4- | 3.6156 | 24.8016
2018-01-24 17:00 | SO4- | -0.45917 | 34.7222
2018-01-31 17:00 | SO4- | 2.564 | 69.4444
2018-02-07 17:00 | SO4- | 2.4456 | 59.5238
2017-09-06 17:00 | NO3- | -0.83198 | 191.9721
2017-09-13 17:00 | NO3- | 1.8627 | 79.3651
2017-09-20 17:00 | NO3- | 2.2978 | 208.3333
2017-09-27 17:00 | NO3- | 4.6239 | 64.4777
2017-10-04 17:00 | NO3- | 3.9835 | 99.1965
2017-10-11 17:00 | NO3- | 4.3972 | 79.3493
2017-10-18 17:00 | NO3- | 8.3611 | 39.6707
2017-10-26 08:00 | NO3- | 6.8028 | 54.6299
2017-11-01 17:00 | NO3- | 3.3032 | 44.6429
2017-11-08 17:00 | NO3- | 5.2127 | 24.8016
2017-11-15 17:00 | NO3- | 3.2147 | 66.1376
2017-11-22 17:00 | NO3- | 2.8026 | 34.7222
2017-11-29 17:00 | NO3- | 6.6159 | 128.9683
2017-12-06 17:00 | NO3- | 0.48003 | 183.5317
2017-12-13 17:00 | NO3- | 2.0535 | 34.7222
2017-12-20 17:00 | NO3- | 1.8878 | 54.5635
2017-12-27 17:00 | NO3- | 2.6194 | 57.8704
2018-01-03 17:00 | NO3- | 2.2433 | 24.8016
2018-01-10 17:00 | NO3- | 0.8687 | 64.4841
2018-01-17 17:00 | NO3- | 3.8987 | 24.8016
2018-01-24 17:00 | NO3- | 0.93802 | 34.7222
2018-01-31 17:00 | NO3- | 1.9348 | 69.4444
2018-02-07 17:00 | NO3- | 3.9633 | 59.5238
2017-09-06 17:00 | Fl- | -0.20789 | 191.9721
2017-09-13 17:00 | Fl- | -0.048501 | 79.3651
2017-09-20 17:00 | Fl- | -0.43528 | 208.3333
2017-09-27 17:00 | Fl- | -0.51488 | 64.4777
2017-10-04 17:00 | Fl- | -0.05899 | 99.1965
2017-10-11 17:00 | Fl- | -0.4203 | 79.3493
2017-10-18 17:00 | Fl- | -0.4635 | 39.6707
2017-10-26 08:00 | Fl- | -0.6323 | 54.6299
2017-11-01 17:00 | Fl- | 1.5939 | 44.6429
2017-11-08 17:00 | Fl- | 1.4627 | 24.8016
2017-11-15 17:00 | Fl- |  | 66.1376
2017-11-22 17:00 | Fl- |  | 34.7222
2017-11-29 17:00 | Fl- |  | 128.9683
2017-12-06 17:00 | Fl- |  | 183.5317
2017-12-13 17:00 | Fl- | 1.9103 | 34.7222
2017-12-20 17:00 | Fl- | 1.3037 | 54.5635
2017-12-27 17:00 | Fl- |  | 57.8704
2018-01-03 17:00 | Fl- |  | 24.8016
2018-01-10 17:00 | Fl- |  | 64.4841
2018-01-17 17:00 | Fl- |  | 24.8016
2018-01-24 17:00 | Fl- |  | 34.7222
2018-01-31 17:00 | Fl- |  | 69.4444
2018-02-07 17:00 | Fl- |  | 59.5238
2017-09-06 17:00 | Cl- | 0.16461 | 191.9721
2017-09-13 17:00 | Cl- | 0.96062 | 79.3651
2017-09-20 17:00 | Cl- | -3.5766 | 208.3333
2017-09-27 17:00 | Cl- | 0.53129 | 64.4777
2017-10-04 17:00 | Cl- | -4.2296 | 99.1965
2017-10-11 17:00 | Cl- | -0.73829 | 79.3493
2017-10-18 17:00 | Cl- | -4.9565 | 39.6707
2017-10-26 08:00 | Cl- | -5.2928 | 54.6299
2017-11-01 17:00 | Cl- |  | 44.6429
2017-11-08 17:00 | Cl- |  | 24.8016
2017-11-15 17:00 | Cl- |  | 66.1376
2017-11-22 17:00 | Cl- |  | 34.7222
2017-11-29 17:00 | Cl- |  | 128.9683
2017-12-06 17:00 | Cl- |  | 183.5317
2017-12-13 17:00 | Cl- |  | 34.7222
2017-12-20 17:00 | Cl- |  | 54.5635
2017-12-27 17:00 | Cl- |  | 57.8704
2018-01-03 17:00 | Cl- |  | 24.8016
2018-01-10 17:00 | Cl- |  | 64.4841
2018-01-17 17:00 | Cl- |  | 24.8016
2018-01-24 17:00 | Cl- |  | 34.7222
2018-01-31 17:00 | Cl- |  | 69.4444
2018-02-07 17:00 | Cl- |  | 59.5238
2017-09-06 17:00 | NO2- | -1.812 | 191.9721
2017-09-13 17:00 | NO2- | -0.95619 | 79.3651
2017-09-20 17:00 | NO2- | -1.9907 | 208.3333
2017-09-27 17:00 | NO2- | 0.79776 | 64.4777
2017-10-04 17:00 | NO2- | -0.87257 | 99.1965
2017-10-11 17:00 | NO2- | -0.88692 | 79.3493
2017-10-18 17:00 | NO2- | -1.0536 | 39.6707
2017-10-26 08:00 | NO2- |  | 54.6299
2017-11-01 17:00 | NO2- | -3.1866 | 44.6429
2017-11-08 17:00 | NO2- | -3.7179 | 24.8016
2017-11-15 17:00 | NO2- | -3.6651 | 66.1376
2017-11-22 17:00 | NO2- | 6.6892 | 34.7222
2017-11-29 17:00 | NO2- | -2.3773 | 128.9683
2017-12-06 17:00 | NO2- | -3.1272 | 183.5317
2017-12-13 17:00 | NO2- | 1.4587 | 34.7222
2017-12-20 17:00 | NO2- | -2.0114 | 54.5635
2017-12-27 17:00 | NO2- | -2.4032 | 57.8704
2018-01-03 17:00 | NO2- | -2.1166 | 24.8016
2018-01-10 17:00 | NO2- | -1.6745 | 64.4841
2018-01-17 17:00 | NO2- | -1.9104 | 24.8016
2018-01-24 17:00 | NO2- | -2.3933 | 34.7222
2018-01-31 17:00 | NO2- | -2.2585 | 69.4444
2018-02-07 17:00 | NO2- | -2.9772 | 59.5238
2017-09-06 17:00 | PO4- |  | 191.9721
2017-09-13 17:00 | PO4- |  | 79.3651
2017-09-20 17:00 | PO4- |  | 208.3333
2017-09-27 17:00 | PO4- |  | 64.4777
2017-10-04 17:00 | PO4- |  | 99.1965
2017-10-11 17:00 | PO4- |  | 79.3493
2017-10-18 17:00 | PO4- |  | 39.6707
2017-10-26 08:00 | PO4- |  | 54.6299
2017-11-01 17:00 | PO4- | 0.35903 | 44.6429
2017-11-08 17:00 | PO4- | -0.54676 | 24.8016
2017-11-15 17:00 | PO4- | -0.52994 | 66.1376
2017-11-22 17:00 | PO4- | -0.59382 | 34.7222
2017-11-29 17:00 | PO4- | 0.83439 | 128.9683
2017-12-06 17:00 | PO4- | 1.6315 | 183.5317
2017-12-13 17:00 | PO4- | 1.5323 | 34.7222
2017-12-20 17:00 | PO4- | 0.024819 | 54.5635
2017-12-27 17:00 | PO4- | 0.97335 | 57.8704
2018-01-03 17:00 | PO4- | 0.56655 | 24.8016
2018-01-10 17:00 | PO4- | 0.59588 | 64.4841
2018-01-17 17:00 | PO4- | 2.0186 | 24.8016
2018-01-24 17:00 | PO4- | 1.4464 | 34.7222
2018-01-31 17:00 | PO4- | -0.056836 | 69.4444
2018-02-07 17:00 | PO4- | -0.60015 | 59.5238
2017-09-06 17:00 | Na+ |  | 191.9721
2017-09-13 17:00 | Na+ |  | 79.3651
2017-09-20 17:00 | Na+ |  | 208.3333
2017-09-27 17:00 | Na+ |  | 64.4777
2017-10-04 17:00 | Na+ |  | 99.1965
2017-10-11 17:00 | Na+ |  | 79.3493
2017-10-18 17:00 | Na+ |  | 39.6707
2017-10-26 08:00 | Na+ |  | 54.6299
2017-11-01 17:00 | Na+ |  | 44.6429
2017-11-08 17:00 | Na+ |  | 24.8016
2017-11-15 17:00 | Na+ |  | 66.1376
2017-11-22 17:00 | Na+ |  | 34.7222
2017-11-29 17:00 | Na+ |  | 128.9683
2017-12-06 17:00 | Na+ |  | 183.5317
2017-12-13 17:00 | Na+ |  | 34.7222
2017-12-20 17:00 | Na+ |  | 54.5635
2017-12-27 17:00 | Na+ |  | 57.8704
2018-01-03 17:00 | Na+ |  | 24.8016
2018-01-10 17:00 | Na+ |  | 64.4841
2018-01-17 17:00 | Na+ |  | 24.8016
2018-01-24 17:00 | Na+ |  | 34.7222
2018-01-31 17:00 | Na+ |  | 69.4444
2018-02-07 17:00 | Na+ |  | 59.5238
2017-09-06 17:00 | NH4+ |  | 191.9721
2017-09-13 17:00 | NH4+ |  | 79.3651
2017-09-20 17:00 | NH4+ |  | 208.3333
2017-09-27 17:00 | NH4+ | 0.19187 | 64.4777
2017-10-04 17:00 | NH4+ | -1.6458 | 99.1965
2017-10-11 17:00 | NH4+ | -2.2787 | 79.3493
2017-10-18 17:00 | NH4+ | -2.6081 | 39.6707
2017-10-26 08:00 | NH4+ | -2.1559 | 54.6299
2017-11-01 17:00 | NH4+ | 2.0391 | 44.6429
2017-11-08 17:00 | NH4+ | 1.1598 | 24.8016
2017-11-15 17:00 | NH4+ | 0.46521 | 66.1376
2017-11-22 17:00 | NH4+ | 1.0173 | 34.7222
2017-11-29 17:00 | NH4+ | 0.48327 | 128.9683
2017-12-06 17:00 | NH4+ | 0.55051 | 183.5317
2017-12-13 17:00 | NH4+ | 1.1968 | 34.7222
2017-12-20 17:00 | NH4+ | 0.87005 | 54.5635
2017-12-27 17:00 | NH4+ | -0.33801 | 57.8704
2018-01-03 17:00 | NH4+ |  | 24.8016
2018-01-10 17:00 | NH4+ | -0.048741 | 64.4841
2018-01-17 17:00 | NH4+ | 0.99331 | 24.8016
2018-01-24 17:00 | NH4+ | 0.51787 | 34.7222
2018-01-31 17:00 | NH4+ |  | 69.4444
2018-02-07 17:00 | NH4+ | 0.13449 | 59.5238
2017-09-06 17:00 | K+ | 0.27385 | 191.9721
2017-09-13 17:00 | K+ | 0.66207 | 79.3651
2017-09-20 17:00 | K+ | 0.72721 | 208.3333
2017-09-27 17:00 | K+ | 0.44252 | 64.4777
2017-10-04 17:00 | K+ | -0.91769 | 99.1965
2017-10-11 17:00 | K+ | -1.0313 | 79.3493
2017-10-18 17:00 | K+ | -0.61994 | 39.6707
2017-10-26 08:00 | K+ | -0.96214 | 54.6299
2017-11-01 17:00 | K+ |  | 44.6429
2017-11-08 17:00 | K+ |  | 24.8016
2017-11-15 17:00 | K+ | 0.48834 | 66.1376
2017-11-22 17:00 | K+ |  | 34.7222
2017-11-29 17:00 | K+ |  | 128.9683
2017-12-06 17:00 | K+ |  | 183.5317
2017-12-13 17:00 | K+ | 1.0957 | 34.7222
2017-12-20 17:00 | K+ | 0.3208 | 54.5635
2017-12-27 17:00 | K+ | 0.5716 | 57.8704
2018-01-03 17:00 | K+ |  | 24.8016
2018-01-10 17:00 | K+ |  | 64.4841
2018-01-17 17:00 | K+ | 0.93739 | 24.8016
2018-01-24 17:00 | K+ |  | 34.7222
2018-01-31 17:00 | K+ |  | 69.4444
2018-02-07 17:00 | K+ |  | 59.5238
2017-09-06 17:00 | Ca+ | 0.259 | 191.9721
2017-09-13 17:00 | Ca+ | 0.04301 | 79.3651
2017-09-20 17:00 | Ca+ | 3.5592 | 208.3333
2017-09-27 17:00 | Ca+ | 1.8628 | 64.4777
2017-10-04 17:00 | Ca+ | 0.50892 | 99.1965
2017-10-11 17:00 | Ca+ | 0.84887 | 79.3493
2017-10-18 17:00 | Ca+ | 1.6243 | 39.6707
2017-10-26 08:00 | Ca+ | 0.080358 | 54.6299
2017-11-01 17:00 | Ca+ | 3.4971 | 44.6429
2017-11-08 17:00 | Ca+ | 3.2645 | 24.8016
2017-11-15 17:00 | Ca+ | 2.4093 | 66.1376
2017-11-22 17:00 | Ca+ | 2.9552 | 34.7222
2017-11-29 17:00 | Ca+ | 4.2039 | 128.9683
2017-12-06 17:00 | Ca+ | 4.3402 | 183.5317
2017-12-13 17:00 | Ca+ | 2.1705 | 34.7222
2017-12-20 17:00 | Ca+ | 1.6258 | 54.5635
2017-12-27 17:00 | Ca+ | 2.3006 | 57.8704
2018-01-03 17:00 | Ca+ | 2.5474 | 24.8016
2018-01-10 17:00 | Ca+ | 1.4 | 64.4841
2018-01-17 17:00 | Ca+ | 2.5847 | 24.8016
2018-01-24 17:00 | Ca+ | 2.663 | 34.7222
2018-01-31 17:00 | Ca+ | 15.3606 | 69.4444
2018-02-07 17:00 | Ca+ | 1.8064 | 59.5238
2017-09-06 17:00 | TC | 5.2607 | 191.9721
2017-09-13 17:00 | TC | 8.9714 | 79.3651
2017-09-20 17:00 | TC | 21.3071 | 208.3333
2017-09-27 17:00 | TC | 13.4571 | 64.4777
2017-10-04 17:00 | TC | 24.6714 | 99.1965
2017-10-11 17:00 | TC | 10.0929 | 79.3493
2017-10-18 17:00 | TC | 6.3548 | 39.6707
2017-10-26 08:00 | TC | 20.1857 | 54.6299
2017-11-01 17:00 | TC | 9.0032 | 44.6429
2017-11-08 17:00 | TC | 11.6167 | 24.8016
2017-11-15 17:00 | TC | 10.8914 | 66.1376
2017-11-22 17:00 | TC | 9.6006 | 34.7222
2017-11-29 17:00 | TC | 11.4141 | 128.9683
2017-12-06 17:00 | TC | 10.966 | 183.5317
2017-12-13 17:00 | TC | 9.7286 | 34.7222
2017-12-20 17:00 | TC | 6.8122 | 54.5635
2017-12-27 17:00 | TC | 7.8384 | 57.8704
2018-01-03 17:00 | TC | 6.106 | 24.8016
2018-01-10 17:00 | TC | 5.4809 | 64.4841
2018-01-17 17:00 | TC | 8.5552 | 24.8016
2018-01-24 17:00 | TC | 12.2568 | 34.7222
2018-01-31 17:00 | TC | 11.4994 | 69.4444
2018-02-07 17:00 | TC | 8.0026 | 59.5238

## Masdar_Field_PMF
Date | SO4 | NO3 | Fl | Cl | NO2 | PO4 | Na | NH4 | K | Ca | TC | Si | Sb | Fe | Ba | Zn | Mg | Al | V | Ni | TSP | sum
2017-09-06 17:00 | 16.5807 | -0.83198 | -0.20789 | 0.16461 | -1.812 |  |  |  | K: 0.27385; Ca: 0.259; TC: 5.2607; TSP: 191.9721; sum: 19.687
2017-09-13 17:00 | 10.629 | 1.8627 | -0.048501 | 0.96062 | -0.95619 |  |  |  | K: 0.66207; Ca: 0.04301; TC: 8.9714; TSP: 79.3651; sum: 22.1241
2017-09-20 17:00 | 18.2953 | 2.2978 | -0.43528 | -3.5766 | -1.9907 |  |  |  | K: 0.72721; Ca: 3.5592; TC: 21.3071; TSP: 208.3333; sum: 40.1841
2017-09-27 17:00 | 8.1092 | 4.6239 | -0.51488 | 0.53129 | 0.79776 |  |  | 0.19187 | K: 0.44252; Ca: 1.8628; TC: 13.4571; TSP: 64.4777; sum: 29.5016
2017-10-04 17:00 | 11.4574 | 3.9835 | -0.05899 | -4.2296 | -0.87257 |  |  | -1.6458 | K: -0.91769; Ca: 0.50892; TC: 24.6714; TSP: 99.1965; sum: 32.8966
2017-10-11 17:00 | 7.7702 | 4.3972 | -0.4203 | -0.73829 | -0.88692 |  |  | -2.2787 | K: -1.0313; Ca: 0.84887; TC: 10.0929; TSP: 79.3493; sum: 17.7535
2017-10-18 17:00 | 8.1595 | 8.3611 | -0.4635 | -4.9565 | -1.0536 |  |  | -2.6081 | K: -0.61994; Ca: 1.6243; TC: 6.3548; TSP: 39.6707; sum: 14.7981
2017-10-26 08:00 | 6.7121 | 6.8028 | -0.6323 | -5.2928 |  |  |  | -2.1559 | K: -0.96214; Ca: 0.080358; TC: 20.1857; TSP: 54.6299; sum: 24.7378
2017-11-01 17:00 | 5.1525 | 3.3032 | 1.5939 |  | -3.1866 | 0.35903 | 0.89286 | 0 |  | 1.3393 | 9.0032 | 1.3393 | 0 | 0 | 0.44643 | 0.44643 | 0 | 0.44643 | 0 | 0 | 44.6429 | 20.6895
2017-11-08 17:00 | 6.1083 | 5.2127 | 1.4627 |  | -3.7179 | -0.54676 | 0.74405 | 0.24802 |  | 1.8601 | 11.6167 | 0.99206 | 0 | 0 | 0 | 0 | 0.24802 | 0 | 0 | 0 | 24.8016 | 23.98
2017-11-15 17:00 | 7.3049 | 3.2147 |  |  | -3.6651 | -0.52994 | 3.3069 | 0.66138 | 0.48834 | 21.8254 | 10.8914 | 14.5503 | 0.66138 | 1.3228 | 0.66138 | 0 | 1.3228 | 0.66138 | 0 | 0 | 66.1376 | 60.6937
2017-11-22 17:00 | 1.5544 | 2.8026 |  |  | 6.6892 | -0.59382 | 0.69444 | 0 |  | 1.0417 | 9.6006 | 0.34722 | 0 | 0 | 0 | 0 | 0.34722 | 0 | 0 | 0 | 34.7222 | 22.1365
2017-11-29 17:00 | 0.27701 | 6.6159 |  |  | -2.3773 | 0.83439 | 2.5794 | 1.2897 |  | 7.7381 | 11.4141 | 35.5794 | 0 | 0 | 1.2897 | 0 | 1.2897 | 0 | 0 | 0 | 128.9683 | 65.2403
2017-12-06 17:00 | 3.3618 | 0.48003 |  |  | -3.1272 | 1.6315 | 5.506 | 3.6706 |  | 35.7887 | 10.966 | 35.6542 | 7.3413 | 1.8353 | 3.6706 | 1.8353 | 7.3413 | 1.8353 | 1.8353 | 0 | 183.5317 | 108.6142
2017-12-13 17:00 | 1.0585 | 2.0535 | 1.9103 |  | 1.4587 | 1.5323 | 0.69444 | 0 | 1.0957 | 1.0417 | 9.7286 | 0.69444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.7222 | 21.2681
2017-12-20 17:00 | -0.27273 | 1.8878 | 1.3037 |  | -2.0114 | 0.024819 | 0.54563 | 0.54563 | 0.3208 | 4.9107 | 6.8122 | 4.9107 | 0 | 0.54563 | 0.54563 | 0.54563 | 0.54563 | 0 | 0.54563 | 0 | 54.5635 | 20.6148
2017-12-27 17:00 | 8.1506 | 2.6194 |  |  | -2.4032 | 0.97335 | 1.1574 | 0 | 0.5716 | 5.2083 | 7.8384 | 3.4722 | 0.5787 | 0 | 0 | 0 | 0.5787 | 0 | 0 | 0 | 57.8704 | 28.1668
2018-01-03 17:00 | 2.9966 | 2.2433 |  |  | -2.1166 | 0.56655 | 0.49603 | 0.24802 |  | 1.1161 | 6.106 | 0.99206 | 0 | 0 | 0 | 0 | 0.24802 | 0 | 0 | 0 | 24.8016 | 12.648
2018-01-10 17:00 | 0.15121 | 0.8687 |  |  | -1.6745 | 0.59588 | 2.5794 | 1.2897 |  | 17.4107 | 5.4809 | 12.8968 | 1.9345 | 1.2897 | 1.2897 | 0.64484 | 1.2897 | 0.64484 | 0.64484 | 0 | 64.4841 | 44.7575
2018-01-17 17:00 | 3.6156 | 3.8987 |  |  | -1.9104 | 2.0186 | 0.49603 | 0 | 0.93739 | 0.74405 | 8.5552 | 0.24802 | 0 | 0 | 0 | 0 | 0.24802 | 0 | 0 | 0 | 24.8016 | 18.6032
2018-01-24 17:00 | -0.45917 | 0.93802 |  |  | -2.3933 | 1.4464 | 0.69444 | 0 |  | 1.5625 | 12.2568 | 1.0417 | 0 | 0 | 0 | 0 | 0.34722 | 0 | 0 | 0 | 34.7222 | 15.0873
2018-01-31 17:00 | 2.564 | 1.9348 |  |  | -2.2585 | -0.056836 | 1.3889 | 1.3889 |  | 12.5 | 11.4994 | 9.0278 | 0.69444 | 0.69444 | 1.3889 | 0.69444 | 1.3889 | 0 | 0.69444 | 0 | 69.4444 | 41.4606
2018-02-07 17:00 | 2.4456 | 3.9633 |  |  | -2.9772 | -0.60015 | 4.7619 | 3.5714 |  | 2.6786 | 8.0026 | 29.7619 | 1.1905 | 0.59524 | 2.381 | 1.7857 | 0.59524 | 3.5714 | 1.1905 | 0.59524 | 59.5238 | 57.5604
mass | 5.7271 | 3.1971 | 0.29074 | -2.1422 | -1.4748 | 0.51036 | 1.7692 | 0.22084 | 0.15295 | 5.4588 | 10.8728 | 10.1005 | 0.82672 | 0.41887 | 0.77822 | 0.39683 | 1.0527 | 0.47729 | 0.32738 | 0.039683 | 39.0011
% | 14.6844 | 8.1975 | 0.74547 | -5.4926 | -3.7814 | 1.3086 | 4.5362 | 0.56623 | 0.39217 | 13.9965 | 27.8781 | 25.8981 | 2.1197 | 1.074 | 1.9954 | 1.0175 | 2.6991 | 1.2238 | 0.83942 | 0.10175 | 100