## EXPO2020_Dubai
| Operator Federico | Federico |  | Operator Federico | Federico | [5 empty] | Sampled vol.(m³) | [5 empty] | sampled surface | IC sample (mg) |  |  | from IC | SO4- | from IC | NO3- | from IC | Fl- | from IC | Cl- | from IC | NO2- | from IC | Br- | from IC | PO4- | from IC | Na+ | from IC | NH4+ | from IC | K+ | from IC | Ca+ | TOC blank | IC blank | TC blank |  |  |  | TOC filter | IC filter | TC filter | TOC filter | IC filter | TC filter
Filter No. | Blank 1st w. (mg) | Blank 2nd w. (mg) | Average blank | Loaded 1st w (mg) | Loaded 2nd w (mg) | Average Loaded (mg) | PM2.5 (ug) | Start | Stop Time | sampling_time (hours) | Standard | Mass conc. (ug/m3) | Temp. (Ambient) | Temp Filter © | Pressure (Pa) | Qn | (cm2) | blank + dust | dilution (ml) | IC and TOC conc (mg/L) | SO4- (mg/L) | in the sample (ug/m3) | NO3- (mg/L) | in the sample (ug/m3) | Fl- (mg/L) | in the sample (ug/m3) | Cl- (mg/L) | in the sample (ug/m3) | NO2- (mg/L) | in the sample (ug/m3) | Br- (mg/L) | in the sample (ug/m3) | PO4- (mg/L) | in the sample (ug/m3) | Na+ (mg/L) | in the sample (ug/m3) | NH4+ (mg/L) | in the sample (ug/m3) | K+ (mg/L) | in the sample (ug/m3) | Ca+ (mg/L) | in the sample (ug/m3) | (mg/L) | (mg/L) | (mg/L) |  |  |  | (mg/L) | (mg/L) | (mg/L) | (ug/m3) | (ug/m3) | (ug/m3)
[16 empty] | NEW METHODOLOGY |  | mass on 3 punches of filter (4.65%) | [27 empty] | TOC filter | IC filter | TC filter | TOC filter (no blank) | IC filter (no blank) | TC filter (no blank) | TOC filter | IC filter | TC filter
[43 empty] | 0.3818 | 0.4314 | 0.81315 | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (mg/L) | (ug/m3) | (ug/m3) | (ug/m3)
1 | 126.3 | 126.2 | 126.25 | 134.7 | 134.9 | 134.8 | 8550 | NA | 2018-04-30 08:54 | 24h00min | 48.4 | 176.6529 | 35.6 | 44.7 | 1004 |  |  | 0.39758 | 30 | 13.2525 | 0.68968 | 9.1932 | 0.099755 | 1.3297 | 0.044853 | 0.59788 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0.047653 | 0.6352 | 0.061224 | 0.061224 | 1.8665 | 24.8798 | 0.477 | 0.426 | 0.903 | 2.381 | 0.63 | 3.018 | 1.904 | 0.204 | 2.115 | 25.3799 | 2.7193 | 28.1925
2 | 127.6 | 128 | 127.8 | 142 | 141.8 | 141.9 | 14100 | NA | 2018-04-28 08:39 | 22h22min | 45.47 | 310.0946 | 33.3 | 42 | 1006 |  |  | 0.65565 | 30 | 21.855 | 0.80185 | 11.3772 | 0.11058 | 1.5689 | 0.071455 | 1.0139 | 0 | 0 | 0.0072269 | 0.10254 |  | 0 |  | 0 | 0 | 0 | 0.14609 | 2.0728 | 0.060094 | 0.060094 | 3.3547 | 47.5985 | 0.2866 | 0.4368 | 0.7233 | 2.356 | 1.091 | 3.447 | 1.879 | 0.665 | 2.544 | 26.6606 | 9.4355 | 36.0961
3 | 125.7 | 125.6 | 125.65 | 130.5 | 128 | 129.25 | 3600 | NA | 2018-04-29 08:40 | 24h00min | 48.28 | 74.565 | 36.4 | 45.1 | 1005 |  |  | 0.1674 | 30 | 5.58 | 0.71398 | 9.5409 | 0.11055 | 1.4773 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 | 0 | 0.17326 | 2.3153 | -0.10127 | 0 | 0.75667 | 10.1113 |  |  |  | 1.369 | 0.4529 | 1.822 | 0.892 | 0.0269 | 0.919 | 11.9197 | 0.35946 | 12.2805
4 | 125.5 | 125.2 | 125.35 | 132.8 | 132.8 | 132.8 | 7450 | NA | 2018-05-02 20:08 | 23h59min | 49 | 152.0408 | 32.2 | 40.6 | 1006 |  |  | 0.34643 | 30 | 11.5475 | 0.7737 | 10.187 | 0.15162 | 1.9963 | 0.047461 | 0.62489 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0.032117 | 0.42287 | -0.098372 | 0 | 1.5417 | 20.2989 |  |  |  | 1.598 | 0.5538 | 2.152 | 1.121 | 0.1278 | 1.249 | 14.7597 | 1.6827 | 16.445
5 | 126.3 | 126.4 | 126.35 | 418.2 | 417.3 | 417.75 | 291400 | NA | 2018-05-14 00:20 | 10h42min | 21.54 | 13528.3194 | 36 | 42.2 | 1001 |  |  | 13.5501 | 30 | 451.67 | 0.8657 | 25.9292 | 0.017631 | 0.52809 | 0.10779 | 3.2286 | 0.2048 | 6.134 | 0 | 0 |  |  |  | 0 | 0.17385 | 5.2071 | 0.045942 | 1.376 | 0 | 0 | 4.6345 | 138.8121 |  |  |  | 0.95 | 2.465 | 3.416 | 0.473 | 2.039 | 2.513 | 14.1672 | 61.0717 | 75.2688
6 | 127.5 | 127.7 | 127.6 | 132.8 | 132.8 | 132.8 | 5200 | NA | 2018-04-26 12:01 | 23h57min | 48.89 | 106.3612 | 31.6 | 40.2 | 1007 |  |  | 0.2418 | 30 | 8.06 | 1.4731 | 19.4392 | 0.15173 | 2.0022 | 0.17472 | 2.3056 | 0.28978 | 3.824 | 0 | 0 |  |  |  | 0 | 0.3064 | 4.0432 | 0.12446 | 1.6424 | 0 | 0 | 4.5117 | 59.5371 |  |  |  | 2.651 | 1.344 | 3.995 | 2.174 | 0.918 | 3.092 | 28.6885 | 12.1141 | 40.8026
7 | 125 | 124.9 | 124.95 | 128.3 | 128.2 | 128.25 | 3300 | NA | 2018-04-27 07:38 | 24h00min | 49.07 | 67.2509 | 31.5 | 40.4 | 1005 |  |  | 0.15345 | 30 | 5.115 | 0.97047 | 12.7596 | 0.064996 | 0.85455 | 0.065252 | 0.85792 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0.14545 | 1.9123 | -0.18771 | 0 | 1.4146 | 18.5991 |  |  |  | 1.383 | 0.7587 | 2.141 | 0.906 | 0.3327 | 1.238 | 11.9119 | 4.3743 | 16.2769
8 | 125.4 | 125.5 | 125.45 | 129 | 129.2 | 129.1 | 3650 | NA | 2018-05-03 20:34 | 24h00min | 48.9 | 74.6421 | 32.6 | 41.2 | 1005 |  |  | 0.16972 | 30 | 5.6575 | 0.76074 | 10.0367 | 0.063924 | 0.84338 | 0.0087829 | 0.11588 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0.10414 | 1.3739 | -0.19998 | 0 | 1.1743 | 15.4928 |  |  |  | 1.313 | 0.4405 | 1.753 | 0.836 | 0.0145 | 0.85 | 11.0298 | 0.19131 | 11.2145
9 | 125.9 | 125.9 | 125.9 | 129.7 | 129.6 | 129.65 | 3750 | NA | 2018-05-04 20:54 | 23h57min | 48.85 | 76.7656 | 32.5 | 41.3 | 1006 |  |  | 0.17437 | 30 | 5.8125 | 0.56794 | 7.5008 | 0.044056 | 0.58184 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0.041121 | 0.54308 | -0.2113 | 0 | 1.0629 | 14.0377 |  |  |  | 0.9354 | 0.6753 | 1.611 | 0.4584 | 0.2493 | 0.708 | 6.0541 | 3.2925 | 9.3505
10 | 127.5 | 127.8 | 127.65 | 132 | 132.1 | 132.05 | 4400 | NA | 2018-05-05 20:56 | 24h00min | 49.11 | 89.5948 | 31.5 | 40.4 | 1006 |  |  | 0.2046 | 30 | 6.82 | 0.73704 | 9.6826 | 0.044745 | 0.58782 | 0.067519 | 0.887 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.0056628 | 0.074393 | 0.14346 | 1.8846 | 0 | 0 | 2.3814 | 31.2845 |  |  |  | 1.083 | 1.471 | 2.554 | 0.606 | 1.045 | 1.651 | 7.9611 | 13.7282 | 21.6893
11 | 127.4 | 127.4 | 127.4 | 132.8 | 133 | 132.9 | 5500 | NA | 2018-05-17 19:05 | 24h00min | 48.65 | 113.0524 | 34.1 | 43.2 | 1005 |  |  | 0.25575 | 30 | 8.525 | 0.71849 | 9.5281 | 0.090682 | 1.2026 | 0.0018569 | 0.024625 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.059961 | 0.79516 | 0.098329 | 1.304 | -0.21866 | 0 | 1.1509 | 15.2628 |  |  |  | 1.282 | 0.8424 | 2.124 | 0.805 | 0.4164 | 1.221 | 10.6753 | 5.522 | 16.192
12 | 127.2 | 127.5 | 127.35 | 140.7 | 141 | 140.85 | 13500 | NA | 2018-05-13 00:17 | 24h00min | 48.32 | 279.3874 | 35.1 | 43.9 | 1002 |  |  | 0.62775 | 30 | 20.925 | 0.60885 | 8.1293 | 0.11484 | 1.5334 | 0 | 0 | 0.034396 | 0.45925 | 0 | 0 |  |  |  | 0 | 0.04894 | 0.65344 | 0.034815 | 0.46484 | -0.12846 | 0 | 2.8948 | 38.651 |  |  |  | 1.571 | 1.809 | 3.38 | 1.094 | 1.383 | 2.477 | 14.6069 | 18.4656 | 33.0725
13 | 126.6 | 126.8 | 126.7 | 130.2 | 130.4 | 130.3 | 3600 | NA | 2018-05-06 21:05 | 24h00min | 49.04 | 73.4095 | 31.6 | 40.6 | 1005 |  |  | 0.1674 | 30 | 5.58 | 0.90893 | 11.9577 | 0.057664 | 0.75862 | 0.018412 | 0.24223 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0.1476 | 1.9418 | -0.2353 | 0 | 1.0489 | 13.7995 |  |  |  | 0.9062 | 0.6736 | 1.58 | 0.4292 | 0.2476 | 0.677 | 5.6465 | 3.2574 | 8.9065
14 | 126 | 126.1 | 126.05 | 323.3 | 312.5 | 317.9 | 191850 | NA | 2018-05-10 23:50 | 24h00min | 48.27 | 3974.5183 | 35.7 | 47.2 | 1003 |  |  | 8.921 | 30 | 297.3675 | 0.74888 | 10.0092 | 0.030587 | 0.40881 | 0.064396 | 0.86069 | 0.078865 | 1.0541 | 0 | 0 |  |  |  | 0 | 0.08215 | 1.098 | 0.045221 | 0.60441 | 0 | 0 | 4.3393 | 57.9977 |  |  |  | 0.84 | 3.421 | 3.421 | 0.363 | 2.995 | 2.518 | 4.8517 | 40.0302 | 33.6548
15 | 127.6 | 127.5 | 127.55 | 132.2 | 132.2 | 132.2 | 4650 | NA | 2018-05-08 23:16 | 24h00min | 48.7 | 95.4825 | 32.6 | 41.5 | 1002 |  |  | 0.21622 | 30 | 7.2075 | 1.6104 | 21.334 | 0.13567 | 1.7973 | 0.017704 | 0.23454 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0.073458 | 0.97314 | 0.22623 | 2.997 | 0 | 0 | 3.6945 | 48.9432 |  |  |  | 0.8808 | 1.971 | 2.852 | 0.4038 | 1.545 | 1.949 | 5.3494 | 20.4676 | 25.8197
16 | 127.2 | 127.1 | 127.15 | 130.9 | 130.4 | 130.65 | 3500 | NA | 2018-05-07 22:50 | 24h00min | 48.89 | 71.5893 | 32.2 | 40.6 | 1003 |  |  | 0.16275 | 30 | 5.425 | 0.83819 | 11.061 | 0.061016 | 0.80518 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0.04463 | 0.58895 | -0.28516 | 0 | 0.7826 | 10.3274 |  |  |  | 1.472 | 0.3194 | 1.791 | 0.995 | -0.1066 | 0.888 | 13.1302 | -1.4067 | 11.7182
17 | 125.5 | 125.4 | 125.45 | 137.1 | 137.2 | 137.15 | 11700 | NA | 2018-05-09 23:34 | 24h00min | 48.16 | 242.9402 | 36 | 45.1 | 1002 |  |  | 0.54405 | 30 | 18.135 | 1.2627 | 16.9159 | 0.18591 | 2.4904 | 0.047531 | 0.63673 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.038271 | 0.51269 | 0.20434 | 2.7374 | -0.19509 | 0 | 2.322 | 31.1054 |  |  |  | 1.222 | 1.411 | 2.632 | 0.745 | 0.985 | 1.729 | 9.9802 | 13.1953 | 23.162
18 | 126.8 | 126.6 | 126.7 | 142.5 | 142.5 | 142.5 | 15800 | NA | 2018-05-23 21:29 | 24h00min | 48.45 | 326.1094 | 35.2 | 44.5 | 1005 |  |  | 0.7347 | 30 | 24.49 | 1.0649 | 14.1803 | 0.18408 | 2.4512 | 0.026836 | 0.35734 | 0.13003 | 1.7315 | 0.023111 | 0.30775 |  |  |  | 0 | 0.18548 | 2.4699 | 0.13754 | 1.8314 | 0 | 0 | 3.1886 | 42.4601 |  |  |  | 0.929 | 2.094 | 3.023 | 0.452 | 1.668 | 2.12 | 6.0188 | 22.2111 | 28.23
19 | 125.4 | 125.7 | 125.55 | 133.8 | 133.6 | 133.7 | 8150 | NA | 2018-05-25 21:54 | 24h00min | 48.38 | 168.458 | 34.8 | 43.6 | 1002 |  |  | 0.37897 | 30 | 12.6325 | 0.97457 | 12.9962 | 0.12614 | 1.6821 | 0.0082401 | 0.10988 | 0.050786 | 0.67724 | 0 | 0 |  |  |  | 0 | 0.073243 | 0.97671 | 0.097862 | 1.305 | -0.21918 | 0 | 2.24 | 29.8714 |  |  |  | 1.04 | 1.278 | 2.317 | 0.563 | 0.852 | 1.414 | 7.5078 | 11.3617 | 18.8561
20 | 126.4 | 126.1 | 126.25 | 134.4 | 133.6 | 134 | 7750 | NA | 2018-05-16 19:02 | 23h58min | 48.6 | 159.465 | 33.7 | 43.2 | 1004 |  |  | 0.36038 | 30 | 12.0125 | 0.64329 | 8.5396 | 0.059989 | 0.79635 | 0.0010287 | 0.013655 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0.012813 | 0.17009 | -0.29804 | 0 | 1.1251 | 14.9358 |  |  |  | 0.6485 | 0.766 | 1.415 | 0.1715 | 0.34 | 0.512 | 2.2766 | 4.5135 | 6.7968
21 | 124.8 | 125.1 | 124.95 | 131.7 | 131.8 | 131.75 | 6800 | NA | 2018-05-18 19:26 | 23h59min | 49 | 138.7755 | 31.8 | 40.6 | 1005 |  |  | 0.3162 | 30 | 10.54 | 1.1045 | 14.5423 | 0.091493 | 1.2046 | 0.033836 | 0.4455 | 0 | 0 | 0.023722 | 0.31234 |  |  |  | 0 | 0 | 0 | 0.15491 | 2.0396 | -0.28354 | 0 | 1.0474 | 13.7912 |  |  |  | 1.146 | 0.554 | 1.7 | 0.669 | 0.128 | 0.797 | 8.8084 | 1.6853 | 10.4937
22 | 124.4 | 124.9 | 124.65 | 129.3 | 129.4 | 129.35 | 4700 | NA | 2018-05-20 20:10 | 23h57min | 48.91 | 96.0949 | 31.9 | 40.9 | 1005 |  |  | 0.21855 | 30 | 7.285 | 1.5189 | 20.0356 | 0.073262 | 0.96638 | 0.044877 | 0.59196 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0.032393 | 0.42729 | 0.22069 | 2.9111 | -0.29172 | 0 | 1.0009 | 13.2025 |  |  |  | 0.8366 | 0.6257 | 1.462 | 0.3596 | 0.1997 | 0.559 | 4.7434 | 2.6342 | 7.3736
23 | 125.1 | 125.9 | 125.5 | 138.9 | 139 | 138.95 | 13450 | NA | 2018-05-12 00:06 | 24h00min | 48.7 | 276.1807 | 33.7 | 43.2 | 1005 |  |  | 0.62542 | 30 | 20.8475 | 0.60798 | 8.0543 | 0.065148 | 0.86306 | 0.040922 | 0.54212 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0.13845 | 1.8341 | 0 | 0 | 1.5691 | 20.787 |  |  |  | 1.126 | 1.21 | 2.336 | 0.649 | 0.784 | 1.433 | 8.5977 | 10.3862 | 18.9839
24 | 125.9 | 125.9 | 125.9 | 144.9 | 145 | 144.95 | 19050 | NA | 2018-05-27 23:47 | 24h00min | 48.32 | 394.2467 | 35.3 | 44.3 | 1003 |  |  | 0.88582 | 30 | 29.5275 | 0.56971 | 7.6067 | 0.099131 | 1.3236 | 0.025092 | 0.33503 | 0.12257 | 1.6366 | 0 | 0 |  |  |  | 0 | 0.14138 | 1.8877 | 0.060943 | 0.81371 | 0 | 0 | 3.1189 | 41.6432 |  |  |  | 0.7871 | 1.941 | 2.728 | 0.3101 | 1.515 | 1.825 | 4.1404 | 20.228 | 24.3671
25 | 126.1 | 126.2 | 126.15 | 128.8 | 128.6 | 128.7 | 2550 | NA | 2018-05-21 20:21 | 16h26min | 33.83 | 75.3769 | 30.2 | 37.9 | 1005 |  |  | 0.11857 | 30 | 3.9525 | 0.93771 | 17.8828 | 0.079107 | 1.5086 | 0.039882 | 0.76058 | 0 | 0 | 0.02927 | 0.55819 |  |  |  | 0 | 0 | 0 | 0.18291 | 3.4882 | -0.33708 | 0 | 0.78991 | 15.0641 |  |  |  | 1.765 | 0.3288 | 2.094 | 1.288 | -0.0972 | 1.191 | 24.563 | -1.8537 | 22.7132
26 | 125.4 | 125.5 | 125.45 | 134.2 | 134.2 | 134.2 | 8750 | NA | 2018-05-22 20:25 | 24h00min | 48.54 | 180.2637 | 35 | 43.9 | 1005 |  |  | 0.40687 | 30 | 13.5625 | 0.72201 | 9.5964 | 0.10258 | 1.3635 | 0 | 0 | 0.012781 | 0.16988 | 0 | 0 |  |  |  | 0 | 0.025823 | 0.34322 | 0.094567 | 1.2569 | 0 | 0 | 1.7787 | 23.6411 |  |  |  | 0.8854 | 1.197 | 2.082 | 0.4084 | 0.771 | 1.179 | 5.4282 | 10.2476 | 15.6705
27 | 125.1 | 124.9 | 125 | 129.7 | 129.7 | 129.7 | 4700 | NA | 2018-05-19 19:59 | 24h00min | 49.21 | 95.509 | 30.7 | 39.3 | 1005 |  |  | 0.21855 | 30 | 7.285 | 1.2534 | 16.4325 | 0.057716 | 0.75668 | 0.00072168 | 0.0094614 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0.24352 | 3.1926 | -0.34871 | 0 | 0.83748 | 10.9797 |  |  |  | 0.9542 | 0.531 | 1.485 | 0.4772 | 0.105 | 0.582 | 6.2563 | 1.3766 | 7.6302
28 | 125.9 | 126 | 125.95 | 141 | 141 | 141 | 15050 | NA | 2018-05-24 21:40 | 23h58min | 48.37 | 311.1433 | 34.7 | 43.7 | 1003 |  |  | 0.69982 | 30 | 23.3275 | 1.3403 | 17.8767 | 0.1497 | 1.9967 | 0.0080237 | 0.10702 | 0.077466 | 1.0332 | 0.023381 | 0.31186 |  |  |  | 0 | 0.078298 | 1.0443 | 0.1153 | 1.5379 | 0 | 0 | 2.7994 | 37.3381 |  |  |  | 0.8259 | 1.544 | 2.37 | 0.3489 | 1.118 | 1.467 | 4.6536 | 14.9119 | 19.5669
29 | 125.8 | 125.9 | 125.85 | 144 | 143.1 | 143.55 | 17700 | NA | 2018-05-15 18:40 | 24h00min | 48.54 | 364.6477 | 34.4 | 43.7 | 1003 |  |  | 0.82305 | 30 | 27.435 | 0.86442 | 11.4893 | 0.17545 | 2.332 | 0.073167 | 0.97249 | 0.021416 | 0.28465 | 0.036225 | 0.48147 |  |  |  | 0 | 0.016142 | 0.21455 | 0.050399 | 0.66987 | 0 | 0 | 2.7986 | 37.1969 |  |  |  | 1.282 | 1.793 | 3.075 | 0.805 | 1.367 | 2.172 | 10.6995 | 18.1693 | 28.8688
30 | 124.8 | 124.6 | 124.7 | 135.6 | 136 | 135.8 | 11100 | NA | 2018-05-26 23:12 | 24h00min | 48.35 | 229.576 | 35.2 | 43.9 | 1003 |  |  | 0.51615 | 30 | 17.205 | 0.55843 | 7.4515 | 0.091325 | 1.2186 | 0.041406 | 0.55251 | 0.053688 | 0.71639 | 0.015748 | 0.21013 |  |  |  | 0 | 0.047232 | 0.63025 | 0 | 0 | 0 | 0 | 2.8183 | 37.6068 |  |  |  | 0.6132 | 1.634 | 2.247 | 0.1362 | 1.208 | 1.344 | 1.8174 | 16.119 | 17.9337
1 | [20 empty] | 0.68968 |  | 0.099755 |  | 0.044853 |  | 0 |  | 0 | [5 empty] | 0 |  | 0.047653 |  | 0.061224 |  | 1.8665
2 | [20 empty] | 0.80185 |  | 0.11058 |  | 0.071455 |  | 0 |  | 0.0072269 | [5 empty] | 0 |  | 0.14609 |  | 0.060094 |  | 3.3547
3 | [20 empty] | 0.71398 |  | 0.11055 |  | 0 |  | 0 |  | 0 | [5 empty] | 0 |  | 0.17326 |  | 0 |  | 0.75667
4 | [20 empty] | 0.7737 |  | 0.15162 |  | 0.047461 |  | 0 |  | 0 | [5 empty] | 0 |  | 0.032117 |  | 0 |  | 1.5417
5 | [20 empty] | 0.8657 |  | 0.017631 |  | 0.10779 |  | 0.2048 |  | 0 | [5 empty] | 0.17385 |  | 0.045942 |  | 0 |  | 4.6345
6 | [20 empty] | 1.4731 |  | 0.15173 |  | 0.17472 |  | 0.28978 |  | 0 | [5 empty] | 0.3064 |  | 0.12446 |  | 0 |  | 4.5117
7 | [20 empty] | 0.97047 |  | 0.064996 |  | 0.065252 |  | 0 |  | 0 | [5 empty] | 0 |  | 0.14545 |  | 0 |  | 1.4146
8 | [20 empty] | 0.76074 |  | 0.063924 |  | 0.0087829 |  | 0 |  | 0 | [5 empty] | 0 |  | 0.10414 |  | 0 |  | 1.1743
9 | [20 empty] | 0.56794 |  | 0.044056 |  | 0 |  | 0 |  | 0 | [5 empty] | 0 |  | 0.041121 |  | 0 |  | 1.0629
10 | [20 empty] | 0.73704 |  | 0.044745 |  | 0.067519 |  | 0 |  | 0 | [5 empty] | 0.0056628 |  | 0.14346 |  | 0 |  | 2.3814
11 | [20 empty] | 0.71849 |  | 0.090682 |  | 0.0018569 |  | 0 |  | 0 | [5 empty] | 0.059961 |  | 0.098329 |  | 0 |  | 1.1509
12 | [20 empty] | 0.60885 |  | 0.11484 |  | 0 |  | 0.034396 |  | 0 | [5 empty] | 0.04894 |  | 0.034815 |  | 0 |  | 2.8948
13 | [20 empty] | 0.90893 |  | 0.057664 |  | 0.018412 |  | 0 |  | 0 | [5 empty] | 0 |  | 0.1476 |  | 0 |  | 1.0489
14 | [20 empty] | 0.74888 |  | 0.030587 |  | 0.064396 |  | 0.078865 |  | 0 | [5 empty] | 0.08215 |  | 0.045221 |  | 0 |  | 4.3393
15 | [20 empty] | 1.6104 |  | 0.13567 |  | 0.017704 |  | 0 |  | 0 | [5 empty] | 0.073458 |  | 0.22623 |  | 0 |  | 3.6945
16 | [20 empty] | 0.83819 |  | 0.061016 |  | 0 |  | 0 |  | 0 | [5 empty] | 0 |  | 0.04463 |  | 0 |  | 0.7826
17 | [20 empty] | 1.2627 |  | 0.18591 |  | 0.047531 |  | 0 |  | 0 | [5 empty] | 0.038271 |  | 0.20434 |  | 0 |  | 2.322
18 | [20 empty] | 1.0649 |  | 0.18408 |  | 0.026836 |  | 0.13003 |  | 0.023111 | [5 empty] | 0.18548 |  | 0.13754 |  | 0 |  | 3.1886
19 | [20 empty] | 0.97457 |  | 0.12614 |  | 0.0082401 |  | 0.050786 |  | 0 | [5 empty] | 0.073243 |  | 0.097862 |  | 0 |  | 2.24
20 | [20 empty] | 0.64329 |  | 0.059989 |  | 0.0010287 |  | 0 |  | 0 | [5 empty] | 0 |  | 0.012813 |  | 0 |  | 1.1251
21 | [20 empty] | 1.1045 |  | 0.091493 |  | 0.033836 |  | 0 |  | 0.023722 | [5 empty] | 0 |  | 0.15491 |  | 0 |  | 1.0474
22 | [20 empty] | 1.5189 |  | 0.073262 |  | 0.044877 |  | 0 |  | 0 | [5 empty] | 0.032393 |  | 0.22069 |  | 0 |  | 1.0009
23 | [20 empty] | 0.60798 |  | 0.065148 |  | 0.040922 |  | 0 |  | 0 | [5 empty] | 0 |  | 0.13845 |  | 0 |  | 1.5691
24 | [20 empty] | 0.56971 |  | 0.099131 |  | 0.025092 |  | 0.12257 |  | 0 | [5 empty] | 0.14138 |  | 0.060943 |  | 0 |  | 3.1189
25 | [20 empty] | 0.93771 |  | 0.079107 |  | 0.039882 |  | 0 |  | 0.02927 | [5 empty] | 0 |  | 0.18291 |  | 0 |  | 0.78991
26 | [20 empty] | 0.72201 |  | 0.10258 |  | 0 |  | 0.012781 |  | 0 | [5 empty] | 0.025823 |  | 0.094567 |  | 0 |  | 1.7787
27 | [20 empty] | 1.2534 |  | 0.057716 |  | 0.00072168 |  | 0 |  | 0 | [5 empty] | 0 |  | 0.24352 |  | 0 |  | 0.83748
28 | [20 empty] | 1.3403 |  | 0.1497 |  | 0.0080237 |  | 0.077466 |  | 0.023381 | [5 empty] | 0.078298 |  | 0.1153 |  | 0 |  | 2.7994
29 | [20 empty] | 0.86442 |  | 0.17545 |  | 0.073167 |  | 0.021416 |  | 0.036225 | [5 empty] | 0.016142 |  | 0.050399 |  | 0 |  | 2.7986
30 | [20 empty] | 0.55843 |  | 0.091325 |  | 0.041406 |  | 0.053688 |  | 0.015748 | [5 empty] | 0.047232 |  | 0 |  | 0 |  | 2.8183

## summary_EXPO2020
Date | ION | conc | PM2.5
2018-04-30 08:54 | SO4- | 9.1932 | 176.6529
2018-04-28 08:39 | SO4- | 11.3772 | 310.0946
2018-04-29 08:40 | SO4- | 9.5409 | 74.565
2018-05-02 20:08 | SO4- | 10.187 | 152.0408
2018-05-14 00:20 | SO4- | 25.9292 | 13528.3194
2018-04-26 12:01 | SO4- | 19.4392 | 106.3612
2018-04-27 07:38 | SO4- | 12.7596 | 67.2509
2018-05-03 20:34 | SO4- | 10.0367 | 74.6421
2018-05-04 20:54 | SO4- | 7.5008 | 76.7656
2018-05-05 20:56 | SO4- | 9.6826 | 89.5948
2018-05-17 19:05 | SO4- | 9.5281 | 113.0524
2018-05-13 00:17 | SO4- | 8.1293 | 279.3874
2018-05-06 21:05 | SO4- | 11.9577 | 73.4095
2018-05-10 23:50 | SO4- | 10.0092 | 3974.5183
2018-05-08 23:16 | SO4- | 21.334 | 95.4825
2018-05-07 22:50 | SO4- | 11.061 | 71.5893
2018-05-09 23:34 | SO4- | 16.9159 | 242.9402
2018-05-23 21:29 | SO4- | 14.1803 | 326.1094
2018-05-25 21:54 | SO4- | 12.9962 | 168.458
2018-05-16 19:02 | SO4- | 8.5396 | 159.465
2018-05-18 19:26 | SO4- | 14.5423 | 138.7755
2018-05-20 20:10 | SO4- | 20.0356 | 96.0949
2018-05-12 00:06 | SO4- | 8.0543 | 276.1807
2018-05-27 23:47 | SO4- | 7.6067 | 394.2467
2018-05-21 20:21 | SO4- | 17.8828 | 75.3769
2018-05-22 20:25 | SO4- | 9.5964 | 180.2637
2018-05-19 19:59 | SO4- | 16.4325 | 95.509
2018-05-24 21:40 | SO4- | 17.8767 | 311.1433
2018-05-15 18:40 | SO4- | 11.4893 | 364.6477
2018-05-26 23:12 | SO4- | 7.4515 | 229.576
2018-04-30 08:54 | NO3- | 1.3297
2018-04-28 08:39 | NO3- | 1.5689
2018-04-29 08:40 | NO3- | 1.4773
2018-05-02 20:08 | NO3- | 1.9963
2018-05-14 00:20 | NO3- | 0.52809
2018-04-26 12:01 | NO3- | 2.0022
2018-04-27 07:38 | NO3- | 0.85455
2018-05-03 20:34 | NO3- | 0.84338
2018-05-04 20:54 | NO3- | 0.58184
2018-05-05 20:56 | NO3- | 0.58782
2018-05-17 19:05 | NO3- | 1.2026
2018-05-13 00:17 | NO3- | 1.5334
2018-05-06 21:05 | NO3- | 0.75862
2018-05-10 23:50 | NO3- | 0.40881
2018-05-08 23:16 | NO3- | 1.7973
2018-05-07 22:50 | NO3- | 0.80518
2018-05-09 23:34 | NO3- | 2.4904
2018-05-23 21:29 | NO3- | 2.4512
2018-05-25 21:54 | NO3- | 1.6821
2018-05-16 19:02 | NO3- | 0.79635
2018-05-18 19:26 | NO3- | 1.2046
2018-05-20 20:10 | NO3- | 0.96638
2018-05-12 00:06 | NO3- | 0.86306
2018-05-27 23:47 | NO3- | 1.3236
2018-05-21 20:21 | NO3- | 1.5086
2018-05-22 20:25 | NO3- | 1.3635
2018-05-19 19:59 | NO3- | 0.75668
2018-05-24 21:40 | NO3- | 1.9967
2018-05-15 18:40 | NO3- | 2.332
2018-05-26 23:12 | NO3- | 1.2186
2018-04-30 08:54 | F- | 0.59788
2018-04-28 08:39 | F- | 1.0139
2018-04-29 08:40 | F- | 0
2018-05-02 20:08 | F- | 0.62489
2018-05-14 00:20 | F- | 3.2286
2018-04-26 12:01 | F- | 2.3056
2018-04-27 07:38 | F- | 0.85792
2018-05-03 20:34 | F- | 0.11588
2018-05-04 20:54 | F- | 0
2018-05-05 20:56 | F- | 0.887
2018-05-17 19:05 | F- | 0.024625
2018-05-13 00:17 | F- | 0
2018-05-06 21:05 | F- | 0.24223
2018-05-10 23:50 | F- | 0.86069
2018-05-08 23:16 | F- | 0.23454
2018-05-07 22:50 | F- | 0
2018-05-09 23:34 | F- | 0.63673
2018-05-23 21:29 | F- | 0.35734
2018-05-25 21:54 | F- | 0.10988
2018-05-16 19:02 | F- | 0.013655
2018-05-18 19:26 | F- | 0.4455
2018-05-20 20:10 | F- | 0.59196
2018-05-12 00:06 | F- | 0.54212
2018-05-27 23:47 | F- | 0.33503
2018-05-21 20:21 | F- | 0.76058
2018-05-22 20:25 | F- | 0
2018-05-19 19:59 | F- | 0.0094614
2018-05-24 21:40 | F- | 0.10702
2018-05-15 18:40 | F- | 0.97249
2018-05-26 23:12 | F- | 0.55251
2018-04-30 08:54 | Cl- | 0
2018-04-28 08:39 | Cl- | 0
2018-04-29 08:40 | Cl- | 0
2018-05-02 20:08 | Cl- | 0
2018-05-14 00:20 | Cl- | 6.134
2018-04-26 12:01 | Cl- | 3.824
2018-04-27 07:38 | Cl- | 0
2018-05-03 20:34 | Cl- | 0
2018-05-04 20:54 | Cl- | 0
2018-05-05 20:56 | Cl- | 0
2018-05-17 19:05 | Cl- | 0
2018-05-13 00:17 | Cl- | 0.45925
2018-05-06 21:05 | Cl- | 0
2018-05-10 23:50 | Cl- | 1.0541
2018-05-08 23:16 | Cl- | 0
2018-05-07 22:50 | Cl- | 0
2018-05-09 23:34 | Cl- | 0
2018-05-23 21:29 | Cl- | 1.7315
2018-05-25 21:54 | Cl- | 0.67724
2018-05-16 19:02 | Cl- | 0
2018-05-18 19:26 | Cl- | 0
2018-05-20 20:10 | Cl- | 0
2018-05-12 00:06 | Cl- | 0
2018-05-27 23:47 | Cl- | 1.6366
2018-05-21 20:21 | Cl- | 0
2018-05-22 20:25 | Cl- | 0.16988
2018-05-19 19:59 | Cl- | 0
2018-05-24 21:40 | Cl- | 1.0332
2018-05-15 18:40 | Cl- | 0.28465
2018-05-26 23:12 | Cl- | 0.71639
2018-04-30 08:54 | NO2- | 0
2018-04-28 08:39 | NO2- | 0.10254
2018-04-29 08:40 | NO2- | 0
2018-05-02 20:08 | NO2- | 0
2018-05-14 00:20 | NO2- | 0
2018-04-26 12:01 | NO2- | 0
2018-04-27 07:38 | NO2- | 0
2018-05-03 20:34 | NO2- | 0
2018-05-04 20:54 | NO2- | 0
2018-05-05 20:56 | NO2- | 0
2018-05-17 19:05 | NO2- | 0
2018-05-13 00:17 | NO2- | 0
2018-05-06 21:05 | NO2- | 0
2018-05-10 23:50 | NO2- | 0
2018-05-08 23:16 | NO2- | 0
2018-05-07 22:50 | NO2- | 0
2018-05-09 23:34 | NO2- | 0
2018-05-23 21:29 | NO2- | 0.30775
2018-05-25 21:54 | NO2- | 0
2018-05-16 19:02 | NO2- | 0
2018-05-18 19:26 | NO2- | 0.31234
2018-05-20 20:10 | NO2- | 0
2018-05-12 00:06 | NO2- | 0
2018-05-27 23:47 | NO2- | 0
2018-05-21 20:21 | NO2- | 0.55819
2018-05-22 20:25 | NO2- | 0
2018-05-19 19:59 | NO2- | 0
2018-05-24 21:40 | NO2- | 0.31186
2018-05-15 18:40 | NO2- | 0.48147
2018-05-26 23:12 | NO2- | 0.21013
2018-04-30 08:54 | PO4-
2018-04-28 08:39 | PO4-
2018-04-29 08:40 | PO4-
2018-05-02 20:08 | PO4-
2018-05-14 00:20 | PO4-
2018-04-26 12:01 | PO4-
2018-04-27 07:38 | PO4-
2018-05-03 20:34 | PO4-
2018-05-04 20:54 | PO4-
2018-05-05 20:56 | PO4-
2018-05-17 19:05 | PO4-
2018-05-13 00:17 | PO4-
2018-05-06 21:05 | PO4-
2018-05-10 23:50 | PO4-
2018-05-08 23:16 | PO4-
2018-05-07 22:50 | PO4-
2018-05-09 23:34 | PO4-
2018-05-23 21:29 | PO4-
2018-05-25 21:54 | PO4-
2018-05-16 19:02 | PO4-
2018-05-18 19:26 | PO4-
2018-05-20 20:10 | PO4-
2018-05-12 00:06 | PO4-
2018-05-27 23:47 | PO4-
2018-05-21 20:21 | PO4-
2018-05-22 20:25 | PO4-
2018-05-19 19:59 | PO4-
2018-05-24 21:40 | PO4-
2018-05-15 18:40 | PO4-
2018-05-26 23:12 | PO4-
2018-04-30 08:54 | Na+ | 0
2018-04-28 08:39 | Na+ | 0
2018-04-29 08:40 | Na+ | 0
2018-05-02 20:08 | Na+ | 0
2018-05-14 00:20 | Na+ | 5.2071
2018-04-26 12:01 | Na+ | 4.0432
2018-04-27 07:38 | Na+ | 0
2018-05-03 20:34 | Na+ | 0
2018-05-04 20:54 | Na+ | 0
2018-05-05 20:56 | Na+ | 0.074393
2018-05-17 19:05 | Na+ | 0.79516
2018-05-13 00:17 | Na+ | 0.65344
2018-05-06 21:05 | Na+ | 0
2018-05-10 23:50 | Na+ | 1.098
2018-05-08 23:16 | Na+ | 0.97314
2018-05-07 22:50 | Na+ | 0
2018-05-09 23:34 | Na+ | 0.51269
2018-05-23 21:29 | Na+ | 2.4699
2018-05-25 21:54 | Na+ | 0.97671
2018-05-16 19:02 | Na+ | 0
2018-05-18 19:26 | Na+ | 0
2018-05-20 20:10 | Na+ | 0.42729
2018-05-12 00:06 | Na+ | 0
2018-05-27 23:47 | Na+ | 1.8877
2018-05-21 20:21 | Na+ | 0
2018-05-22 20:25 | Na+ | 0.34322
2018-05-19 19:59 | Na+ | 0
2018-05-24 21:40 | Na+ | 1.0443
2018-05-15 18:40 | Na+ | 0.21455
2018-05-26 23:12 | Na+ | 0.63025
2018-04-30 08:54 | NH4+ | 0.6352
2018-04-28 08:39 | NH4+ | 2.0728
2018-04-29 08:40 | NH4+ | 2.3153
2018-05-02 20:08 | NH4+ | 0.42287
2018-05-14 00:20 | NH4+ | 1.376
2018-04-26 12:01 | NH4+ | 1.6424
2018-04-27 07:38 | NH4+ | 1.9123
2018-05-03 20:34 | NH4+ | 1.3739
2018-05-04 20:54 | NH4+ | 0.54308
2018-05-05 20:56 | NH4+ | 1.8846
2018-05-17 19:05 | NH4+ | 1.304
2018-05-13 00:17 | NH4+ | 0.46484
2018-05-06 21:05 | NH4+ | 1.9418
2018-05-10 23:50 | NH4+ | 0.60441
2018-05-08 23:16 | NH4+ | 2.997
2018-05-07 22:50 | NH4+ | 0.58895
2018-05-09 23:34 | NH4+ | 2.7374
2018-05-23 21:29 | NH4+ | 1.8314
2018-05-25 21:54 | NH4+ | 1.305
2018-05-16 19:02 | NH4+ | 0.17009
2018-05-18 19:26 | NH4+ | 2.0396
2018-05-20 20:10 | NH4+ | 2.9111
2018-05-12 00:06 | NH4+ | 1.8341
2018-05-27 23:47 | NH4+ | 0.81371
2018-05-21 20:21 | NH4+ | 3.4882
2018-05-22 20:25 | NH4+ | 1.2569
2018-05-19 19:59 | NH4+ | 3.1926
2018-05-24 21:40 | NH4+ | 1.5379
2018-05-15 18:40 | NH4+ | 0.66987
2018-05-26 23:12 | NH4+ | 0
2018-04-30 08:54 | K+ | 0.061224
2018-04-28 08:39 | K+ | 0.060094
2018-04-29 08:40 | K+ | 0
2018-05-02 20:08 | K+ | 0
2018-05-14 00:20 | K+ | 0
2018-04-26 12:01 | K+ | 0
2018-04-27 07:38 | K+ | 0
2018-05-03 20:34 | K+ | 0
2018-05-04 20:54 | K+ | 0
2018-05-05 20:56 | K+ | 0
2018-05-17 19:05 | K+ | 0
2018-05-13 00:17 | K+ | 0
2018-05-06 21:05 | K+ | 0
2018-05-10 23:50 | K+ | 0
2018-05-08 23:16 | K+ | 0
2018-05-07 22:50 | K+ | 0
2018-05-09 23:34 | K+ | 0
2018-05-23 21:29 | K+ | 0
2018-05-25 21:54 | K+ | 0
2018-05-16 19:02 | K+ | 0
2018-05-18 19:26 | K+ | 0
2018-05-20 20:10 | K+ | 0
2018-05-12 00:06 | K+ | 0
2018-05-27 23:47 | K+ | 0
2018-05-21 20:21 | K+ | 0
2018-05-22 20:25 | K+ | 0
2018-05-19 19:59 | K+ | 0
2018-05-24 21:40 | K+ | 0
2018-05-15 18:40 | K+ | 0
2018-05-26 23:12 | K+ | 0
2018-04-30 08:54 | Ca+ | 24.8798
2018-04-28 08:39 | Ca+ | 47.5985
2018-04-29 08:40 | Ca+ | 10.1113
2018-05-02 20:08 | Ca+ | 20.2989
2018-05-14 00:20 | Ca+ | 138.8121
2018-04-26 12:01 | Ca+ | 59.5371
2018-04-27 07:38 | Ca+ | 18.5991
2018-05-03 20:34 | Ca+ | 15.4928
2018-05-04 20:54 | Ca+ | 14.0377
2018-05-05 20:56 | Ca+ | 31.2845
2018-05-17 19:05 | Ca+ | 15.2628
2018-05-13 00:17 | Ca+ | 38.651
2018-05-06 21:05 | Ca+ | 13.7995
2018-05-10 23:50 | Ca+ | 57.9977
2018-05-08 23:16 | Ca+ | 48.9432
2018-05-07 22:50 | Ca+ | 10.3274
2018-05-09 23:34 | Ca+ | 31.1054
2018-05-23 21:29 | Ca+ | 42.4601
2018-05-25 21:54 | Ca+ | 29.8714
2018-05-16 19:02 | Ca+ | 14.9358
2018-05-18 19:26 | Ca+ | 13.7912
2018-05-20 20:10 | Ca+ | 13.2025
2018-05-12 00:06 | Ca+ | 20.787
2018-05-27 23:47 | Ca+ | 41.6432
2018-05-21 20:21 | Ca+ | 15.0641
2018-05-22 20:25 | Ca+ | 23.6411
2018-05-19 19:59 | Ca+ | 10.9797
2018-05-24 21:40 | Ca+ | 37.3381
2018-05-15 18:40 | Ca+ | 37.1969
2018-05-26 23:12 | Ca+ | 37.6068
2018-04-30 08:54 | TC | 28.1925
2018-04-28 08:39 | TC | 36.0961
2018-04-29 08:40 | TC | 12.2805
2018-05-02 20:08 | TC | 16.445
2018-05-14 00:20 | TC | 75.2688
2018-04-26 12:01 | TC | 40.8026
2018-04-27 07:38 | TC | 16.2769
2018-05-03 20:34 | TC | 11.2145
2018-05-04 20:54 | TC | 9.3505
2018-05-05 20:56 | TC | 21.6893
2018-05-17 19:05 | TC | 16.192
2018-05-13 00:17 | TC | 33.0725
2018-05-06 21:05 | TC | 8.9065
2018-05-10 23:50 | TC | 33.6548
2018-05-08 23:16 | TC | 25.8197
2018-05-07 22:50 | TC | 11.7182
2018-05-09 23:34 | TC | 23.162
2018-05-23 21:29 | TC | 28.23
2018-05-25 21:54 | TC | 18.8561
2018-05-16 19:02 | TC | 6.7968
2018-05-18 19:26 | TC | 10.4937
2018-05-20 20:10 | TC | 7.3736
2018-05-12 00:06 | TC | 18.9839
2018-05-27 23:47 | TC | 24.3671
2018-05-21 20:21 | TC | 22.7132
2018-05-22 20:25 | TC | 15.6705
2018-05-19 19:59 | TC | 7.6302
2018-05-24 21:40 | TC | 19.5669
2018-05-15 18:40 | TC | 28.8688
2018-05-26 23:12 | TC | 17.9337
2018-04-30 08:54 | Si
2018-04-28 08:39 | Si
2018-04-29 08:40 | Si
2018-05-02 20:08 | Si
2018-05-14 00:20 | Si
2018-04-26 12:01 | Si
2018-04-27 07:38 | Si
2018-05-03 20:34 | Si
2018-05-04 20:54 | Si
2018-05-05 20:56 | Si
2018-05-17 19:05 | Si
2018-05-13 00:17 | Si
2018-05-06 21:05 | Si
2018-05-10 23:50 | Si
2018-05-08 23:16 | Si
2018-05-07 22:50 | Si
2018-05-09 23:34 | Si
2018-05-23 21:29 | Si
2018-05-25 21:54 | Si
2018-05-16 19:02 | Si
2018-05-18 19:26 | Si
2018-05-20 20:10 | Si
2018-05-12 00:06 | Si
2018-05-27 23:47 | Si
2018-05-21 20:21 | Si
2018-05-22 20:25 | Si
2018-05-19 19:59 | Si
2018-05-24 21:40 | Si
2018-05-15 18:40 | Si
2018-05-26 23:12 | Si
2018-04-30 08:54 | Sb
2018-04-28 08:39 | Sb
2018-04-29 08:40 | Sb
2018-05-02 20:08 | Sb
2018-05-14 00:20 | Sb
2018-04-26 12:01 | Sb
2018-04-27 07:38 | Sb
2018-05-03 20:34 | Sb
2018-05-04 20:54 | Sb
2018-05-05 20:56 | Sb
2018-05-17 19:05 | Sb
2018-05-13 00:17 | Sb
2018-05-06 21:05 | Sb
2018-05-10 23:50 | Sb
2018-05-08 23:16 | Sb
2018-05-07 22:50 | Sb
2018-05-09 23:34 | Sb
2018-05-23 21:29 | Sb
2018-05-25 21:54 | Sb
2018-05-16 19:02 | Sb
2018-05-18 19:26 | Sb
2018-05-20 20:10 | Sb
2018-05-12 00:06 | Sb
2018-05-27 23:47 | Sb
2018-05-21 20:21 | Sb
2018-05-22 20:25 | Sb
2018-05-19 19:59 | Sb
2018-05-24 21:40 | Sb
2018-05-15 18:40 | Sb
2018-05-26 23:12 | Sb
2018-04-30 08:54 | Ca+
2018-04-28 08:39 | Ca+
2018-04-29 08:40 | Ca+
2018-05-02 20:08 | Ca+
2018-05-14 00:20 | Ca+
2018-04-26 12:01 | Ca+
2018-04-27 07:38 | Ca+
2018-05-03 20:34 | Ca+
2018-05-04 20:54 | Ca+
2018-05-05 20:56 | Ca+
2018-05-17 19:05 | Ca+
2018-05-13 00:17 | Ca+
2018-05-06 21:05 | Ca+
2018-05-10 23:50 | Ca+
2018-05-08 23:16 | Ca+
2018-05-07 22:50 | Ca+
2018-05-09 23:34 | Ca+
2018-05-23 21:29 | Ca+
2018-05-25 21:54 | Ca+
2018-05-16 19:02 | Ca+
2018-05-18 19:26 | Ca+
2018-05-20 20:10 | Ca+
2018-05-12 00:06 | Ca+
2018-05-27 23:47 | Ca+
2018-05-21 20:21 | Ca+
2018-05-22 20:25 | Ca+
2018-05-19 19:59 | Ca+
2018-05-24 21:40 | Ca+
2018-05-15 18:40 | Ca+
2018-05-26 23:12 | Ca+

## EXPO2020_PMF
Date | SO4 | NO3 | F | Cl (EDX) | NO2 | PO4 | Na (EDX) | NH4 | K (EDX) | Ca (EDX) | OC | EC | Si | Sb | Fe | Ba | Zn | Mg | Al | V | Ni | PM2.5 | sum | unexplained
2018-04-30 08:54 | 9.1932 | 1.3297 | 0.59788 | 1.7665 |  |  | 7.0661 | 0.6352 | 3.5331 | 47.6963 | 25.3799 | 2.7193 | 40.6302 | 10.5992 | 1.7665 | 1.7665 | 1.7665 | 1.7665 | 3.5331 | 1.7665 |  | 176.6529 | 163.5122 | -13.1407
2018-04-28 08:39 | 11.3772 | 1.5689 | 1.0139 | 3.1009 |  |  | 12.4038 | 2.0728 | 12.4038 | 58.918 | 26.6606 | 9.4355 | 52.7161 | 15.5047 | 6.2019 | 3.1009 | 6.2019 | 0 | 6.2019 | 0 |  | 310.0946 | 228.8828 | -81.2118
2018-04-29 08:40 | 9.5409 | 1.4773 | 0 | 0.74565 |  |  | 1.4913 | 2.3153 | 1.4913 | 9.6935 | 11.9197 | 0.35946 | 9.6935 | 0.74565 | 0.74565 | 0.74565 | 0.74565 | 0.74565 | 0 | 0.74565 |  | 74.565 | 53.2016 | -21.3634
2018-05-02 20:08 | 10.187 | 1.9963 | 0.62489 | 1.5204 |  |  | 1.5204 | 0.42287 | 1.5204 | 18.2449 | 14.7597 | 1.6827 | 21.2857 | 3.0408 | 0 | 3.0408 | 1.5204 | 1.5204 | 1.5204 | 1.5204 |  | 152.0408 | 85.9286 | -66.1123
2018-05-14 00:20 | 25.9292 | 0.52809 | 3.2286 | 135.2832 |  |  | 541.1328 | 1.376 | 135.2832 | 4464.3454 | 14.1672 | 61.0717 | 3517.363 | 676.416 | 0 | 270.5664 | 135.2832 | 135.2832 | 270.5664 | 135.2832 |  | 13528.3194 | 10523.1067 | -3005.2127
2018-04-26 12:01 | 19.4392 | 2.0022 | 2.3056 | 1.0636 |  |  | 5.3181 | 1.6424 | 1.0636 | 36.1628 | 28.6885 | 12.1141 | 26.5903 | 5.3181 | 1.0636 | 2.1272 | 2.1272 | 1.0636 | 2.1272 | 1.0636 |  | 106.3612 | 151.281 | 44.9197
2018-04-27 07:38 | 12.7596 | 0.85455 | 0.85792 | 0.67251 |  |  | 3.3625 | 1.9123 | 0 | 32.9529 | 11.9119 | 4.3743 | 25.5553 | 5.3801 | 0.67251 | 1.345 | 1.345 | 0.67251 | 2.69 | 0.67251 |  | 67.2509 | 107.9914 | 40.7406
2018-05-03 20:34 | 10.0367 | 0.84338 | 0.11588 | 0.74642 |  |  | 1.4928 | 1.3739 | 0.74642 | 14.182 | 11.0298 | 0.19131 | 12.6892 | 1.4928 | 0 | 1.4928 | 0.74642 | 0.74642 | 1.4928 | 0.74642 |  | 74.6421 | 60.1656 | -14.4765
2018-05-04 20:54 | 7.5008 | 0.58184 | 0 | 0 |  |  | 2.303 | 0.54308 | 0 | 3.0706 | 6.0541 | 3.2925 | 13.8178 | 1.5353 | 0 | 1.5353 | 0.76766 | 0.76766 | 2.303 | 0.76766 |  | 76.7656 | 44.8403 | -31.9253
2018-05-05 20:56 | 9.6826 | 0.58782 | 0.887 | 0.89595 |  |  | 2.6878 | 1.8846 | 2.6878 | 8.9595 | 7.9611 | 13.7282 | 9.8554 | 0.89595 | 0.89595 | 0.89595 | 0.89595 | 0.89595 | 0.89595 | 0 |  | 89.5948 | 65.1935 | -24.4013
2018-05-17 19:05 | 9.5281 | 1.2026 | 0.024625 | 1.1305 |  |  | 3.3916 | 1.304 | 1.1305 | 16.9579 | 10.6753 | 5.522 | 21.48 | 13.5663 | 1.1305 | 1.1305 | 1.1305 | 2.261 | 2.261 | 1.1305 |  | 113.0524 | 94.9575 | -18.0949
2018-05-13 00:17 | 8.1293 | 1.5334 | 0 | 2.7939 |  |  | 5.5877 | 0.46484 | 2.7939 | 41.9081 | 14.6069 | 18.4656 | 44.702 | 19.5571 | 0 | 5.5877 | 2.7939 | 5.5877 | 2.7939 | 2.7939 |  | 279.3874 | 180.0999 | -99.2875
2018-05-06 21:05 | 11.9577 | 0.75862 | 0.24223 | 0.73409 |  |  | 2.2023 | 1.9418 | 0 | 11.0114 | 5.6465 | 3.2574 | 11.7455 | 5.8728 | 0 | 0.73409 | 0.73409 | 0.73409 | 0.73409 | 0.73409 |  | 73.4095 | 59.0407 | -14.3688
2018-05-10 23:50 | 10.0092 | 0.40881 | 0.86069 | 39.7452 |  |  | 158.9807 | 0.60441 | 79.4904 | 1271.8459 | 4.8517 | 40.0302 | 1232.1007 | 675.6681 | 0 | 119.2356 | 79.4904 | 39.7452 | 119.2356 | 39.7452 |  | 3974.5183 | 3912.0479 | -62.4704
2018-05-08 23:16 | 21.334 | 1.7973 | 0.23454 | 0.95483 |  |  | 1.9097 | 2.997 | 0.95483 | 18.1417 | 5.3494 | 20.4676 | 18.1417 | 8.5934 | 0 | 1.9097 | 1.9097 | 0.95483 | 1.9097 | 0.95483 |  | 95.4825 | 108.5146 | 13.0321
2018-05-07 22:50 | 11.061 | 0.80518 | 0 | 1.4318 |  |  | 2.1477 | 0.58895 | 0 | 12.8861 | 13.1302 | 1.41 | 15.7496 | 10.0225 | 0 | 1.4318 | 1.4318 | 0.71589 | 0.71589 | 0.71589 |  | 71.5893 | 74.2442 | 2.6549
2018-05-09 23:34 | 16.9159 | 2.4904 | 0.63673 | 2.4294 |  |  | 9.7176 | 2.7374 | 2.4294 | 55.8762 | 9.9802 | 13.1953 | 60.735 | 26.7234 | 2.4294 | 9.7176 | 4.8588 | 4.8588 | 4.8588 | 2.4294 |  | 242.9402 | 233.0198 | -9.9204
2018-05-23 21:29 | 14.1803 | 2.4512 | 0.35734 | 3.2611 |  |  | 0 | 1.8314 | 6.5222 | 22.8277 | 6.0188 | 22.2111 | 22.8277 | 6.5222 | 0 | 13.0444 | 3.2611 | 3.2611 | 3.2611 | 3.2611 |  | 326.1094 | 135.0998 | -191.0096
2018-05-25 21:54 | 12.9962 | 1.6821 | 0.10988 | 1.6846 |  |  | 1.6846 | 1.305 | 3.3692 | 18.5304 | 7.5078 | 11.3617 | 20.215 | 5.0537 | 0 | 6.7383 | 1.6846 | 1.6846 | 1.6846 | 1.6846 |  | 168.458 | 98.9766 | -69.4814
2018-05-16 19:02 | 8.5396 | 0.79635 | 0.013655 | 0 |  |  | 0 | 0.17009 | 3.1893 | 11.1626 | 2.2766 | 4.5135 | 9.5679 | 3.1893 | 0 | 6.3786 | 1.5947 | 1.5947 | 0 | 1.5947 |  | 159.465 | 54.5814 | -104.8836
2018-05-18 19:26 | 14.5423 | 1.2046 | 0.4455 | 1.3878 |  |  | 1.3878 | 2.0396 | 5.551 | 11.102 | 8.8084 | 1.6853 | 13.8776 | 5.551 | 1.3878 | 1.3878 | 1.3878 | 0 | 1.3878 | 0 |  | 138.7755 | 73.134 | -65.6415
2018-05-20 20:10 | 20.0356 | 0.96638 | 0.59196 | 0 |  |  | 0.96095 | 2.9111 | 2.8828 | 6.7266 | 4.7434 | 2.6342 | 4.8047 | 1.9219 | 0 | 0 | 0 | 0 | 0.96095 | 0 |  | 96.0949 | 50.1407 | -45.9542
2018-05-12 00:06 | 8.0543 | 0.86306 | 0.54212 | 2.7618 |  |  | 5.5236 | 1.8341 | 5.5236 | 27.6181 | 8.5977 | 10.3862 | 24.8563 | 8.2854 | 2.7618 | 2.7618 | 2.7618 | 2.7618 | 0 | 2.7618 |  | 276.1807 | 118.6553 | -157.5254
2018-05-27 23:47 | 7.6067 | 1.3236 | 0.33503 | 7.8849 |  |  | 11.8274 | 0.81371 | 7.8849 | 98.5617 | 4.1404 | 20.228 | 90.6767 | 43.3671 | 3.9425 | 3.9425 | 3.9425 | 3.9425 | 11.8274 | 3.9425 |  | 394.2467 | 326.19 | -68.0567
2018-05-21 20:21 | 17.8828 | 1.5086 | 0.76058 | 1.5075 |  |  | 3.0151 | 3.4882 | 0.75377 | 20.3518 | 24.563 | 1.86 | 18.8442 | 6.7839 | 0.75377 | 1.5075 | 0.75377 | 1.5075 | 1.5075 | 0.75377 |  | 75.3769 | 108.1035 | 32.7266
2018-05-22 20:25 | 9.5964 | 1.3635 | 0 | 1.8026 |  |  | 0 | 1.2569 | 3.6053 | 9.0132 | 5.4282 | 10.2476 | 5.4079 | 1.8026 | 0 | 5.4079 | 1.8026 | 1.8026 | 0 | 1.8026 |  | 180.2637 | 60.3401 | -119.9236
2018-05-19 19:59 | 16.4325 | 0.75668 | 0.0094614 | 1.9102 |  |  | 0.95509 | 3.1926 | 0.95509 | 14.3264 | 6.2563 | 1.3766 | 15.2814 | 3.8204 | 0 | 1.9102 | 0.95509 | 1.9102 | 0.95509 | 0.95509 |  | 95.509 | 71.9582 | -23.5508
2018-05-24 21:40 | 17.8767 | 1.9967 | 0.10702 | 6.2229 |  |  | 6.2229 | 1.5379 | 0 | 59.1172 | 4.6536 | 14.9119 | 65.3401 | 18.6686 | 0 | 9.3343 | 6.2229 | 3.1114 | 0 | 3.1114 |  | 311.1433 | 218.4356 | -92.7077
2018-05-15 18:40 | 11.4893 | 2.332 | 0.97249 | 3.6465 |  |  | 7.293 | 0.66987 | 7.293 | 40.1112 | 10.6995 | 18.1693 | 32.8183 | 10.9394 | 3.6465 | 14.5859 | 3.6465 | 7.293 | 0 | 3.6465 |  | 364.6477 | 179.2521 | -185.3956
2018-05-26 23:12 | 7.4515 | 1.2186 | 0.55251 | 4.5915 |  |  | 9.183 | 0 | 4.5915 | 52.8025 | 1.8174 | 16.119 | 52.8025 | 27.5491 | 2.2958 | 2.2958 | 0 | 2.2958 | 4.5915 | 2.2958 |  | 229.576 | 192.4538 | -37.1222
mass | 12.7089 | 1.3077 | 0.5476 | 7.7225 |  |  | 33.5771 | 1.5178 | 11.8507 | 217.1701 | 10.6095 | 11.5674 | 183.739 | 54.1462 | 0.9898 | 16.522 | 9.0587 | 7.6495 | 15.0005 | 7.2293 |  | 602.9143
% | 2.1079 | 0.21689 | 0.090825 | 1.2809 |  |  | 5.5691 | 0.25174 | 1.9656 | 36.0201 | 1.7597 | 1.9186 | 30.4752 | 8.9808 | 0.16417 | 2.7403 | 1.5025 | 1.2688 | 2.488 | 1.1991 |  | 100

## UNC_EXPO2020_PMF
Date | SO4 | NO3 | F | Cl (EDX) | NO2 | PO4 | Na (EDX) | NH4 | K (EDX) | Ca (EDX) | OC | EC | Si | Sb | Fe | Ba | Zn | Mg | Al | V | Ni | PM2.5
MDL | 0.04 | 0.04 | 0.02 | 0.05 |  |  | 0.06 | 0.07 | 0.15 | 0.0288 | 0.25 | 0.25 | 5 | 0.9 | 0.7 | 0.7 | 0.7 | 0.67 | 0.9 | 0.7 | 0.7 | 2.1
Err_Fraction | 0.068 | 0.09 | 0.22 | 0.16 |  |  | 0.15 | 0.2 | 0.1 | 0.05 | 0.4 | 0.4 | 0.07 | 0.3 | 0.25 | 0.015 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.1
2018-04-30 08:54 | 0.64094 | 0.18526 | 0.16523 | 0.32386 |  |  | 1.074 | 0.22614 | 0.44702 | 2.3878 | 10.1581 | 1.1437 | 3.2541 | 3.2497 | 0.73827 | 0.5922 | 1.0631 | 1.056 | 1.8896 | 1.0631 |  | 17.695
2018-04-28 08:39 | 0.78647 | 0.19985 | 0.24444 | 0.52074 |  |  | 1.8686 | 0.45482 | 1.2703 | 2.9483 | 10.6701 | 3.7907 | 4.0146 | 4.6995 | 1.6595 | 0.59888 | 3.1569 | 0.57879 | 3.1727 | 0.59161 |  | 31.0264
2018-04-29 08:40 | 0.66401 | 0.19411 | 0.1 | 0.19807 |  |  | 0.28291 | 0.49942 | 0.31183 | 0.49931 | 4.781 | 0.38167 | 1.7206 | 0.70713 | 0.62028 | 0.59171 | 0.69928 | 0.68848 | 0.67082 | 0.69928 |  | 7.5266
2018-05-02 20:08 | 0.707 | 0.22865 | 0.17 | 0.29013 |  |  | 0.28638 | 0.20531 | 0.31324 | 0.9201 | 5.9145 | 0.76028 | 2.1726 | 1.1323 | 0.59161 | 0.59161 | 0.96328 | 0.95546 | 1.0139 | 0.96328 |  | 15.2386
2018-05-14 00:20 | 1.7689 | 0.14919 | 0.71729 | 21.6459 |  |  | 81.1701 | 0.33278 | 13.5311 | 223.2173 | 5.6779 | 24.4312 | 246.2205 | 202.9259 | 0.59161 | 0.59161 | 67.6442 | 67.6441 | 135.2849 | 67.6442 |  | 1352.8323
2018-04-26 12:01 | 1.3294 | 0.22907 | 0.51699 | 0.23229 |  |  | 0.8163 | 0.37801 | 0.29379 | 1.8121 | 11.4808 | 4.8585 | 2.4422 | 1.7307 | 0.64862 | 0.59182 | 1.2171 | 0.78601 | 1.2575 | 0.7955 |  | 10.6854
2018-04-27 07:38 | 0.8791 | 0.16098 | 0.2136 | 0.19125 |  |  | 0.53329 | 0.42576 | 0.27386 | 1.652 | 4.7779 | 1.7851 | 2.3875 | 1.7479 | 0.61503 | 0.59169 | 0.89569 | 0.66938 | 1.503 | 0.68049 |  | 6.8027
2018-05-03 20:34 | 0.697 | 0.1605 | 0.1032 | 0.19815 |  |  | 0.2831 | 0.33242 | 0.28385 | 0.71918 | 4.426 | 0.36174 | 1.8136 | 0.80658 | 0.59161 | 0.59161 | 0.69949 | 0.68868 | 1.0036 | 0.69949 |  | 7.5342
2018-05-04 20:54 | 0.5293 | 0.15081 | 0.1 | 0.15811 |  |  | 0.38644 | 0.21633 | 0.27386 | 0.19486 | 2.4473 | 1.3636 | 1.8535 | 0.81372 | 0.59161 | 0.59161 | 0.70521 | 0.6945 | 1.3326 | 0.70521 |  | 7.7446
2018-05-05 20:56 | 0.67343 | 0.15099 | 0.21927 | 0.21342 |  |  | 0.43881 | 0.4208 | 0.38373 | 0.46377 | 3.204 | 5.5027 | 1.7251 | 0.72267 | 0.63259 | 0.59176 | 0.74208 | 0.7319 | 0.80665 | 0.59161 |  | 9.0179
2018-05-17 19:05 | 0.66317 | 0.17808 | 0.10015 | 0.24025 |  |  | 0.53741 | 0.32096 | 0.29628 | 0.85634 | 4.2847 | 2.2369 | 2.1819 | 4.1248 | 0.65565 | 0.59185 | 0.81824 | 1.2701 | 1.3146 | 0.81824 |  | 11.3516
2018-05-13 00:17 | 0.5706 | 0.1976 | 0.1 | 0.47416 |  |  | 0.85587 | 0.20891 | 0.39123 | 2.0988 | 5.8535 | 7.3947 | 3.5059 | 5.9054 | 0.59161 | 0.59161 | 1.517 | 2.8532 | 1.5497 | 1.517 |  | 27.9575
2018-05-06 21:05 | 0.82533 | 0.15704 | 0.11331 | 0.19697 |  |  | 0.373 | 0.43107 | 0.27386 | 0.5635 | 2.2861 | 1.3501 | 1.7821 | 1.8852 | 0.59161 | 0.59161 | 0.69622 | 0.68536 | 0.76467 | 0.69622 |  | 7.4121
2018-05-10 23:50 | 0.69517 | 0.14613 | 0.21414 | 6.3612 |  |  | 23.8477 | 0.22274 | 7.9538 | 63.5924 | 1.9726 | 16.016 | 86.2615 | 202.7015 | 0.59161 | 0.59161 | 39.7496 | 19.881 | 59.6215 | 19.8814 |  | 397.4532
2018-05-08 23:16 | 1.4576 | 0.21486 | 0.11253 | 0.21986 |  |  | 0.33474 | 0.62793 | 0.29003 | 0.91499 | 2.1688 | 8.1947 | 2.028 | 2.6639 | 0.59161 | 0.59161 | 1.1233 | 0.75028 | 1.1669 | 0.76021 |  | 9.6031
2018-05-07 22:50 | 0.76533 | 0.15891 | 0.1 | 0.27835 |  |  | 0.36576 | 0.22108 | 0.27386 | 0.65538 | 5.264 | 0.66565 | 1.9276 | 3.0807 | 0.59161 | 0.59161 | 0.92871 | 0.68053 | 0.76035 | 0.69147 |  | 7.2319
2018-05-09 23:34 | 1.1589 | 0.26503 | 0.17211 | 0.41963 |  |  | 1.4679 | 0.57856 | 0.36609 | 2.7964 | 4.0077 | 5.2899 | 4.536 | 8.045 | 0.84786 | 0.59273 | 2.5004 | 2.4974 | 2.5203 | 1.3511 |  | 24.3156
2018-05-23 21:29 | 0.97458 | 0.26205 | 0.1272 | 0.54521 |  |  | 0.17321 | 0.4113 | 0.70738 | 1.1477 | 2.4334 | 8.8915 | 2.248 | 2.0685 | 0.59161 | 0.59161 | 1.7346 | 1.7302 | 1.7631 | 1.7346 |  | 32.627
2018-05-25 21:54 | 0.89498 | 0.20717 | 0.10288 | 0.31249 |  |  | 0.30635 | 0.32113 | 0.43418 | 0.93426 | 3.0238 | 4.5584 | 2.1219 | 1.6579 | 0.59161 | 0.59161 | 1.0293 | 1.022 | 1.0768 | 1.0293 |  | 16.8769
2018-05-16 19:02 | 0.59766 | 0.15855 | 0.10005 | 0.15811 |  |  | 0.17321 | 0.19015 | 0.42038 | 0.57088 | 0.97688 | 1.8397 | 1.7171 | 1.1685 | 0.59161 | 0.59161 | 0.99284 | 0.98525 | 0.67082 | 0.99284 |  | 15.9794
2018-05-18 19:26 | 0.99894 | 0.1782 | 0.14002 | 0.27258 |  |  | 0.2708 | 0.44878 | 0.61898 | 0.56792 | 3.5411 | 0.76121 | 1.8557 | 1.7953 | 0.68583 | 0.59197 | 0.91185 | 0.57879 | 0.96512 | 0.59161 |  | 13.9153
2018-05-20 20:10 | 1.3697 | 0.16603 | 0.16419 | 0.15811 |  |  | 0.22534 | 0.61155 | 0.39763 | 0.3571 | 1.93 | 1.1114 | 1.6165 | 0.88455 | 0.59161 | 0.59161 | 0.59161 | 0.57879 | 0.82514 | 0.59161 |  | 9.664
2018-05-12 00:06 | 0.56565 | 0.16135 | 0.15564 | 0.46933 |  |  | 0.84645 | 0.41177 | 0.61653 | 1.3861 | 3.4572 | 4.1695 | 2.351 | 2.5746 | 0.90924 | 0.59306 | 1.5023 | 1.4973 | 0.67082 | 1.5023 |  | 27.6371
2018-05-27 23:47 | 0.53624 | 0.18491 | 0.12423 | 1.2715 |  |  | 1.7825 | 0.24796 | 0.8347 | 4.9295 | 1.6935 | 8.0989 | 6.5413 | 13.0274 | 1.1495 | 0.59456 | 2.0581 | 2.0544 | 5.9516 | 2.0581 |  | 39.438
2018-05-21 20:21 | 1.2242 | 0.19605 | 0.19493 | 0.28841 |  |  | 0.48429 | 0.72229 | 0.28405 | 1.0246 | 9.8316 | 0.82373 | 2.0591 | 2.1429 | 0.62089 | 0.59172 | 0.70146 | 0.95035 | 1.009 | 0.70146 |  | 7.607
2018-05-22 20:25 | 0.66771 | 0.18724 | 0.1 | 0.32892 |  |  | 0.17321 | 0.31336 | 0.45275 | 0.46636 | 2.1999 | 4.1143 | 1.6258 | 0.86166 | 0.59161 | 0.59161 | 1.0781 | 1.0712 | 0.67082 | 1.0781 |  | 18.0555
2018-05-19 19:59 | 1.1263 | 0.15696 | 0.10002 | 0.34411 |  |  | 0.22478 | 0.66536 | 0.29004 | 0.7263 | 2.5274 | 0.65437 | 1.909 | 1.328 | 0.59161 | 0.59161 | 0.7603 | 1.1168 | 0.82344 | 0.7603 |  | 9.6057
2018-05-24 21:40 | 1.2238 | 0.22867 | 0.10273 | 1.0081 |  |  | 0.94936 | 0.36001 | 0.27386 | 2.9583 | 1.8947 | 5.9752 | 4.8394 | 5.6406 | 0.59161 | 0.59161 | 3.1672 | 1.6599 | 0.67082 | 1.6644 |  | 31.1312
2018-05-15 18:40 | 0.79397 | 0.25308 | 0.23616 | 0.60448 |  |  | 1.1076 | 0.23011 | 0.77902 | 2.0091 | 4.2944 | 7.2763 | 2.7888 | 3.3497 | 1.0868 | 0.59413 | 1.9168 | 3.6921 | 0.67082 | 1.9168 |  | 36.4792
2018-05-26 23:12 | 0.52607 | 0.17897 | 0.1574 | 0.75147 |  |  | 1.3883 | 0.18708 | 0.53462 | 2.6428 | 0.80837 | 6.4573 | 4.0202 | 8.2919 | 0.82426 | 0.59261 | 0.59161 | 1.2855 | 2.3918 | 1.2914 |  | 22.9805

## conc_EXPO2020_EPA_PMF
Date | SO4 | NO3 | F | Cl (EDX) | NO2 | PO4 | Na (EDX) | NH4 | K (EDX) | Ca (EDX) | OC | EC | Si | Sb | Fe | Ba | Zn | Mg | Al | V | Ni | PM2.5
2018-04-30 08:54 | 9.1932 | 1.3297 | 0.59788 | 1.7665 | -999 |  | 7.0661 | 0.6352 | 3.5331 | 47.6963 | 25.3799 | 2.7193 | 40.6302 | 10.5992 | 1.7665 | 1.7665 | 1.7665 | 1.7665 | 3.5331 | 1.7665 | -999 | 176.6529
2018-04-28 08:39 | 11.3772 | 1.5689 | 1.0139 | 3.1009 | -999 |  | 12.4038 | 2.0728 | 12.4038 | 58.918 | 26.6606 | 9.4355 | 52.7161 | 15.5047 | 6.2019 | 3.1009 | 6.2019 | -999 | 6.2019 | -999 | -999 | 310.0946
2018-04-29 08:40 | 9.5409 | 1.4773 | -999 | 0.74565 | -999 |  | 1.4913 | 2.3153 | 1.4913 | 9.6935 | 11.9197 | 0.35946 | 9.6935 | 0.74565 | 0.74565 | 0.74565 | 0.74565 | 0.74565 | -999 | 0.74565 | -999 | 74.565
2018-05-02 20:08 | 10.187 | 1.9963 | 0.62489 | 1.5204 | -999 |  | 1.5204 | 0.42287 | 1.5204 | 18.2449 | 14.7597 | 1.6827 | 21.2857 | 3.0408 | -999 | 3.0408 | 1.5204 | 1.5204 | 1.5204 | 1.5204 | -999 | 152.0408
2018-05-14 00:20 | 25.9292 | 0.52809 | 3.2286 | 135.2832 | -999 |  | 541.1328 | 1.376 | 135.2832 | 4464.3454 | 14.1672 | 61.0717 | 3517.363 | 676.416 | -999 | 270.5664 | 135.2832 | 135.2832 | 270.5664 | 135.2832 | -999 | 13528.3194
2018-04-26 12:01 | 19.4392 | 2.0022 | 2.3056 | 1.0636 | -999 |  | 5.3181 | 1.6424 | 1.0636 | 36.1628 | 28.6885 | 12.1141 | 26.5903 | 5.3181 | 1.0636 | 2.1272 | 2.1272 | 1.0636 | 2.1272 | 1.0636 | -999 | 106.3612
2018-04-27 07:38 | 12.7596 | 0.85455 | 0.85792 | 0.67251 | -999 |  | 3.3625 | 1.9123 | -999 | 32.9529 | 11.9119 | 4.3743 | 25.5553 | 5.3801 | 0.67251 | 1.345 | 1.345 | 0.67251 | 2.69 | 0.67251 | -999 | 67.2509
2018-05-03 20:34 | 10.0367 | 0.84338 | 0.11588 | 0.74642 | -999 |  | 1.4928 | 1.3739 | 0.74642 | 14.182 | 11.0298 | 0.19131 | 12.6892 | 1.4928 | -999 | 1.4928 | 0.74642 | 0.74642 | 1.4928 | 0.74642 | -999 | 74.6421
2018-05-04 20:54 | 7.5008 | 0.58184 | -999 | -999 | -999 |  | 2.303 | 0.54308 | -999 | 3.0706 | 6.0541 | 3.2925 | 13.8178 | 1.5353 | -999 | 1.5353 | 0.76766 | 0.76766 | 2.303 | 0.76766 | -999 | 76.7656
2018-05-05 20:56 | 9.6826 | 0.58782 | 0.887 | 0.89595 | -999 |  | 2.6878 | 1.8846 | 2.6878 | 8.9595 | 7.9611 | 13.7282 | 9.8554 | 0.89595 | 0.89595 | 0.89595 | 0.89595 | 0.89595 | 0.89595 | -999 | -999 | 89.5948
2018-05-17 19:05 | 9.5281 | 1.2026 | 0.024625 | 1.1305 | -999 |  | 3.3916 | 1.304 | 1.1305 | 16.9579 | 10.6753 | 5.522 | 21.48 | 13.5663 | 1.1305 | 1.1305 | 1.1305 | 2.261 | 2.261 | 1.1305 | -999 | 113.0524
2018-05-13 00:17 | 8.1293 | 1.5334 | -999 | 2.7939 | -999 |  | 5.5877 | 0.46484 | 2.7939 | 41.9081 | 14.6069 | 18.4656 | 44.702 | 19.5571 | -999 | 5.5877 | 2.7939 | 5.5877 | 2.7939 | 2.7939 | -999 | 279.3874
2018-05-06 21:05 | 11.9577 | 0.75862 | 0.24223 | 0.73409 | -999 |  | 2.2023 | 1.9418 | -999 | 11.0114 | 5.6465 | 3.2574 | 11.7455 | 5.8728 | -999 | 0.73409 | 0.73409 | 0.73409 | 0.73409 | 0.73409 | -999 | 73.4095
2018-05-10 23:50 | 10.0092 | 0.40881 | 0.86069 | 39.7452 | -999 |  | 158.9807 | 0.60441 | 79.4904 | 1271.8459 | 4.8517 | 40.0302 | 1232.1007 | 675.6681 | -999 | 119.2356 | 79.4904 | 39.7452 | 119.2356 | 39.7452 | -999 | 3974.5183
2018-05-08 23:16 | 21.334 | 1.7973 | 0.23454 | 0.95483 | -999 |  | 1.9097 | 2.997 | 0.95483 | 18.1417 | 5.3494 | 20.4676 | 18.1417 | 8.5934 | -999 | 1.9097 | 1.9097 | 0.95483 | 1.9097 | 0.95483 | -999 | 95.4825
2018-05-07 22:50 | 11.061 | 0.80518 | -999 | 1.4318 | -999 |  | 2.1477 | 0.58895 | -999 | 12.8861 | 13.1302 | 1.41 | 15.7496 | 10.0225 | -999 | 1.4318 | 1.4318 | 0.71589 | 0.71589 | 0.71589 | -999 | 71.5893
2018-05-09 23:34 | 16.9159 | 2.4904 | 0.63673 | 2.4294 | -999 |  | 9.7176 | 2.7374 | 2.4294 | 55.8762 | 9.9802 | 13.1953 | 60.735 | 26.7234 | 2.4294 | 9.7176 | 4.8588 | 4.8588 | 4.8588 | 2.4294 | -999 | 242.9402
2018-05-23 21:29 | 14.1803 | 2.4512 | 0.35734 | 3.2611 | -999 |  | -999 | 1.8314 | 6.5222 | 22.8277 | 6.0188 | 22.2111 | 22.8277 | 6.5222 | -999 | 13.0444 | 3.2611 | 3.2611 | 3.2611 | 3.2611 | -999 | 326.1094
2018-05-25 21:54 | 12.9962 | 1.6821 | 0.10988 | 1.6846 | -999 |  | 1.6846 | 1.305 | 3.3692 | 18.5304 | 7.5078 | 11.3617 | 20.215 | 5.0537 | -999 | 6.7383 | 1.6846 | 1.6846 | 1.6846 | 1.6846 | -999 | 168.458
2018-05-16 19:02 | 8.5396 | 0.79635 | 0.013655 | -999 | -999 |  | -999 | 0.17009 | 3.1893 | 11.1626 | 2.2766 | 4.5135 | 9.5679 | 3.1893 | -999 | 6.3786 | 1.5947 | 1.5947 | -999 | 1.5947 | -999 | 159.465
2018-05-18 19:26 | 14.5423 | 1.2046 | 0.4455 | 1.3878 | -999 |  | 1.3878 | 2.0396 | 5.551 | 11.102 | 8.8084 | 1.6853 | 13.8776 | 5.551 | 1.3878 | 1.3878 | 1.3878 | -999 | 1.3878 | -999 | -999 | 138.7755
2018-05-20 20:10 | 20.0356 | 0.96638 | 0.59196 | -999 | -999 |  | 0.96095 | 2.9111 | 2.8828 | 6.7266 | 4.7434 | 2.6342 | 4.8047 | 1.9219 | -999 | -999 | -999 | -999 | 0.96095 | -999 | -999 | 96.0949
2018-05-12 00:06 | 8.0543 | 0.86306 | 0.54212 | 2.7618 | -999 |  | 5.5236 | 1.8341 | 5.5236 | 27.6181 | 8.5977 | 10.3862 | 24.8563 | 8.2854 | 2.7618 | 2.7618 | 2.7618 | 2.7618 | -999 | 2.7618 | -999 | 276.1807
2018-05-27 23:47 | 7.6067 | 1.3236 | 0.33503 | 7.8849 | -999 |  | 11.8274 | 0.81371 | 7.8849 | 98.5617 | 4.1404 | 20.228 | 90.6767 | 43.3671 | 3.9425 | 3.9425 | 3.9425 | 3.9425 | 11.8274 | 3.9425 | -999 | 394.2467
2018-05-21 20:21 | 17.8828 | 1.5086 | 0.76058 | 1.5075 | -999 |  | 3.0151 | 3.4882 | 0.75377 | 20.3518 | 24.563 | 1.86 | 18.8442 | 6.7839 | 0.75377 | 1.5075 | 0.75377 | 1.5075 | 1.5075 | 0.75377 | -999 | 75.3769
2018-05-22 20:25 | 9.5964 | 1.3635 | -999 | 1.8026 | -999 |  | -999 | 1.2569 | 3.6053 | 9.0132 | 5.4282 | 10.2476 | 5.4079 | 1.8026 | -999 | 5.4079 | 1.8026 | 1.8026 | -999 | 1.8026 | -999 | 180.2637
2018-05-19 19:59 | 16.4325 | 0.75668 | 0.0094614 | 1.9102 | -999 |  | 0.95509 | 3.1926 | 0.95509 | 14.3264 | 6.2563 | 1.3766 | 15.2814 | 3.8204 | -999 | 1.9102 | 0.95509 | 1.9102 | 0.95509 | 0.95509 | -999 | 95.509
2018-05-24 21:40 | 17.8767 | 1.9967 | 0.10702 | 6.2229 | -999 |  | 6.2229 | 1.5379 | -999 | 59.1172 | 4.6536 | 14.9119 | 65.3401 | 18.6686 | -999 | 9.3343 | 6.2229 | 3.1114 | -999 | 3.1114 | -999 | 311.1433
2018-05-15 18:40 | 11.4893 | 2.332 | 0.97249 | 3.6465 | -999 |  | 7.293 | 0.66987 | 7.293 | 40.1112 | 10.6995 | 18.1693 | 32.8183 | 10.9394 | 3.6465 | 14.5859 | 3.6465 | 7.293 | -999 | 3.6465 | -999 | 364.6477
2018-05-26 23:12 | 7.4515 | 1.2186 | 0.55251 | 4.5915 | -999 |  | 9.183 | 0 | 4.5915 | 52.8025 | 1.8174 | 16.119 | 52.8025 | 27.5491 | 2.2958 | 2.2958 | -999 | 2.2958 | 4.5915 | 2.2958 | -999 | 229.576

## UNC_EXPO2020_EPA_PMF
Date | SO4 | NO3 | F | Cl | NO2 | PO4 | Na (EDX) | NH4 | K (EDX) | Ca (EDX) | OC | EC | Si | Sb | Fe | Ba | Zn | Mg | Al | V | Ni | PM2.5
MDL | 0.04 | 0.04 | 0.02 | 0.05 |  |  | 0.06 | 0.07 | 0.15 | 0.0288 | 0.25 | 0.25 | 5 | 0.9 | 0.7 | 0.7 | 0.7 | 0.67 | 0.9 | 0.7 | 0 | 2.1
Err_Fraction | 0.068 | 0.09 | 0.22 | 0.16 |  |  | 0.15 | 0.2 | 0.1 | 0.1 | 0.4 | 0.4 | 0.1 | 0.1 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.1
2018-04-30 08:54 | 0.64094 | 0.18526 | 0.16523 | 0.32386 |  |  | 1.074 | 0.22614 | 0.44702 | 4.7711 | 10.1581 | 1.1437 | 4.3598 | 1.2544 | 0.73827 | 0.73827 | 0.73827 | 0.72804 | 1.1091 | 0.73827 | -999 | 17.695
2018-04-28 08:39 | 0.78647 | 0.19985 | 0.24444 | 0.52074 |  |  | 1.8686 | 0.45482 | 1.2703 | 5.893 | 10.6701 | 3.7907 | 5.5036 | 1.6894 | 1.6595 | 0.97519 | 1.6595 | -999 | 1.6894 | -999 | -999 | 31.0264
2018-04-29 08:40 | 0.66401 | 0.19411 | -999 | 0.19807 |  |  | 0.28291 | 0.49942 | 0.31183 | 0.97674 | 4.781 | 0.38167 | 1.8546 | 0.67495 | 0.62028 | 0.62028 | 0.62028 | 0.60807 | -999 | 0.62028 | -999 | 7.5266
2018-05-02 20:08 | 0.707 | 0.22865 | 0.17 | 0.29013 |  |  | 0.28638 | 0.20531 | 0.31324 | 1.8284 | 5.9145 | 0.76028 | 2.6516 | 0.73652 | -999 | 0.96328 | 0.70319 | 0.69244 | 0.77102 | 0.70319 | -999 | 15.2386
2018-05-14 00:20 | 1.7689 | 0.14919 | 0.71729 | 21.6459 |  |  | 81.1701 | 0.33278 | 13.5311 | 446.4346 | 5.6779 | 24.4312 | 351.7399 | 67.6449 | -999 | 67.6442 | 33.826 | 33.8258 | 67.6449 | 33.826 | -999 | 1352.8323
2018-04-26 12:01 | 1.3294 | 0.22907 | 0.51699 | 0.23229 |  |  | 0.8163 | 0.37801 | 0.29379 | 3.6183 | 11.4808 | 4.8585 | 3.0936 | 0.85605 | 0.64862 | 0.7955 | 0.7955 | 0.63695 | 0.85605 | 0.64862 | -999 | 10.6854
2018-04-27 07:38 | 0.8791 | 0.16098 | 0.2136 | 0.19125 |  |  | 0.53329 | 0.42576 | -999 | 3.2975 | 4.7779 | 1.7851 | 3.0051 | 0.85991 | 0.61503 | 0.68049 | 0.68049 | 0.60272 | 0.94988 | 0.61503 | -999 | 6.8027
2018-05-03 20:34 | 0.697 | 0.1605 | 0.1032 | 0.19815 |  |  | 0.2831 | 0.33242 | 0.28385 | 1.4233 | 4.426 | 0.36174 | 2.0274 | 0.68723 | -999 | 0.69949 | 0.62034 | 0.60813 | 0.76765 | 0.62034 | -999 | 7.5342
2018-05-04 20:54 | 0.5293 | 0.15081 | -999 | -999 |  |  | 0.38644 | 0.21633 | -999 | 0.32968 | 2.4473 | 1.3636 | 2.0998 | 0.68817 | -999 | 0.70521 | 0.62196 | 0.60978 | 0.88401 | 0.62196 | -999 | 7.7446
2018-05-05 20:56 | 0.67343 | 0.15099 | 0.21927 | 0.21342 |  |  | 0.43881 | 0.4208 | 0.38373 | 0.90395 | 3.204 | 5.5027 | 1.8631 | 0.67678 | 0.63259 | 0.63259 | 0.63259 | 0.62062 | 0.70723 | -999 | -999 | 9.0179
2018-05-17 19:05 | 0.66317 | 0.17808 | 0.10015 | 0.24025 |  |  | 0.53741 | 0.32096 | 0.29628 | 1.7 | 4.2847 | 2.2369 | 2.6672 | 1.5134 | 0.65565 | 0.65565 | 0.65565 | 0.80902 | 0.87722 | 0.65565 | -999 | 11.3516
2018-05-13 00:17 | 0.5706 | 0.1976 | -999 | 0.47416 |  |  | 0.85587 | 0.20891 | 0.39123 | 4.1925 | 5.8535 | 7.3947 | 4.7416 | 2.0676 | -999 | 1.517 | 0.91535 | 1.5121 | 0.96843 | 0.91535 | -999 | 27.9575
2018-05-06 21:05 | 0.82533 | 0.15704 | 0.11331 | 0.19697 |  |  | 0.373 | 0.43107 | -999 | 1.1077 | 2.2861 | 1.3501 | 1.9697 | 0.89157 | -999 | 0.61942 | 0.61942 | 0.60719 | 0.69547 | 0.61942 | -999 | 7.4121
2018-05-10 23:50 | 0.69517 | 0.14613 | 0.21414 | 6.3612 |  |  | 23.8477 | 0.22274 | 7.9538 | 127.1846 | 1.9726 | 16.016 | 123.2202 | 67.5701 | -999 | 29.8148 | 19.8814 | 9.9531 | 29.8164 | 9.9539 | -999 | 397.4532
2018-05-08 23:16 | 1.4576 | 0.21486 | 0.11253 | 0.21986 |  |  | 0.33474 | 0.62793 | 0.29003 | 1.8181 | 2.1688 | 8.1947 | 2.4065 | 1.0902 | -999 | 0.76021 | 0.76021 | 0.62608 | 0.82336 | 0.63795 | -999 | 9.6031
2018-05-07 22:50 | 0.76533 | 0.15891 | -999 | 0.27835 |  |  | 0.36576 | 0.22108 | -999 | 1.2942 | 5.264 | 0.66565 | 2.2317 | 1.206 | -999 | 0.69147 | 0.69147 | 0.60583 | 0.69428 | 0.61809 | -999 | 7.2319
2018-05-09 23:34 | 1.1589 | 0.26503 | 0.17211 | 0.41963 |  |  | 1.4679 | 0.57856 | 0.36609 | 5.5889 | 4.0077 | 5.2899 | 6.2759 | 2.7553 | 0.84786 | 2.5004 | 1.3511 | 1.3455 | 1.3876 | 0.84786 | -999 | 24.3156
2018-05-23 21:29 | 0.97458 | 0.26205 | 0.1272 | 0.54521 |  |  | -999 | 0.4113 | 0.70738 | 2.2859 | 2.4334 | 8.8915 | 2.7769 | 0.93562 | -999 | 3.3143 | 1.0073 | 0.99984 | 1.0558 | 1.0073 | -999 | 32.627
2018-05-25 21:54 | 0.89498 | 0.20717 | 0.10288 | 0.31249 |  |  | 0.30635 | 0.32113 | 0.43418 | 1.8569 | 3.0238 | 4.5584 | 2.5664 | 0.83988 | -999 | 1.7854 | 0.7262 | 0.7158 | 0.79206 | 0.7262 | -999 | 16.8769
2018-05-16 19:02 | 0.59766 | 0.15855 | 0.10005 | -999 |  |  | -999 | 0.19015 | 0.42038 | 1.1227 | 0.97688 | 1.8397 | 1.8481 | 0.74278 | -999 | 1.7009 | 0.71339 | 0.7028 | -999 | 0.71339 | -999 | 15.9794
2018-05-18 19:26 | 0.99894 | 0.1782 | 0.14002 | 0.27258 |  |  | 0.2708 | 0.44878 | 0.61898 | 1.1167 | 3.5411 | 0.76121 | 2.1038 | 0.87071 | 0.68583 | 0.68583 | 0.68583 | -999 | 0.75523 | -999 | -999 | 13.9153
2018-05-20 20:10 | 1.3697 | 0.16603 | 0.16419 | -999 |  |  | 0.22534 | 0.61155 | 0.39763 | 0.68328 | 1.93 | 1.1114 | 1.6525 | 0.69781 | -999 | -999 | -999 | -999 | 0.71254 | -999 | -999 | 9.664
2018-05-12 00:06 | 0.56565 | 0.16135 | 0.15564 | 0.46933 |  |  | 0.84645 | 0.41177 | 0.61653 | 2.7644 | 3.4572 | 4.1695 | 2.9459 | 1.0661 | 0.90924 | 0.90924 | 0.90924 | 0.90096 | -999 | 0.90924 | -999 | 27.6371
2018-05-27 23:47 | 0.53624 | 0.18491 | 0.12423 | 1.2715 |  |  | 1.7825 | 0.24796 | 0.8347 | 9.8569 | 1.6935 | 8.0989 | 9.2045 | 4.3883 | 1.1495 | 1.1495 | 1.1495 | 1.143 | 3.032 | 1.1495 | -999 | 39.438
2018-05-21 20:21 | 1.2242 | 0.19605 | 0.19493 | 0.28841 |  |  | 0.48429 | 0.72229 | 0.28405 | 2.0387 | 9.8316 | 0.82373 | 2.4599 | 0.95405 | 0.62089 | 0.70146 | 0.62089 | 0.69068 | 0.76944 | 0.62089 | -999 | 7.607
2018-05-22 20:25 | 0.66771 | 0.18724 | -999 | 0.32892 |  |  | -999 | 0.31336 | 0.45275 | 0.90927 | 2.1999 | 4.1143 | 1.6711 | 0.69462 | -999 | 1.4758 | 0.7437 | 0.73355 | -999 | 0.7437 | -999 | 18.0555
2018-05-19 19:59 | 1.1263 | 0.15696 | 0.10002 | 0.34411 |  |  | 0.22478 | 0.66536 | 0.29004 | 1.4377 | 2.5274 | 0.65437 | 2.1989 | 0.77198 | -999 | 0.7603 | 0.63798 | 0.75037 | 0.71205 | 0.63798 | -999 | 9.6057
2018-05-24 21:40 | 1.2238 | 0.22867 | 0.10273 | 1.0081 |  |  | 0.94936 | 0.36001 | -999 | 5.9129 | 1.8947 | 5.9752 | 6.7226 | 1.9837 | -999 | 2.4074 | 1.6644 | 0.96957 | -999 | 0.97727 | -999 | 31.1312
2018-05-15 18:40 | 0.79397 | 0.25308 | 0.23616 | 0.60448 |  |  | 1.1076 | 0.23011 | 0.77902 | 4.0129 | 4.2944 | 7.2763 | 3.6429 | 1.2832 | 1.0868 | 3.6942 | 1.0868 | 1.9129 | -999 | 1.0868 | -999 | 36.4792
2018-05-26 23:12 | 0.52607 | 0.17897 | 0.1574 | 0.75147 |  |  | 1.3883 | 0.18708 | 0.53462 | 5.2816 | 0.80837 | 6.4573 | 5.5119 | 2.8354 | 0.82426 | 0.82426 | -999 | 0.81511 | 1.3295 | 0.82426 | -999 | 22.9805

## EXPO2020_PMF_report
Date | SO4 | NO3 | F | Cl | Na | NH4 | K | Ca | OC | EC | Si | Sb | Fe | Ba | Zn | Mg | Al | V | PM2.5 | sum | unexplained
2018-04-26 12:01 | 19.4392 | 2.0022 | 2.3056 | 1.0636 | 5.3181 | 1.6424 | 1.0636 | 36.1628 | 28.6885 | 12.1141 | 26.5903 | 5.3181 | 1.0636 | 2.1272 | 2.1272 | 1.0636 | 2.1272 | 1.0636 | 106.3612 | 151.281 | 44.9197
2018-04-27 07:38 | 12.7596 | 0.85455 | 0.85792 | 0.67251 | 3.3625 | 1.9123 | 0 | 32.9529 | 11.9119 | 4.3743 | 25.5553 | 5.3801 | 0.67251 | 1.345 | 1.345 | 0.67251 | 2.69 | 0.67251 | 67.2509 | 107.9914 | 40.7406
2018-04-28 08:39 | 11.3772 | 1.5689 | 1.0139 | 3.1009 | 12.4038 | 2.0728 | 12.4038 | 58.918 | 26.6606 | 9.4355 | 52.7161 | 15.5047 | 6.2019 | 3.1009 | 6.2019 | 0 | 6.2019 | 0 | 310.0946 | 228.8828 | -81.2118
2018-04-29 08:40 | 9.5409 | 1.4773 | 0 | 0.74565 | 1.4913 | 2.3153 | 1.4913 | 9.6935 | 11.9197 | 0.35946 | 9.6935 | 0.74565 | 0.74565 | 0.74565 | 0.74565 | 0.74565 | 0 | 0.74565 | 74.565 | 53.2016 | -21.3634
2018-04-30 08:54 | 9.1932 | 1.3297 | 0.59788 | 1.7665 | 7.0661 | 0.6352 | 3.5331 | 47.6963 | 25.3799 | 2.7193 | 40.6302 | 10.5992 | 1.7665 | 1.7665 | 1.7665 | 1.7665 | 3.5331 | 1.7665 | 176.6529 | 163.5122 | -13.1407
2018-05-02 20:08 | 10.187 | 1.9963 | 0.62489 | 1.5204 | 1.5204 | 0.42287 | 1.5204 | 18.2449 | 14.7597 | 1.6827 | 21.2857 | 3.0408 | 0 | 3.0408 | 1.5204 | 1.5204 | 1.5204 | 1.5204 | 152.0408 | 85.9286 | -66.1123
2018-05-03 20:34 | 10.0367 | 0.84338 | 0.11588 | 0.74642 | 1.4928 | 1.3739 | 0.74642 | 14.182 | 11.0298 | 0.19131 | 12.6892 | 1.4928 | 0 | 1.4928 | 0.74642 | 0.74642 | 1.4928 | 0.74642 | 74.6421 | 60.1656 | -14.4765
2018-05-04 20:54 | 7.5008 | 0.58184 | 0 | 0 | 2.303 | 0.54308 | 0 | 3.0706 | 6.0541 | 3.2925 | 13.8178 | 1.5353 | 0 | 1.5353 | 0.76766 | 0.76766 | 2.303 | 0.76766 | 76.7656 | 44.8403 | -31.9253
2018-05-05 20:56 | 9.6826 | 0.58782 | 0.887 | 0.89595 | 2.6878 | 1.8846 | 2.6878 | 8.9595 | 7.9611 | 13.7282 | 9.8554 | 0.89595 | 0.89595 | 0.89595 | 0.89595 | 0.89595 | 0.89595 | 0 | 89.5948 | 65.1935 | -24.4013
2018-05-06 21:05 | 11.9577 | 0.75862 | 0.24223 | 0.73409 | 2.2023 | 1.9418 | 0 | 11.0114 | 5.6465 | 3.2574 | 11.7455 | 5.8728 | 0 | 0.73409 | 0.73409 | 0.73409 | 0.73409 | 0.73409 | 73.4095 | 59.0407 | -14.3688
2018-05-07 22:50 | 11.061 | 0.80518 | 0 | 1.4318 | 2.1477 | 0.58895 | 0 | 12.8861 | 13.1302 | 1.41 | 15.7496 | 10.0225 | 0 | 1.4318 | 1.4318 | 0.71589 | 0.71589 | 0.71589 | 71.5893 | 74.2442 | 2.6549
2018-05-08 23:16 | 21.334 | 1.7973 | 0.23454 | 0.95483 | 1.9097 | 2.997 | 0.95483 | 18.1417 | 5.3494 | 20.4676 | 18.1417 | 8.5934 | 0 | 1.9097 | 1.9097 | 0.95483 | 1.9097 | 0.95483 | 95.4825 | 108.5146 | 13.0321
2018-05-09 23:34 | 16.9159 | 2.4904 | 0.63673 | 2.4294 | 9.7176 | 2.7374 | 2.4294 | 55.8762 | 9.9802 | 13.1953 | 60.735 | 26.7234 | 2.4294 | 9.7176 | 4.8588 | 4.8588 | 4.8588 | 2.4294 | 242.9402 | 233.0198 | -9.9204
2018-05-10 23:50 | 10.0092 | 0.40881 | 0.86069 | 39.7452 | 158.9807 | 0.60441 | 79.4904 | 1271.8459 | 4.8517 | 40.0302 | 1232.1007 | 675.6681 | 0 | 119.2356 | 79.4904 | 39.7452 | 119.2356 | 39.7452 | 3974.5183 | 3912.0479 | -62.4704
2018-05-12 00:06 | 8.0543 | 0.86306 | 0.54212 | 2.7618 | 5.5236 | 1.8341 | 5.5236 | 27.6181 | 8.5977 | 10.3862 | 24.8563 | 8.2854 | 2.7618 | 2.7618 | 2.7618 | 2.7618 | 0 | 2.7618 | 276.1807 | 118.6553 | -157.5254
2018-05-13 00:17 | 8.1293 | 1.5334 | 0 | 2.7939 | 5.5877 | 0.46484 | 2.7939 | 41.9081 | 14.6069 | 18.4656 | 44.702 | 19.5571 | 0 | 5.5877 | 2.7939 | 5.5877 | 2.7939 | 2.7939 | 279.3874 | 180.0999 | -99.2875
2018-05-14 00:20 | 25.9292 | 0.52809 | 3.2286 | 135.2832 | 541.1328 | 1.376 | 135.2832 | 4464.3454 | 14.1672 | 61.0717 | 3517.363 | 676.416 | 0 | 270.5664 | 135.2832 | 135.2832 | 270.5664 | 135.2832 | 13528.3194 | 10523.1067 | -3005.2127
2018-05-15 18:40 | 11.4893 | 2.332 | 0.97249 | 3.6465 | 7.293 | 0.66987 | 7.293 | 40.1112 | 10.6995 | 18.1693 | 32.8183 | 10.9394 | 3.6465 | 14.5859 | 3.6465 | 7.293 | 0 | 3.6465 | 364.6477 | 179.2521 | -185.3956
2018-05-16 19:02 | 8.5396 | 0.79635 | 0.013655 | 0 | 0 | 0.17009 | 3.1893 | 11.1626 | 2.2766 | 4.5135 | 9.5679 | 3.1893 | 0 | 6.3786 | 1.5947 | 1.5947 | 0 | 1.5947 | 159.465 | 54.5814 | -104.8836
2018-05-17 19:05 | 9.5281 | 1.2026 | 0.024625 | 1.1305 | 3.3916 | 1.304 | 1.1305 | 16.9579 | 10.6753 | 5.522 | 21.48 | 13.5663 | 1.1305 | 1.1305 | 1.1305 | 2.261 | 2.261 | 1.1305 | 113.0524 | 94.9575 | -18.0949
2018-05-18 19:26 | 14.5423 | 1.2046 | 0.4455 | 1.3878 | 1.3878 | 2.0396 | 5.551 | 11.102 | 8.8084 | 1.6853 | 13.8776 | 5.551 | 1.3878 | 1.3878 | 1.3878 | 0 | 1.3878 | 0 | 138.7755 | 73.134 | -65.6415
2018-05-19 19:59 | 16.4325 | 0.75668 | 0.0094614 | 1.9102 | 0.95509 | 3.1926 | 0.95509 | 14.3264 | 6.2563 | 1.3766 | 15.2814 | 3.8204 | 0 | 1.9102 | 0.95509 | 1.9102 | 0.95509 | 0.95509 | 95.509 | 71.9582 | -23.5508
2018-05-20 20:10 | 20.0356 | 0.96638 | 0.59196 | 0 | 0.96095 | 2.9111 | 2.8828 | 6.7266 | 4.7434 | 2.6342 | 4.8047 | 1.9219 | 0 | 0 | 0 | 0 | 0.96095 | 0 | 96.0949 | 50.1407 | -45.9542
2018-05-21 20:21 | 17.8828 | 1.5086 | 0.76058 | 1.5075 | 3.0151 | 3.4882 | 0.75377 | 20.3518 | 24.563 | 1.86 | 18.8442 | 6.7839 | 0.75377 | 1.5075 | 0.75377 | 1.5075 | 1.5075 | 0.75377 | 75.3769 | 108.1035 | 32.7266
2018-05-22 20:25 | 9.5964 | 1.3635 | 0 | 1.8026 | 0 | 1.2569 | 3.6053 | 9.0132 | 5.4282 | 10.2476 | 5.4079 | 1.8026 | 0 | 5.4079 | 1.8026 | 1.8026 | 0 | 1.8026 | 180.2637 | 60.3401 | -119.9236
2018-05-23 21:29 | 14.1803 | 2.4512 | 0.35734 | 3.2611 | 0 | 1.8314 | 6.5222 | 22.8277 | 6.0188 | 22.2111 | 22.8277 | 6.5222 | 0 | 13.0444 | 3.2611 | 3.2611 | 3.2611 | 3.2611 | 326.1094 | 135.0998 | -191.0096
2018-05-24 21:40 | 17.8767 | 1.9967 | 0.10702 | 6.2229 | 6.2229 | 1.5379 | 0 | 59.1172 | 4.6536 | 14.9119 | 65.3401 | 18.6686 | 0 | 9.3343 | 6.2229 | 3.1114 | 0 | 3.1114 | 311.1433 | 218.4356 | -92.7077
2018-05-25 21:54 | 12.9962 | 1.6821 | 0.10988 | 1.6846 | 1.6846 | 1.305 | 3.3692 | 18.5304 | 7.5078 | 11.3617 | 20.215 | 5.0537 | 0 | 6.7383 | 1.6846 | 1.6846 | 1.6846 | 1.6846 | 168.458 | 98.9766 | -69.4814
2018-05-26 23:12 | 7.4515 | 1.2186 | 0.55251 | 4.5915 | 9.183 | 0 | 4.5915 | 52.8025 | 1.8174 | 16.119 | 52.8025 | 27.5491 | 2.2958 | 2.2958 | 0 | 2.2958 | 4.5915 | 2.2958 | 229.576 | 192.4538 | -37.1222
2018-05-27 23:47 | 7.6067 | 1.3236 | 0.33503 | 7.8849 | 11.8274 | 0.81371 | 7.8849 | 98.5617 | 4.1404 | 20.228 | 90.6767 | 43.3671 | 3.9425 | 3.9425 | 3.9425 | 3.9425 | 11.8274 | 3.9425 | 394.2467 | 326.19 | -68.0567